Wake Forest University,

NanoTechnology Center

CHEMICAL HYGIENE PLAN

AND

SAFETY MANUAL

Date of Last Revision June 13, 2007

List of Contributors

Michelle Adkins [WFU Environmental Health and Safety (EHS) Director], Dr. David Carroll (Director, NanoTechnology Center), Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], Dr. Rick Matthews (Physics Department), Michael Thompson (Lab Manager, Chemistry Department), and various Graduate Students in the NanoTechnology Center

I.  INTRODUCTION	4

II. Telephone #s of Emergency Personnel / Emergency Facilities	5

A.  Hazardous Chemicals Emergency and Information Phone #s	6

B.  Emergency Exit Plan for All NanoTechnology Center Laboratories	7

III. The Chemical Hygiene Plan for Each Laboratory in the NanoTechnology Center	8

A.  Emergency Telephone Numbers of Lab Supervisors and Lab Workers	9

B.  General Safety Procedures	12

1.  BASIC SAFETY RULES FOR ALL NANOTECHNOLOGY LABORATORIES	12

2.  Cleanliness in the Research Laboratory	15

3.  Housekeeping for All Labs	17

4.  Eyewash Fountains and Safety Showers	18

5.  Lab Fires and Use of Fire Extinguishers	19

C.  Procedures for Handling Hazardous Chemical Waste	21

D.  Protective Devices, Equipment, and Apparel	32

1.  Personal Protective Equipment:  Eyewear	32

2.  Personal Protective Equipment:  Lab Coats and Gloves	33

3.  VENTILATION AND PROPER USE OF HOODS	35

4.  Chemical Storage in Research Labs	39

E. Laboratory Operations which require prior approval from NanoTechnology Center Instructors	41

F.  Provisions for Additional Protection When Working with Particularly Hazardous Chemicals	43

1.  Introduction	43

2.  INIMICAL CHEMICALS:  RULES OF ENGAGEMENT	44

G.  Specific Procedures for Safe Removal of Highly Toxic Waste	45

H.  Specific Decontamination Procedures for Equipment and Bench top Surfaces which have come into contact with Highly Toxic Waste	47

1.    All NanoTechnology Lab Rooms	50

I.  Laboratory and Fume Hood Inspections	51

J. Laboratory Emergencies	52

1. Emergency Procedure Overview	52

2.  Chemical Fire and Large Building Fire Emergency Procedures:	53

3.  Chemical Spills	54

K. Provisions for medical exams, consultation & exposure assessments	57

1.  A Guide to OSHA Air Concentration Acronyms	57

2.  Air Monitoring	58

3.  Medical Monitoring	59

4.  Information Regarding Student First Aid and Medical Insurance	60

5.  Worker’s Compensation Procedures and Reporting Information	61

6.  Accident and Chemical Exposure Assessment Report	62

L. Standard Operating Procedures (SOPs) for Working with Hazardous Chemicals	63

1.  Sources of Chemical Risk Assessment Information for SOPs	63

2.  Summary of Regulated Chemicals Covered By This CHP	65

3.  An Introduction to Standard Operating Procedure (SOPs)	66

4.  SOPs for all laboratories of the NanoTechnology Center	67

5.  Laboratory Specific SOPs	85

IV. Training	86

A.  Introduction to Training for Graduate Students in the NanoTechnology Center	87

B.  Safety Training for Graduate Students	88

1.  HMIS / NFPA Chemical Hazard Ratings on Departmental MSDS Sheets	88

2.  HMIS and MSDS Clarifications	89

3.  INTERPRETING CHEMICAL HAZARD HMIS RATINGS:	90

4.  SOME HMIS RATINGS FOR COMMON CHEMICALS	91

5.  Summary of HMIS Ratings	92

6.  Yearly Announcement of Gas Cylinder Safety (in January of each year)	94

7.  Summer School Safety Training Announcement for Research Undergrads:	95

8. Hazard Communication Training Log Form	96

9.  Literature Sources of Information regarding Hazards of Chemicals	97

10.  Health Hazards of Some Common Chemicals	98

V.  Chemical Inventories	102

A.  Inventory of All Chemicals and MSDS Sheets in the NanoTechnology Center	102

B.  Instructions for the Use of the Online Inventory System	103

C.  General Information for Users	105

D.  Individual Chemical Inventories of the Physics Department (Olin Hall) and the NanoTechnology Center	106

VI. SARA Title III (EPCRA), Tier II Hazardous Chemical Inventory Report for the NanoTechnology Center, with EPA “Right-To-Know” Extremely Hazardous Chemicals (EHS) for Fire Marshall, Local Emergency Planning Committee, and Public:	107

# I.  INTRODUCTION

A hardcopy of this Chemical Hygiene Plan and Safety Manual will be kept in the Nano-Technology Center, near the MSDS sheet collection in room # 115, for your reference.  The National Research Council’s Prudent Practices in the Laboratory, hereinafter referred to as Prudent Practices, will be kept there as well.  View the online Chemical Hygiene Plan and Safety Manual from the University Web site at http://www.wfu.edu/physics/doc/DocsPolicies.html

Throughout this manual, you will find references to suggested reading of certain sections of Prudent Practices (indicated in boldface type throughout).

You are REQUIRED to read OSHA’s “Laboratory Standard”, a copy of which is located in Appendix A of that monograph (or at the internet site:

http://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=STANDARDS&p_id=10106, if you work with Laboratory chemicals.  This is a reprint of the most recent governmental regulation governing all chemical laboratories under US jurisdiction, both industrial and academic.  Upon graduation and exposure to any workplace laboratory in the country you will soon discover that companies and institutions will appreciate spending less time training new employees in their particular CHP as a direct result of your having read and understood the present one.

This document was prepared in a Workbook format, with the help and assistance of students, staff, and Faculty personnel within the Chemistry and Physics departments.  All sections in black type in this manual are meant to be read by all Lab workers in this building.  All sections in red type are presented only as an elaboration of the Laws presently governing Laboratory work involving the use of chemicals.  They need not be read by anyone other than WFU Safety staff members involved with interpreting OSHA Laws and as guidelines for interested Faculty members and students.  For example, it is not necessary to read the chapter titled “Emergency Telephone numbers of Lab Supervisors and Lab Workers”.  Likewise, the chapter titled “Summary of Regulated Chemicals Covered by this SOP (Standard Operating Procedure)” is meant only for WFU Safety Personnel and interested Faculty members wishing to review what the Law stipulates in a particular situation.  Also, it is not necessarily important to read all SOPs in the chapter titled “Laboratory Specific SOPs (Standard Operating Procedures)”.  Please read only the SOPs (Standard Operating Procedures) which apply to your particular Research Laboratory.  Records of the following forms will be kept in the NanoTechnology Center, near the MSDS sheets in room # 115.  If any particular form is kept elsewhere in the building or at Physical facilities, its location will be listed below.

If any particular form is kept elsewhere in the building or at WFU Department of Environmental Health and Safety, its location will be listed below:

- Eyewash Fountain and Safety Shower Inspections, Physical Facilities, c/o Scott Frazier

- Fume Hood Air-Flow Inspections, Physical Facilities, c/o Scott Frazier

- Filled out Accident and Chemical Exposure Assessment Report forms, in the NanoTechnology Center, near the MSDS sheets in room # 115

- Signed Training Log Form for yearly safety lecture titled “Safe Use of Compressed Gas Cylinders”, in the NanoTechnology Center, near the MSDS sheets in room # 115

- Signed “Basic Safety Rules for Teaching and Research Laboratories” Forms, in the NanoTechnology Center, near the MSDS sheets in room # 115

- Signed “Certification of Safety Training for Graduate Students and Research Undergraduates, in the NanoTechnology Center, near the MSDS sheets in room # 115

- “Weekly Hazardous Waste Storage Area Inspection Form, in the NanoTechnology Center, near the MSDS sheets in room # 115

- Gray Fifty-Five Gallon Hazardous Waste Solvent Drum Logbook, Hazardous Waste Storage Area in room 118, in the NanoTechnology Center

- All WFU Chemical Waste records, including manifests and records having to do with chemical waste companies, at Physical Facilities, c/o Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], campus phone number 758-4329, cell phone # 336-782-6107

# II. Telephone #s of Emergency Personnel / Emergency Facilities

THE CENTER’S EMERGENCY TELEPHONE IS LOCATED IN ROOM 115, NANOTECHNOLOGY CENTER, PHONE # 727-1804 (or 727-1806)

THE PHYSICS DEPARTMENT FAX # FOR THE FAX MACHINE LOCATED IN THE MAIN OFFICE, OLIN HALL, ROOM #100, is 336-758-6142.

THIS NOTICE IS ALSO POSTED ON THE WALLS NEXT TO EACH INDIVIDUAL RESEARCH LABORATORY TELEPHONE IN THE NANOTECHNOLOGY CENTER

WFU assistant Environmental Health and safety Director

NAME:			Scott A. Frazier

OFFICE TELEPHONE:	758-4329 (or 4224)

HOME TELEPHONE:	945-9184

PAGER:			607-8945

CELLULAR PHONE		782-6107

Safety Director and CHEMICAL HYGIENE OFFICER for NanoTechnology Center

NAME:			Manoj Nanboothiry

TITLE:  Post Doctorate,         NanoTechnology Center

OFFICE TELEPHONE:	727-1804 (727-1806)

HOME TELEPHONE		409-9216

EMERGENCY TELEPHONE NUMBERS

Located on Reynolda Campus

University Police Department:	5911 (Non-Emergency 5591)

Student Health Services:		5218

DIAL 911 FOR ALL EMERGENCIES INVOLVING REQUESTS FOR FIRE, POLICE, OR AMBULANCE ASSISTANCE

Your emergency call to 5911 will be coordinated by the Wake Forest University Police Department.  They will determine whether the situation can be handled by University Emergency personnel or City/County Emergency agencies.

Call Student Health Services (at 5218) for minor medical problems

In Charlotte, Carolinas Medical Center

Carolinas Poison Control Center:		1-800-848-6946

## A.  Hazardous Chemicals Emergency and Information Phone #s

Local Emergency Contacts					Phone #

WFU SAFETY RESPONSE TEAM (For Chemical Spills)	758-4329 (or 4224)

C/O Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director],

Physical Facilities, Reynolda Campus

Mr. Mel Sadler, or August M. Vernon (For Chemical Spill Reporting)	767-6161

Winston-Salem/Forsyth County

OFFICE OF EMERGENCY MANAGEMENT

Room 104-Smith Reynolds Airport

Winston-Salem, NC 27105

Fire Captains Harvey Wagner and D.W. Mabe				727-2454

#8 Fire Station

2417 Reynolda Road

Winston-Salem, NC 27109

Chief Bernard Smith, Fire Marshall	773-7972

Winston-Salem Fire Department

725 N. Cherry Street

Winston-Salem, NC 27102

Mr. Reed Jarvis, Deputy Fire Marshall	727-8084

Forsyth County Fire Department

3000 Aviation Drive

Winston-Salem, NC  27105

STATE EMERGENCY MANAGEMENT OFFICE		(919) 733-3867 or

(For Chemical Spill Reporting)						1-800-858-0368

Rich Berman								1-919-733-3825 (or 1361)

NC Division of Emergency Management

4713 Mail Service Center

Raleigh, NC  27699-4713

## B.  Emergency Exit Plan for All NanoTechnology Center Laboratories

In all cases which require evacuation of the building, be prepared to tell emergency personnel what chemical or mechanical hazards exist in your lab.  The fire department will be especially interested your descriptions of what to expect when attempting to put out fires in any or all lab rooms (See chapters titled “Lab Fires and Use of Fire extinguishers” and “Chemical Fire and Large Building Fire Emergency Procedures”).

The NanoTechnology Center will conduct periodic fire drills.  Note the location of your nearest hallway Emergency Exit Plan Map, located in the central hallway of the building.  Go though the nearest building door exit and try to account for all members of your research group or teaching lab.  In any case, WFU security requires immediate exit of all building personnel after an alarm has sounded.

The gathering place for all NanoTechnology Center personnel after a building evacuation through the nearest building exit is the parking lot adjoining Deacon Boulevard.  The fire code requires each working lab to have two ways out in case of a fire.  Know where both are when you begin routinely working in any lab.

Do not return to the building until the alarm ends and you are allowed to do so by Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director] or Michelle Adkins (WFU Director of Environmental Health and Safety), or Sissy Hastings (Wake Forest University EHS Coordinator) or the Fire Marshall, or WFU Security.

(Here is more specific contact information for Michelle Adkins, CHMM, Director of Environmental Health and Safety:   adkinsmm@wfu.edu, phone: 336-758-5385, cell: 336-480-8480, fax: 336-758-3088).

# III. The Chemical Hygiene Plan for Each Laboratory in the NanoTechnology Center

## A.  Emergency Telephone Numbers of Lab Supervisors and Lab Workers

Lab Personnel Phone Numbers

Laboratory Room Numbers 113, 113A, 113B, 114, 118, 119, 121   NanoTechnology Center

Laboratory phone # (or nearest building phone #)	(336) 727-1804/6

Laboratory Instructor	Dr. David L. Carroll	Office Phone (336) 758-5508

##### Office Room #	214, Olin Hall, Reynolda Campus	Home Phone (336) 768-2952

Students Assigned to this Laboratory,	Name	Home Phone Number

including Graduate Students,

Undergraduates and Post Doctorates

Dr. Jiwen Liu			(336) 758-1833

Dr. Manoj Namboothiry	(336) 409-9216

Nicole Levi			(336) 577-0925

Faith Coldren			(484) 336-3988

Jerry Kielbasa			(336) 655-3792

Baxter Mcguirt		(704) 929-0595

Dr. James Kretzschmar	(336) 813-2846

Jay Patel			(267) 229-6327

Michael Roman		(336) 829-1695

Jonathan Salek		(336) 710-4537

Brief Description of Research Conducted in This Building and brief description of each lab room, Including Possible Problems For Firefighters Within:

Purpose and scope of research conducted in this building (All Labs, collectively):

The overall activity at the NanoTechnology Center can be summarized as the synthesis of microscopic carbon nanotubes and other nanoparticles in the preparation of nanocomposite material for optoelectronic and biomedical device fabrications.  Related microscopy and optical experiments are conducted in adjoining Lab rooms.

As one faces the building from the NanoTechnology Center Parking lot, the left hand double-doored entrance to the building opens up into a “Dockyard” receiving area, room # 119, and contains several gas cylinders which at one time or another will include Argon, Nitrogen, Methane, Ammonia, Liquid Nitrogen, Hydrogen, and Helium.  In addition to this there is one large blue electrically powered compressor.  Garbage containers are also kept in this room.

Upon entering the right –hand building entrance from the parking lot, the “Growth Lab”, room 121, on the right side of the right main entrance hallway, contains Machine Shop equipment, 3 ovens, high voltage equipment, and normal sized gas cylinders of Methane, Argon, Hydrogen, and Nitrogen, and a 100 pound anhydrous Ammonia tank.  Microscopic glass tubes (“Nanotubes”) are sterilized and cleaned in this room within several 5 foot long, 3 inch diameter quartz glass tubes.  A layer of carbonized material inside the larger tubes is heated in ovens and then cleaned out within a hood (soon to be installed) with dilute solutions of 10% Hydrofluoric acid and mineral acids (including Hydrochloric, Sulfuric, Nitric, and acetic acids) and Hydrogen peroxide.  The acids will be kept in safe storage areas beneath the new hood.  Acids are typically disposed of via complete neutralization within this hood.

The main lab in the building, room 118 is where most of the lab work takes place:

The lab work involves purification of nanoparticles and nanotubes, device fabrication, and preparation of nanocomposites for optoelectronics and biomedical applications.

There are two Nitrogen gas cylinders near the center of the Lab.  This room also contains Three Thermal evaporation Chambers and an Ultraviolet Ozone treatment instrument along the back wall, a bank of glassware and two Liquid Nitrogen tanks (size LS580) and glove boxes with turbo direct-drive pumps beneath in the center of the room, one yellow and one gray flammable cabinet on the right wall with the following flammable common organic solvents, generally in sizes of one gallon or more:

- Acetone, Acetonitrile, Acetylacetone, Benzene, Butanol, Chloroform, o-Dichlorobenzene, Dichloromethane, Ethanol, Ethyl acetate, Ethylene glycol, hexane, isopropanol, Methanol, 2-Methoxyethanol, Tetrahydrofuran, 2-Propanol (Isopropanol), Toluene, 1,2,4-Trichlorobenzene, Trichlorobenzene, Propylene carbonate, and Xylene (listed with their respective amounts in the SARA Title III, Tier II Report at the end of this manual

- Three or four glass bottles (of one gallon size) containing Hazardous waste organic liquids:  One containing Acetonitrile and 2 or 3 containing Chlorobenzene, Chloroform, Dichloromethane, and Dichlorobenzene.

There is a 55 gallon drum here also, labeled as ‘HAZARDOUS WASTE:  ORGANIC SOLVENTS, and typically containing common non-halogenated, flammable organic solvents used in the labs, including: Acetone, Benzene, Butanol, Ethanol, Ethyl acetate, Ethylene glycol, hexane, isopropanol, methanol, Tetrahydrofuran, Toluene, and Xylene as well as the other common flammable organic solvents mentioned above.  Glass-doored wall cabinets on the opposite wall contain small containers of laboratory chemicals which are contained in the Center’s online chemical inventory.

Two wall-length hoods near the entrance of the room, to one’s left as one enters the door, with contents as follows beneath them in flammable metal cabinets:

- Left hood, left cabinet, underneath hood (labeled “Acids”):  mineral acids, including half-gallon glass bottles of about 2 each of Hydrochloric, Sulfuric, Nitric acids, and Phosphoric and acetic acids, and 0.2 % Hydrofluoric acid, Aqua Regia (a mixture of Sulfuric and Hydrochloric acids).  Also, 1 or 2 waste jars of Hydrochloric or other acids are sometimes kept here to await disposal or neutralization.

- Left hood, right cabinet underneath: Organic liquids, generally in bottles of sizes less than one gallon:  Acetonitrile, Aniline, 1-Bromooctane, Carbon sulfide, Chlorotrimethylsilane, Dichloromethane, N,N-Dimethylformamide, Isopropyl alcohol, N-Methyl-2-pyrrolidone, Pyridine, Sulfur (solid), Tetrahydrofuran, Triethylamine, o_Xylene, p-Xylene,

- Right hood, left cabinet (labeled ‘Bases”):  generally bases and some corrosive organic liquids:  Ammonium hydroxide, Potassium hydroxide (solid), Sodium carbonate 10%aqueous solution in water, Aniline, m-Cresol, N,N-Dimethylacetamide, Potassium fluoride (solid), Trimellitic anhydride chloride, Titanium (IV) chloride, 1,3-Dicyclohexylcarbodiimide 1.0 Molar solution in dichloromethane, Thionyl chloride, Ammonium peroxydisulfide, Sodium perborate tetrahydrate (solid), Sodium nitrite (solid), carbon disulfide, 1-Methyl-2-pyrrolidione, N-Methyl-2-pyrrolidone, and four 1 gallon containers of a dilute, basic aqueous solution of “Developer, Positive Resist”

- Right Hood, Right Cabinet: generally one liter sized bottles of organic liquids:  2-Butanone, Hexanes, 1,2-Dichlorobenzene, 4-(Dimethylamino)-pyridine, Chlorobenzene, 1,1,1,3,3,3-Hexafluoro-2-propanol, Pyridine, Silica gel (solid), Tributylamine, Terahydrofuran, and p-Xylene

Room 113 is a Scanning Tunneling Electron Microscopy Lab.  In addition to high voltage equipment, it also contains very small amounts of relatively harmless nano-powders and different assorted materials. These are inorganic and organic nanomaterials which are collected in glass bottles and safely kept in glass-door wall cabinets.

Room 113A is a Transmission Electron Microscopy Lab, and contains high-voltage equipment.

Room 113 B is an Atomic Force Microscopy Lab containing one Argon gas cylinder and some relatively benign aqueous solutions in a small refrigerator, such as 1.0 Molar Hydrochloric acid and relatively harmless basic aqueous buffer solutions of common inorganic salts.

Room 114 is a high-voltage Laser Lab, which also contains 2 gas compressed gas cylinders of Nitrogen toward the back, center section of the room and a few flammable chemicals on a benchtop to one’s left as one enters the door, as follows:

- Chloroform

- Tetrahydrofuran

- Carbon disulfide

- Acetone

- Methanol

- 2-Propanol

- Ethyl alcohol

## B.  General Safety Procedures

### 1.  BASIC SAFETY RULES FOR ALL NANOTECHNOLOGY LABORATORIES

(Prepared in part by Chemistry Department Faculty members)

Read these safety regulations carefully, and be sure you understand them.

1.	Report all accidents to your Director or the WFU Department of Environmental Health and Safety immediately.  If you cut or burn yourself or accidentally inhale fumes, notify your Lab coworkers at once.  They should administer immediate first aid treatment and call 5911.  Learn the locations of the fire extinguishers, the safety showers, eyewash fountains, and phones, so that you can use them quickly in the case of an emergency.  Be aware of the emergency exits/routes out of the NanoTechnology Center in the case of an emergency.

2.	Wear safety goggles/glasses in the laboratory at all times.  Always wear eye covering that will protect your eyes against both impact and splashes.  (If you should get chemical in your eye, wash the eye with flowing water from the special eye-wash fountain for 15 to 20 minutes).

3.	Do not perform any unauthorized experiments!

4.	Do not use mouth suction to fill pipettes with chemical reagents.  (Use a suction bulb to fill pipettes).

5.	Exercise great care in noting the odor of fumes and avoid breathing fumes of any kind.  Carry out experiments that produce noxious vapors in your fume hood.  Arrange your apparatus setups so that the fume producing portion is inside the hood.

6.	Do not taste anything in the laboratory.  (This applies to food as well as chemicals.  Do not use the laboratory as an eating place; never eat or drink from laboratory glassware.)

7.	Confine long hair whenever you are in the laboratory.

8.	Place all hot glassware on a mat to cool; this will also signify to all laboratory personnel that the glassware is hot.  Do not hand hot glassware to another person, because a person's natural instinct is to reach for it.

9.	Corrosive acids and bases are very soluble in water.  If either a corrosive acid or base comes in contact with your skin, you can wash it of your skin before damage is done.  Haste in washing the affected area is essential.  Summon the laboratory instructor if you spill a corrosive acid or base on your skin.  If strong acids are spilled on your skin, bathe the skin with dilute sodium bicarbonate after flooding with water for about 10 minutes.  If strong bases are spilled on the skin, bathe the skin with a dilute solution of acetic acid or boric acid after flooding for about 10 minutes.  If chemicals get into your eyes, immediately wash the eyes with a gentle stream of water from the eye wash for 15-20 minutes.  Do not use dilute solutions of sodium bicarbonate, acetic acid, or boric acid in the eyes.  After flushing with water, the student will be transported to the Student Health Service.  If bromine or iodine is spilled on the skin, the skin should be immediately bathed with alcohol (ethanol) and then with glycerin.  For Hydrofluoric acid burns, flush with a heavy stream of water and quickly lather the exposed area with lots of Calcium gluconate gel.

10.	If you are preparing a dilute acid solution, never pour water into concentrated acid.  Always pour the acid into the water while stirring the water constantly.

11.	Do not force glass tubing into rubber stoppers.  Lubricate the tubing and introduce it gradually and gently.  Protect your hands with a towel when you are inserting lubricated tubing into a stopper.  Alternately, use the glass tube/stopper tool located in the stockroom  In clamping glass tubing or glassware for apparatus setups, do not tighten the clamps any more than necessary to hold the glass in place (i.e. do not squeeze the glass).

12.	Do not wear open-toed shoes or shorts in the laboratory, since they do not offer enough protection to the body.

13.	Never point a test tube containing a reacting mixture (especially when you are heating it) toward another person or toward yourself.

14.	Be extremely cautious when you are lighting a Bunsen Burner.  Most laboratory fires can be smothered if handled at once.  A cloth towel should be kept handy for this purpose.  In the event of a fire near your desk, immediately turn off the gas cock that feeds your burner.  If necessary, use the fire extinguisher (if your TA coworker or Director is nearby, let either one of them use the fire extinguisher).

15.	Never engage in horseplay in the laboratory.

16.	Read the label carefully before removing a chemical from its container.

17.	Never work in the laboratory alone.

18.	Do not wear contact lenses in any chemical laboratory, period.

19.	The areas where balances have been located are to remain clean.  Anyone who spills any chemicals on the balance or on the table is responsible for the cleanup and the notification of the Director.  No weights are to remain on the balance and the balance doors are to be closed when you have finished.

20.	Everyone is responsible for keeping his/her own work area clean.  All equipment is to be put away and the table top wiped clean.  No trash is to be placed in the sinks.

21.	Many chemicals must be collected in proper containers for waste disposal.  You will receive special instructions about disposing of any unusually dangerous chemicals in the NanoTechnology Chemical Hygiene and Safety Manual.

22.	Learn to estimate your chemical needs as closely as possible.  Do not waste chemicals; other labs may need to use the same chemical.

23.	After   using chemicals, be sure to replace all stoppers or droppers tightly; it is very hazardous to leave bottles open.  Do not insert any medicine droppers into reagent bottles.

24.	Place all broken glass in the designated NanoTech broken glass waste containers.

Please sign the form below, tear this page off and keep it in the Safety Record folder in room 115 next to the MSDS sheets, and keep the previous two pages of safety rules for your reference while you’re working in the Labs here at the NanoTechnology Center.

I, the undersigned, have read the Basic Safety Rules for All NanoTechnology Laboratories, and I understand them.

(Signature)

(Date)

WAKE FOREST UNIVERSITY,

NANOTECHNOLOGY CENTER

### 2.  Cleanliness in the Research Laboratory

1.	Clean up Research Lab benches occasionally.  Wash your hands at the end of each lab session if you’ve been working with chemicals at all.  Check to make certain that any gloves you’ve been wearing don’t have pinhole leaks or tears.  Use every means necessary to avoid ingesting chemicals in the lab or even touching them.

2.	If you must leave lab equipment, glassware, notebooks, etc., on the bench until the next day or work session, at least properly remove, store, and otherwise secure laboratory chemicals.  Make a habit of maintaining an orderly work bench area by removing unnecessary sheets of paper, soiled paper towels, broken glass, empty bottles, Pasteur pipets or anything else that doesn’t belong there.

3.	Wear lab coats when working with chemicals if the possibility exits that you will contaminate your clothing.  Outrageously Kaleidoscopic or unpleasantly odoriferous lab coats should be washed occasionally, although it probably isn’t a good idea to mix them in with household laundry.  Hang them up in your lab before lunch breaks.

4.	It is forbidden to eat, drink or smoke in the lab or experimental work area where chemicals are present.  Such activities should occur outside the labs in designated areas.  Even chewing gum in the lab should be avoided.

5.	Do not use laboratory refrigerators which contain any lab chemical whatsoever as repositories for food.

6.	Laboratory glassware should be cleaned in laboratory sinks with soap and hot water.  “Liqui-nox” (Fisher catalog # 04-322-158, gallon size) liquid soap concentrate and scouring soap powder, brand name “Sparkleen”(Fisher catalog # 04-320-4, 3lb. box) can be purchased from Fisher Scientific if your research or teaching group has not purchased it already.  Wear gloves while cleaning with properly chosen cleaning brushes.  Check for tears and holes in the gloves.  Don’t allow dirty glassware to pile-up around sinks to an unmanageable level.  This increases the likelihood of breakage and discourages the habit of examining each piece individually for degree of chemical contamination before washing.  Rinse dirty glassware with labeled bottles of acetone if necessary.  Highly contaminated, corrosive cleaning solutions, prepared from very acidic or alkaline chemicals, should in some cases be packaged in bottles when spent and taken to the Hazardous Chemical Waste holding area in or near the Darkroom Hood in room # (?), properly labeled for chemical waste company removal.  In particular, spent chromerge (sulfuric acid and chromic acid combination cleaning solution) should be poured back into 2.5 liter acid bottles and sent out with the waste company.

7.	The following cleaning solutions, as described in the Chemical Technician’s Handbook (Chemistry Department stockroom) can be used to clean glassware in research labs.  Spent, highly acidic or alkaline cleaning solutions of common mineral acids or bases (e.g., nitric acid, sodium hydroxide, potassium hydroxide in ethanol, etc.) which have been used in research labs should be neutralized completely before disposal.

Chromerge Cleaning Solutions:  Obtain one commercially available 25ml bottle of Chromerge, composed of chromium trioxide, or chromic acid, and add contents directly to a standard 2.5 liter size bottle of concentrated sulfuric acid.  Add approximately 5ml at a time, recap the acid bottle, and shake well.  The precipitate which forms after mixing is normal and indicates solution is saturated.  Allow it to remain as it is a reservoir of additional chromate.  The solution loses its effectiveness as it turns green with continued use.

Concentrated solution of Dodycylbenzene sulphonic acid and potassium hydroxide(“Contrad-70”):  This serves as a biodegradable, drain disposable alternative to chromerge.  It is sold by Fisher Scientific Co., Catalog # 04-3551.  Prepare a 5% solution from the concentrate for lab use.

“Dilute Nitric Acid Cleaning Solution:  Films which adhere to the inside of flasks and bottles may often be removed by wetting the surface with dilute nitric acid, followed by multiple rinses with distilled water.  Concentrated Nitric acid is good for tougher organic chemical stains.”  Use in a hood only.

“Aqua Regia Cleaning Solution:  Aqua regia is made up of three parts of concentrated HCl  and one part of concentrated HNO3.  This is a very powerful, but extremely dangerous and corrosive, cleaning solution.  Use in a hood with extreme care.”

“Alcoholic Potassium Hydroxide or Sodium Hydroxide Cleaning Solution:  Add about 1L ethanol(95%) to 120ml H20 containing 120g NaOH or 105g KOH.  This is a very good cleaning solution.  Avoid prolonged contact with ground-glass joints on interjoint glassware because the solution will etch glassware and damage will result.  This solution is excellent for removing carbonaceous materials.”

(Ballinger, Jack T. and Shugar, Gershon J.  Chemical Technicians’ Ready Reference Handbook, 3rd edition. New York City:  McGraw-Hill, Inc., 1990, pages 611-612).

8.	Broken Glassware Procedure:  A waste container stenciled with the label “Broken Glassware Only” has been placed in Lab 118.  Broken glass should be placed in these containers, only, and only glass should be placed there.  Glassware broken in the course of experimental work should be rinsed of chemical contaminants, preferably with acetone, and the rinses deposited in lab chemical waste containers.  Shards of broken glass found in common departmental waste containers are dangerous for housekeeping staff to handle.  Glass should not therefore be mixed with paper and other common forms of trash.  Make sure that the top surface of broken glass within the Broken Glassware box does not overflow, resulting in dangerous situations for Housekeeping staff handling these boxes.  It is requested that all NanotECH research students occasionally check this box for overly jagged pieces of glass protruding through the side of the cardboard box or tearing up the plastic bag liner inside the box.

9.	Needles used for transferring chemical samples from one container to another or injection into instruments should be disposed of into red plastic containers marked “For Disposal of Non-reusable Needles, Only” placed in each research Lab requiring them.  These containers will be collected when 80% full, stored in a large marked box in the Dockyard area, and given to a biological Sharps (Needles, etc.) waste disposal company, such “Steri Cycle” Company, even though the NanoTech Department does not employ such needles in animal or human experiments.  Replacement containers are located in the Dockyard.  Needles which are meant to be reused should not be kept on counter tops without some provision to prevent accidental “sticking”.  You can cap them, place them in holding packages or lab drawers, or request plastic holding containers from the department and gather them all into one holding container.

Please do not overfill the Non-Reusable needle containers.  Instead, leave 2 inches of "headspace" in each container at the top.  Insofar as possible, do not place anything in these containers other than needles and the plastic sheathing associated with the needle.  Large plastic and glass syringe tubes should be rinsed and disposed of in the garbage (glass syringe tubes go in with the broken glass boxes, of course).  If you have the least bit of difficulty in removing smaller syringe tubes from the needle, then by all means drop the entire needle/tube assembly into the container for disposal.

### 3.  Housekeeping for All Labs

Housekeeping services offered by WFU Physical Facilities cannot automatically take care of all cleaning requirements encountered in fully functioning chemical labs, so be prepared to clean up such things as chemical spills on your own.  Special requests for clean-up of non-routine nature should be called in at phone # 4255.  Be cautious of such requests, however, if unattended housekeeping personnel must move unfamiliar lab equipment or disrupt normal lab activity while cleaning.  Take steps to accommodate their time schedule and give them specific instructions.

In addition, observe the following general lab housekeeping rules:

- Chemical waste should be organized and kept in particular places in your lab, not scattered hither and yon.

- If your assigned bench-space work area generates common organic chemical solvents which end up dripping on the floor routinely, have your floor space cleaned and mopped more often.  Consider getting a chemically resistant floor mat.

- If your work area is well cared for and your neighbor on an adjoining lab bench tends to be messy, don’t allow bad habits of others to cramp your style.  Report it to Michelle Adkins (WFU Director of Environmental Health and Safety), who will act as your subtle advocate.

- Both research students and undergraduate research students should occasionally gather into communal clean-up teams and simply straighten up their research labs or assigned teaching labs.

- Don’t allow overcrowded conditions to result in obstruction of safety equipment.  Don’t pile chemicals, tools, equipment, and towels randomly on lab bench tops or lab floors.

- Report overly dusty lab benches, dirty floors, leaves or cobwebs or dirt on windowsills to housekeeping personnel.  Request housekeeping services whenever you see the need.

- Report damaged furniture to physical facilities for repair.  Problems with plumbing, water fixtures or improper drainage should likewise be reported to maintenance.

### 4.  Eyewash Fountains and Safety Showers

RESEARCH STUDENTS IN THE NANOTECHNOLOGY CENTER ARE FORMALLY REQUIRED TO SHOW ALL OF THEIR UNDERGRADUATE RESEARCH LAB STUDENT COWORKERS EXACTLY WHERE EMERGENCY EQUIPMENT IS LOCATED IN THEIR PARTICULAR ASSIGNED LABS.

All eyewashes and safety showers in the NanoTechnology Center are located less than 75 feet from hazardous laboratory locations as required by the applicable standard cited by OSHA, referred to as ANSI Z358.1 (American National Standards Institute).  They are accessible from all work areas within the NanoTech Labs.  Do not physically block access to these fountains with glassware, equipment, etc.  Crowding equipment around infrequently used safety equipment will of course render them nonfunctional.

All research students should activate an eyewash fountain and one or two fire extinguishers in their particular labs at least once to familiarize themselves with all safety equipment when beginning research during their first year of lab work.

Contaminants in the eye frequently cause muscle contractions and an instinctive urge to close the eyelid making proper drenching difficult.  It would not be unreasonable to practice trying to hold your eyelids open with your fingers while exposing your eyes to the discomfort of a good dousing.  Eyewash fountains are constructed so as to remain flowing after they have initially been turned on.  Ten or fifteen minutes of irrigation would not be unusual for a bad exposure.  Chemical injury to the eyes occur quickly and they need to be cleaned out rapidly, which means you need to be able to locate the eyewash fountain literally with your eyes closed.  Practice this at least once in research labs.

Other sections of this manual elaborate the necessity of wearing safety glasses while working with chemicals.  The following eyewash fountain directions will serve as your formal guide:

- Memorize the location of eyewash fountains and safety showers in your lab.

- Be prepared to help injured colleagues wash their eyes out properly.  In other words, help them adjust to the discomfort of holding their faces in streams of cold water and forcing their eyelids open, thus avoiding the impulse to close eyes tightly after chemical exposure while attempting to irrigate them with water.

- Do not wear contact lenses in any lab while using chemicals.

- Know where to locate the emergency phone in your work area and how to call for medical help.  Get medical help immediately after eye injuries.

- Wash out eyes for 10 to 15 minutes.  Wash chemical spills on skin also.  Don’t rub your eyes while washing them out.

As for safety showers, make use of them by simply standing underneath and pulling the hand ring downwards.  In most cases, heavy drenching with mineral acids or corrosive organic chemicals will require disrobing of at least the entire exposed clothing articles.

Here is a table listing the physical locations of all eyewash fountains and safety showers in the NAnoTechnology center.

INVENTORY OF EYEWASH FOUNTAINS AND SAFETY

SHOWERS IN THE NANOTECHNOLOGY CENTER

| Room # | # of Safety Showers | # of Eyewash Fountains |
| --- | --- | --- |
| 113 |  | 1 |
| 114 |  | 1 |
| 118 | 1 | 1 |
| 121 | 1 | 1 |

### 5.  Lab Fires and Use of Fire Extinguishers

1.	When graduate students are assigned to a particular research laboratory, they should look over the phone numbers on the Emergency Information sheet taped on the lab wall next to their lab phones and take note of the location of all Carbon Dioxide type fire extinguishers within their lab and the nearest hallway dry powder fir extinguisher, fire alarm, and exit signs.  Also, look at the Emergency Exit Plan map posted just outside your lab in the hallway. When a fire starts for any reason, consider the hazard to adjacent lab rooms, the hallway, and the building as a whole before activating the alarm.  Decide yourself or from the assistance of others whether you can extinguish the fire with your laboratory safety equipment.  Calling campus security (phone 5911) may be in order before calling the local fire station (phone 911).  Naturally, fires that have grown or show the potential of growing quickly into large-scale furniture or wall/ceiling fires call for a swift pull on the alarm.

2.	Bunsen burner flames should be allowed only in sections of the lab free from solvent vapors, organic solvents, or generally anything else which may accidentally combust while your back is turned.  Clear the bench space around the burner before you light up.  Do not leave glass-working torches or Bunsen burners on unless someone is in the lab.

3.	Use the designated fire extinguisher for the type of fire encountered.  Extinguishers are marked with letters or descriptive pictographs corresponding to the following types of fires:

A - common combustible solid material (wood, carpets, paper, etc.)

B - flammable organic solvent liquids

C - electrical equipment

D - combustible chemical metals (e.g., sodium, phosphorus, lithium aluminum hydride, etc.).  One is available in the main Lab, room 118.

Each laboratory hallway in NanoTechnology Center is equipped with fire extinguishers.  Carbon dioxide (CO2) extinguishers are the most numerous, being located in all research laboratories.  They are rated for type B and C fires.

One multipurpose dry chemical powder extinguisher (containing an ammonium phosphate base inert material) is located in each hallway wing of the building outside of the laboratories.  These are rated for A, B, and C type fires.  Room 118 and 121 have two CO2 extinguishers each and rooms 113 and 114 have one each.

One large type D extinguisher is located in the Main Lab room # 118, which is the only Lab likely to deal with combustible metals.

Most laboratory fires can be extinguished with CO2.  Discharged extinguishers can be refilled by Physical Facilities, phone # 4255.  Call them when you use more than half an extinguisher.

4.	Pull the retaining pin out of the extinguisher handle by TWISTING THE PIN LATERALLY TO BREAK THE PLASTIC TIE and then pulling out the pin, away from the cylinder.  Aim the extinguisher spray at the base of the flame, not the flame itself.  Organic solvent fires will spread if you spray the retardant directly on the liquid – aim just above the liquid.

5. (The following information was provided by Dave Brown, former WFU Safety Director).

“The most common [fire safety] violations are listed below.  Most are easily corrected and require minimal effort.  Corrective action should be taken immediately if any of these situations exist.

“COMMON FIRE CODE VIOLATIONS

“Electrical

a.	Flat extension cords are not allowed.  Power strips with built-in circuit breakers are acceptable.  Don’t overload electrical circuits with too many appliances.

b.	Power strips cannot be plugged into other power strips (piggybacking).

c.	Faulty outlets (loose, broken, missing cover plates, ungrounded) must be repaired ASAP by Physical Facilities.

d.	Electrical panels must be fully accessible.

e.	Cords on appliances should not be frayed, spliced or cracked.  If they are, have them repaired by Physical Facilities.

“Exits

a.	Exits must be kept unlocked unless equipped with panic type hardware.

b.	Exit passages (stairways, hallways) are to be kept clear.  No storage is allowed.

c.	Exits must be clearly indicated and equipped with functioning exit lights.

d.	Exit doors must be operable with no greater than 15 pounds of pressure and must not bind.

“Housekeeping

a.	Areas must be clean, free of debris and combustibles (paper, rags, and boxes).

- All containers must be clearly labeled to identify contents

- Flammable liquids must be stored in flammable liquids cabinets”  [ or carefully stored in minimal amounts on laboratory shelves].

6.   Fire alarms in the NanoTechnology Center are located in the following areas:

- By the entrance door, just inside in the entrance hallway

- Dockyard

- In the back door hallway, near the street outside

Activating a fire alarm is a serious matter, not to be taken lightly.  Most people realize this, perhaps even to such an extent as to render themselves reluctant to do so when it is clearly necessary.  DO NOT hesitate to pull an alarm when a laboratory fire has grown out of control.  Break the glass on the alarm with the attached breaking device and PULL!  You should know the location of the nearest alarm to your lab and examine it at least once when you begin working in that area.

Fire extinguisher inspections for NanoTechnology Center are conducted periodically by Mr. Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director].  Please call him at phone # 4329 to get extinguishers recharged if they are emptied during a fire in your lab.  All Fire Extinguisher Inspection Records are kept with him, also.

References for General Safety Procedures:

Safety in Academic Laboratories, 6th edition.  American Chemical Society, Washington D.C.:  1995, pages 3-8, 32.

Chemical Safety Manual for Small Businesses, 2nd edition.  American Chemical Society, Washington D.C.:  1992, pages 4-11, 25-31, 53-59.

## C.  Procedures for Handling Hazardous Chemical Waste

1.  HAZARDOUS WASTE COLLECTION:  GENERAL GUIDELINES

Please collect chemical waste in well-labeled containers (with labels headed with the wording “HAZARDOUS WASTE, Date______”) and store in your research or work area, fully enclosed and preferably kept in the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the Hood in the Main Lab, room # 118 (or in the vented cabinets beneath the hoods).  Keep aqueous solutions separated from organic solvents.  Do not mix liquids with large amounts of solids.  Consolidate compatible inorganic solids in one bottle, organic solids in another.  Incompatible or mutually reactive compounds should not be placed in the same bottle.  (See Prudent Practices, 2nd edition, table 3.9 on page 52 and table 3.10 on page 54).  When in doubt whether you are mixing incompatible chemicals, consult a Professor or simply keep each particular compound in a different container.  The safest course is to keep each particular compound in a different container if you have the slightest suspicion that one of the waste chemicals may react with the other.

Aqueous solutions or mixed Organic Solvents should be labeled with the solvent name(s) and approximate weight or volume percentage of each listed dissolved solid chemical component (i.e., 10%, 1%, 0.01%, less than 1%, etc.).

Again, when you are ready to dispose of waste, take it to the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the Hood in the Main Lab, room # 118 (or in the vented cabinets beneath the hoods).  Chemical solids, in appropriate labeled containers, and small one to four liter size bottles of labeled organic solvents and aqueous inorganic solutions can also be placed here.

.

Extremely reactive and very toxic waste (i.e., Lithium metal, Sodium metal, Osmium tetroxide, Phosphorus, Potassium cyanide, Barium cyanide, reactive metal hydrides, etc.) should be stored as far away from flammable chemicals as possible.  LABEL WITH A HEADING OF “HAZARDOUS WASTE”, AND THEN LIST BELOW IT A SPECIFIC SPELLED-OUT CHEMICAL NAME OR NAMES AND DATE IT WITH THE DAY OF THE MONTH AND YEAR THE WASTE WAS COLLECTED.  Waste companies will not accept unidentified waste.  Labels such as "aromatic waste" or "inorganic salts" are inappropriate and will be returned to you.  AGAIN, LABEL WITH SPECIFIC FULLY SPELLED OUT CHEMICAL NAMES.  Place organic peroxides on the bottom shelf of this hood and keep away from organic or inorganic acids.

A designated Graduate Student or teaching assistant for your work area will maintain a Microsoft Word document listing of typical waste generated in your lab, which will be emailed to the Physics Department Laboratory manager in your department when the waste is ready for removal to the Solvent room # 20.  The Lab Manager will then email this list to Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], phone # 4329, frazie@wfu.edu .   Examples of labels include:

HAZARDOUS WASTE, Date  02-22-07    (This date refers to the date the waste

)  One white plastic container of filter paper and Organic solids:  bottle is filled, labeled, and ready

- N-Acetyl-2-aminobenzoic acid				to be taken to the Chemical

- 9-Fluorenol						waste “Accumulation” area)

- 4-Methoxychalcone

- Naphthalene

HAZARDOUS WASTE, Date  02-22-07

)  Water with:

- Sodium iodide, approximately 5%

- Ammonium chloride, 2-5%

- Sodium sulfate, less than 1%

- Sodium thiosulfate, less than 1%

HAZARDOUS WASTE, Date  02-03-06

)  4-Bromodimethylaniline

HAZARDOUS WASTE, Date 03-15-02

)  Two bottles of Water (acidic) with:

- Bis(salicylaldehydato)nickel (II) dehydrate

- Bis(salicylaldiminato)nickel (II)

- Bis(N-2’-butylsalicylaldiminato)nickel (II)

HAZARDOUS WASTE, Date 11-19-06

) Two bottles of Acetone, Hexane, and Ethyl ether with:

- Acetophenone

- Anisole

- Benzaldehyde

- Benzyl alcohol

- Benzoic acid

- Naphthalene

Aqueous solutions should be checked with (blue) litmus paper and labeled acidic (see above example) if necessary, although the presence of a compound named as an acid (e.g., Acetic acid) will ordinarily be sufficient to indicate that the material inside is acidic.

Laboratory 118 should maintain a supply of spent reagent bottles to be used as waste containers.  Please take extras to the Hazardous Chemical Waste holding area in or near the Hood in the Main Lab room # 118 for community use.  You may take containers from this area when you need them.

The waste chemicals will eventually be "lab-packed" or enclosed in safe transportation packages and taken out by waste treatment firms.

Wake Forest University's hazardous waste is currently removed by a national company with a branch in North Carolina – American Environmental Services.

ONYX ENVIRONMENTAL SERVICES       Carolina Environ Associates	American Envr. Services.

2176 Pressley Road                                         P.O. Box 963	9741 Suite I

Charlotte, NC  28217        or, alternately:       Burlington, NC 28216-0963	Southern Pine Blvd

Tel.No. (800) 626-1461                                  336-229-0058	Charlotte, NC  28273

Phone 704-527-4777

These companies (the first two are alternates) maintain treatment and storage facilities in North Carolina and disposal facilities in other states, like New Jersey.

2.  Common Organic Waste Solvents

The following common laboratory organic solvents can be collectively poured into larger waste containers (say, 5 gallon waste drums made of metal or polyethylene or one gallon sized bottles) and stored in the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the Hood in the Main Lab, room # 118 (or in the vented cabinets beneath the hoods).  They should be labeled HAZARDOUS WASTE, Non-Sulfur, Non-Halogenated Organic Solvents, meant for the following highly flammable, generally non-reactive hydrocarbons, commonly used in most academic research and teaching Labs.  Do not add water or acidic material to these drums:

acetone	methyl ethyl ketone	pump oil

benzaldehyde	mineral spirits	tetrahydrofuran

benzene	motor oil	toluene

cyclohexane	naphtha	xylenes

ethyl ether	paint thinner	ethyl alcohol, (and,

ethyl acetate	petroleum ether	low-molecular weight alcohols,

heptane	propanol (1 or 2-propanol)	cyclohexanol, methanol )

hexane	propyl acetate	ethylene glycol

Dimethylformamide

You must list each chemical by name and approximate amount (liters) in a logbook kept near the drum.  DO NOT OVERFILL THIS DRUM!  Leave about 2 to 3 inches from the top.  Don't empty mineral acids, organic acids, or aqueous solutions into these drums.  Oxidizers in the presence of mixed organic solvents may cause a fire.  Waste companies do not appreciate receiving organic solvent drums with a water layer on the bottom.

All other organic solvents not on the list above must be poured into separate glass or metal containers, labeled, and placed in the hood or some other safe storage area.  This includes any potentially reactive or unstable liquid organic chemical.  Examples would be sulfur-containing compounds, complex heterocyclics, corrosives, organic acids, lachrymators, etc. - i.e., bromine, acetic anhydride, acetyl chloride, chlorosulfonic acid, pyridine, acetonitrile, alanine, 1,4-dioxane, tert-butyl chloride, etc.

The two common halogenated organic solvents (methylene chloride and chloroform, only) must be separated from other solvents and poured into labeled, 20 liter empty white polyethylene containers kept next to the hood, on the floor in the wide spill tray.  Methylene chloride hydrolyzes and produces HCl which causes metal cans to rust.  Do not deposit these two solvents in metal cans.

3.  SAFETY PRECAUTIONS in the Hazardous Chemical Waste Holding Area

Note that an eyewash station and a safety shower are located in Lab room # 118 near the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the hoods (or in the vented cabinets beneath the hoods).  Wear safety glasses and chemically resistant gloves when pouring waste solvents into containers in the hood.  Absorbent material for chemical spills is located near the hoods and Flammable cabinets, again in room 118.  Follow the chemical spill procedure in this manual if you spill large amounts of solvents, or when there are chemical spills of any kind within that room.  Note that cleaned up spill material must be placed in a container large enough for both the absorbent material and the absorbed chemical.  Label this container as containing spillage material and list the specific chemical name of the spilled chemical or chemicals.  The waste company with then receive this container and dispose of it properly.  Report any spills or corroded waste containers to Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], phone # 4329.  Report any malfunction of the ventilation system to Physical Facilities (phone x-4255).

Some organic solvents are capable of peroxide formation once opened and exposed to air for long periods.  If half emptied and left for 5 or 6 months with a loose cap, these solvents may become explosive.  These include the following common laboratory solvents:

Diethyl ether,	Tetrahydrofuran,	1,4-Dioxane

Date the label of these chemicals with the date on which the container was first opened.  If your laboratory uses these solvents or any other solvent capable of forming peroxides (consult to find out) be sure to tighten the cap after dispensing any of them in your lab, and check the tightness of the cap if you take waste containers of theses solvents to the hood in the darkroom for eventual removal by the Chemical Waste Company.

4.  MERCURY SPILLS

At present, there is no legal method for disposing of metallic mercury.  Take broken thermometers and place them in a white plastic pail with a lid and store that in the hoods or some other safe storage area in your research Lab with plenty of ventilation. Mercury is recycled with the chemical waste company serving the NanoTechnology Center.  Mercury spills should be collected with a vacuum hand pump (“Hg Vac”, Lab Supply Company Catalog # YB-20754, refill pack catalog # YB-16613), which will be kept in room 115.  Empty the collection tube into a wide mouth glass bottle and keep it in a larger plastic holding tray located beneath the hood or your Lab hood.  Every effort should be made to collect mercury droplets with this device, instead of sweeping them up, since the mercury must be recycled and sold.  Dirt and trash collected along with the mercury will contaminate it.  Containers holding more trash than mercury will be returned to you for proper cleanup.

Don’t use commercially available mercury absorbent material, such as Lab Safety brand Mercury Vapor Absorbent and Hg Absorb (a zinc amalgam material), unless absolutely necessary, i.e., for very large spills of mercury which cannot be collected with the hand pump.  This material will be extremely difficult to dispose of, since no waste company will take it.  Charges incurred by the department in disposing of it will be reimbursed by the research group responsible for the spill.

The mercury will eventually be poured into metal canisters, located on the floor next to the Darkroom Hood, and given to the Waste Company for recycling or sold to the following mercury recycling center:

Bethlehem Apparatus Company, Inc.

890 Front Street; P.O. Box Y

Hellertown, PA  18055

Tel.No. (610)-838-7034

An alternate company would be:

D. F. Goldsmith, Chemical and Metal corp.

909 Pitner Ave.

Evanston, IL  60202

Tel.No. (708) 869-7800

5.  MORE SPECIFIC ADVICE REGARDING  CHEMICAL WASTE GENERATED in RESEARCH LABS

Research students in each research lab making use of chemicals and generating chemical waste are responsible for identifying and gathering chemical waste, putting them in appropriate empty glass or plastic containers (depending on the reactivity or lack thereof of the chemical with the type of container you’re using), labeling them as described below with fully spelled-out chemical names, making sure there is no evidence of spillage on the container surface, storing the chemical waste temporarily in a designated storage area within your lab (ideally in a hood, or underneath a hood, or in a flammable storage cabinet), capping or otherwise closing the container tightly, making absolutely certain that different chemicals stored within the same container are chemically compatible (that is, do not react with each other), and finally that each bottle is dated when full and taken to the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the hoods (or in the vented cabinets beneath the hoods) for eventual removal by the Chemical Waste Company.  The Research Director or NanoTech graduate students are responsible for identifying chemical waste.  If Graduate students are unclear as to what constitutes chemical waste generated in their research or teaching laboratory work area, they can such direct questions to Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], phone # 4255.

Collections of aqueous inorganic salt solutions or solid inorganic salts generated in the labs should be placed in capped glass containers and labeled with the fully spelled-out name of ALL the components involved - i.e., Barium Chloride, Cadmium nitrate, Silver nitrate, etc. – NOT with the chemical formula (like BaCl2 or Cd(NO3)2 or AgNO3).  You must also list the solvent (i.e., water, or an organic solvent should the need arise).

Generally, common chemically compatible (meaning non-reactive with each other) inorganic salts can be placed in the same waste jar as long as all components are labeled.  There are, however, two broad categories of inorganic salts based on their degree of toxicity in aqueous solution.  One category is composed of higher toxic potential cations and anions, as specifically listed in Prudent Practices.  The other category consists of very low toxic cations/anions, listed there as well.  Be sure to read the Forsyth County/City of Winston-Salem ordinance disallowing drain disposal of metal cations above specific concentration levels, located below.  You should also read section 7.D.3.8, “Inorganic Ions”, of Prudent Practices, 2nd edition, pages 166-171.

Any overly reactive solid, like lithium aluminum hydride, or Sodium metal, or Red Phosphorus, etc., should go into separate containers with the appropriate storage medium, such as mineral oil.  Reactive solvents, like Acetic anhydride, or Bromine, or Hydrofluoric acid for example, should go into separate smaller containers.

DO NOT MIX AQUEOUS SOLUTIONS WITH ORGANIC SOLVENTS, SOLIDS WITH LIQUIDS, OR OTHERWISE INCOMPATIBLE CHEMICALS IN THE SAME CONTAINER.  There is a large one liter separatory funnel located in the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the hoods (or in the vented cabinets beneath the hoods).  If, in the process of your work, you do end up with a container of 2 layers of both aqueous and organic waste liquids, you must pour all that liquid waste into the funnel and separate the layers yourself.  At the end of the experiment, pour out the bottom layer of water down the lab drain (only if this layer contains only low toxic cations/anions).  If the aqueous layer is very acidic, neutralize it with sodium bicarbonate first.  Collect the organic solvent layer in an appropriately labeled bottle (ACETONE, TOLUENE, BUTANOL, etc.) and put it in the hood in the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the hoods (or in the vented cabinets beneath the hoods).  If the organic solvent waste mixture contains traces of organic or inorganic solids, indicate this on the handwritten label [as in:  Acetone, Toluene, with trace amounts of Benzaldehyde , Sodium chloride, and water].

Before taking bulk quantities of organic solvents to pour into the 55 gallon Organic Solvent waste drum near the Hazardous Chemical Waste holding area in room 118, make certain the solvent waste is not acidic (use blue litmus paper dipped in the liquid to test for acidity – Vials of litmus paper will be kept in the darkroom).  Acidic solvents MUST NOT be poured into this drum.  Store acidic solvent waste in separate containers and leave them on the metal table in the hood.  Many chemical experiments involve some use of mineral acids and will no doubt contaminate this organic solvent waste drum.  If the solvents are overly acidic and you wish to ultimately pour them into the 5 gallon drum, pour them into the large one liter Separatory Funnel, add some sodium bicarbonate aqueous solution, shake it out carefully, and discard the water layer. But MAKE CERTAIN the solvents are not acidic.

Mineral acids (HCl, HNO3 and H2SO4), ammonium hydroxide (NH4OH), and Phosphoric Acid (H3PO4) can legally be disposed of as instructed in Armour, M.A., Hazardous Laboratory Chemicals Disposal Guide, under the following conditions:

a.	The acids must be completely neutralized and this must occur as a definite part of the experimental procedure, preferably at the end.

b.	Dilute with at least 1:10 dilution of acid to H2O before neutralizing

c.	Contaminants present in the acid must be less than 1% total

(A copy of this book is kept in room 115)

Do not dispose of Perchloric acid in this manner.  It should be given to the waste companies, as should spent chromerge (chromic acid/H2SO4) cleaning mixtures.

The listed procedures for all four mineral acids are basically as follows:

Wear suitable gloves, such as nitrile, or, preferably Latex or rubber gloves, a laboratory coat, and eye protection while slowly diluting the concentrated acid or further diluting less concentrated acids in a suitable container, such as a large beaker or a lab sink with a drain plug, or a large standard heavy-duty polyethlene pan.

Add baking soda (sodium bicarbonate), sodium carbonate, calcium carbonate, or soda ash slowly into the diluted solution until neutralization is complete, i.e., until vapors of CO2 don’t rise from the mixture.  Pour the resulting solution down the drain with at least 50 times its volume in H20.  All of this should preferably be done in a fume hood, of course.

Reaction equations for Neutralizations of Acids:

2 HCl  +  Na2CO3  (  2NaCl  +  CO2  +  H2O

2HNO3  +  Na2CO3  (  2NaNO3  +  H2O + CO2

H2SO4  +  Na2CO3  (  Na2SO4  +  H2O  +  CO2

Ammonia can similarly be disposed of using dilute hydrochloric acid as the neutralizing agent.

Reaction equations for neutralizations of ammonium hydroxide and phosphoric acid:

NH4OH  +  HCl  (  NH2Cl  +  H2O

2 H3PO4  +  3 Na2CO3  (  2 Na3PO4  +  3 H2O  +  3 CO2

7.  SPENT LECTURE-BOTTLE COMPRESSED GAS CYLINDERS

These metal cylinders, when completely empty, can be legally disposed of via the local landfill by labeling "EMPTY" with clearly visible markings and depositing in the loading dock garbage bins.  This would apply to inert or non-air sensitive gases which are spent, entirely.  However, it is not advisable to do this.  Naturally, it would be better to return the cylinders to the original vender.

Lecture bottles bought from Sigma-Aldrich Chemical Company are especially easy to return.  Their cylinder return service instructions can be obtained by calling 1-800-558-9160, the customer service department.  The cost is about $27.00.  Most lecture bottles are best purchased from this company, anyway, if not National Welders.  Twenty-seven dollars is much less than the $200 to $300 that most chemical waste companies would charge.  Give them the information they need (our account # with Sigma-Aldrich, the catalog # of the cylinder, and the chemical name) and they will send you shipping labels so that we can send back empty lecture bottles in cardboard boxes, properly labeled with the DOT chemical warning labels that were shipped to you with the cylinder when you received it.  SAVE THE SHIPPING BOX AND THE WARNING LABELS THAT YOU RECEIVED WITH THE LECTURE BOTTLE.  The lab manager will make arrangements to send the cylinders back via Roadway transportation services, phone # 993-4811 in Kernersville, NC.  They must be sent by truck.  UPS will not take them.

The following Matheson Gas Company lecture bottle gases are sold by Fisher Scientific Co.:

Gas	Catalog #

Ammonia	10-599A

Carbon Dioxide	10-599E

Chlorine	10-599F

Ethylene	10-599I

Helium	10-599J

Hydrogen	10-599K

Hydrogen Sulfide	10-599L

Methane	10-599N

Nitrogen	10-599P

Oxygen	10-599R

SO2 Anhydrous	10-599W

This is generally the least expensive source of such lecture bottle size gas cylinders, and you can return them by mail to Matheson via the following procedure:

Call Matheson Gas Products at phone # (770) 961-7891, Morrow, GA, and follow these steps, as stipulated by the company:

1.	“Lecture Bottles must be Matheson Lecture Bottles.

2.	Bottles must be properly labeled (original).

3.	Valves must be operable and in good condition.

4.	Product must be from existing product line or will not be accepted.

5.	Accepting location must have capability to drain cylinders.  (It does, at least in Morrow, GA)

6.	Lecture Bottles must be in generally good condition.

7.	A flat return charge of $40.00 per Lecture Bottle will be assessed to cover processing costs.

8.	Prior arrangements must be made before making returns.

(Call above phone number and send to:

Matheson Gas Products

6874 South Main Street

Morrow, Ga 30260)

“See DOT Shipment of Chemicals section in the laboratory manager’s copy of this manual for proper labels to add to the box.  The laboratory manager will have proper DOT warning labels you can add to the shipping container.  It is a good idea to keep the original shipping box, with the labels already affixed, somewhere in your lab or in the storage room #8A, for future shipment of the empty cylinder.  Remember, no gas cylinder should be completely drained, so you will have trace amounts of gas in the bottle, enough for justification of warning labels.

9.	Any bottles received not meeting these criteria will be returned to the customer.

10.	Matheson reserves the right to refuse all lecture bottles.

“The company regrets any inconvenience this may cause, however, Matheson cannot continue to absorb the increasing costs of cylinder reclamation (due to unidentifiable, non-labeled lecture bottles").

National Welders, Inc., a local company which supplies our large-size gas cylinders, is also a dealer for Matheson lecture bottles.  This company will collect most empty cylinders when requested.  Please contact them by phone (744-0010) and take the cylinders to the "Empty Cylinder" area in the outer loading dock area of Salem Hall.  NEVER COMPLETELY EXPEND CORROSIVE, AIR-SENSITIVE, MOISTURE-SENSITIVE OR STRONG OXIDIZER GASES FROM LECTURE BOTTLES.  Outside air will be drawn into the cylinder and an explosion may occur after contact with oxygen, water vapor or oxidizable material (like organic lubricants or grease).  Return the cylinder to the vendor with about 20-25 psi remaining in the tank.  Consult your research advisor if you have any uncertainties as to the safety of emptying a particular cylinder.

8. Lab Procedures for “In-Process” disposal of Highly Reactive Chemicals

Occasionally a chemical encountered in research laboratories is so corrosive or reactive that it must be destroyed as part of the experimental procedure when it is spent or no longer in a useable form.  If it is to be used in an experiment and is clearly in need of “in-process” destruction, consult with your research advisor and obtain such information from the chemical literature or one of the following sources:

Armour, M.A. Hazardous Laboratory Chemicals Disposal Guide, Boston: CRC Press, located in room 115.

Lunn, George and Sansone, Eric B. Destruction of Hazardous Chemicals in the Laboratory, 2nd edition.  New York:  John Wiley and Sons, Inc., 1994, located in the Chemistry Department Stockroom, Reynolda campus and also in Prudent Practices, 2nd edition, especially Chapter 7, again located in room 115.

9. Responsibilities of Laboratory Personnel

Laboratory Research workers should include the handling of chemical waste in their repertoire of privileges and responsibilities associated with being students of science.  Each laboratory group should designate one graduate student to oversee the collection and transportation of chemical waste from the group’s work area to the Hazardous Chemical Waste holding area in or near the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the hoods (or in the vented cabinets beneath the hoods).  In particular, this designated person has the responsibility of visually checking the contents of each waste container before it is taken by other students within the group to the waste holding area, to make certain incompatible chemicals have not been placed in the same container and dating each waste container when it is taken to the Accumulation area.  This should be a permanent or rotating assignment, based on research priorities and faculty dictate.

11.  Conversation with Ms. Crystall Couch on 4/1/93 (As per instructions from Dr. Antony Shoaf, former Chemical/Biohazard Officer, Bowman Gray School of Medicine, WFU):

“On March 8, 1993, the City/County Utilities Commission passed ordinances which required that all businesses in Winston-Salem and Forsyth County to not dump concentrations of metal ions and certain pollutants into the city sewage which are greater than the concentrations listed below.  If the concentrations of any of the constituents listed below are greater than the listed maximum in the effluents leading from a facility, then that facility will require a special permit.

“Pollutant	Maximum Permitted Level in Effluents, ppm (mg/l)

Ag (Silver)	< .002	Note:  These concentrations are

As(Arsenic)	< .005	incredibly dilute.  This section generally

Cd (Cadmium)	< .005	applies to trace amounts of material left in

Cr (Chromium)	< .03	dirty lab glassware which is cleaned in lab

Hg (Mercury)	< .0002	sinks and does not imply permission to

Cu (Copper)	< .2	dump toxic inorganic salts down the drain.

Pb (Lead)	< .05			See Prudent Practices, 2nd edition, page 166,

Ni (Nickel)	< .05			 for a discussion of how to distinguish

Zn (Zinc)	< .005			between toxic and nontoxic inorganic salts.

BOD	500

Susp. Solids	500

pH	between 5 and 10

Hydrocarbons, oil,

and grease	< 100

Cn- (Cyanide)	< .005”

12.  Chemical Waste listed by the EPA as “Acute Hazardous Waste” (P-Listed Waste)

Certain chemicals are considered so hazardous as chemical waste, either because of their toxicity or reactivity, that research laboratory generation of them must remain below a certain amount per month (one kilogram per month, total amount for the Reynolda campus).  Otherwise the university could lose its EPA “Small Quantity Generator” status [meaning small quantity generator of hazardous waste].  In the event this status is lost, much more regulatory paperwork is required for what will then be a “Large Quantity Generator”.

It is advisable that you consult the list of such chemicals (referred to by the EPA and “P-list waste” because the waste codes begin with the letter P) at least once to become familiar with it.  It is listed in the introduction to Standard Operating Procedures (SOPs) in this manual.  Generally, the Chemical Waste Company will easily identify these chemicals for you

As an example of precautions to use, consider the following suggestion.  Suppose your research lab generates Osmium tetroxide.  This is a P-list waste and you should either end up with only a very small amount to dispose of (say 1 to 200 grams, or 500 mL of solution) or set in place a procedure to detoxify or decontaminate the material, though chemical decomposition, as the last step in your overall reaction process.  Be sure to add this procedure to your reaction process while in progress.  Do not treat hazardous waste after the reaction process has been stopped or disassembled.  In house treatment of stored hazardous waste, other than simple neutralization, is not presently permitted by the EPA.

13.  Hazardous Waste Record-Keeping for the Physics Department

All hazardous chemical waste generated by the university must be properly “manifested”.  That is, shipping papers, prepared by waste companies, must be kept on campus for future reference - as required by RCRA (the Resource Conservation and Recovery Act) and explained on pages 146 and section 9.D, page 205, of Prudent Practices, 2nd edition, if you wish to read it (not required reading).

All such manifests are now kept by Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], at Physical Facilities.

Summary of Rules for Chemical Waste Collection and Labeling

Nearly all spent chemicals generated in teaching and research laboratories should be securely bottled or packaged, labeled, and stored in the Hazardous Chemical Waste holding area in or near the yellow flammable cabinet or the hoods (or in the vented cabinets beneath the hoods) or some other place stipulated by your Research Director.  Some chemicals are regarded as non-hazardous, non-regulated chemicals and may be safely deposited in the normal garbage, but the identity of these chemicals is not usually something students would be expected to readily recognize (e.g., “paper, corks, sand, alumina [used in chromatography experiments], silica gel, sodium sulfate, magnesium sulfate, and so on….”, as explained in the Chemistry Department’s Organic teaching lab CHEM 122L textbook The Organic Chem Lab Survival Manual, Chapter one, “Disposing of Waste”.  Therefore, since most of your waste is ultimately given to a Chemical Waste company for pick-up, it is advised that nearly all of the waste in your work area be handled as follows:

- Be sure that the wording “HAZARDOUS WASTE, Date _______” appears as a heading on the label and the begin identifying each of the chemical components with its fully spelled out name, not its chemical formula.  For example:

HAZARDOUS WASTE, Date 11-19-06		DO NOT WRITE Na	Write out the word “Sodium”

) One bottle of Sodium metal in Mineral oil

HAZARDOUS WASTE, Date 03-31-02

)  One bottle of Organic solids:		DO NOT WRITE THE CHEMICAL SYMBOLS OR FORMULAS ONLY

- 1-Naphthol

- Glucose pentaacetate

- Nitrotyrosine (in glass vials)

- 4-Aminobenzenesulfonic acid

- 8-Anilino-1-naphthalenesulfonic acid, ammonium salt hydrate

- Keep aqueous solutions separated from organic solvents, insofar as possible.  If you do mix the two together, make sure that information is on the label, although it is better to separate the layers (organic and aqueous phases) and place them in separate containers.

- Do not mix liquids with large amounts of solids.

- Consolidate chemically compatible inorganic solids in one bottle, and organic solids in another.  Incompatible or mutually reactive compounds should not be placed in the same bottle.

- Keep each particular compound in a different container if you have the slightest suspicion that one of the waste chemicals may react with the other.

- Aqueous solutions or mixed Organic Solvents should be labeled with the solvent name(s) and approximate weight or volume percentage of each listed dissolved solid chemical component (i.e., 10%, 1%, 0.01%, less than 1%, etc.) if at all possible.  For example:

HAZARDOUS WASTE, Date 02-22-07

)  Water with:

- Sodium iodide, approximately 5%

- Ammonium chloride, 2-5%

- Sodium sulfate, less than 1%

- Sodium thiosulfate, less than 1%

HAZARDOUS WASTE, Date 11-19-06

) Two bottles of Acetone, Hexane, and Ethyl ether with:

- Acetophenone, less than 1%

- Anisole, less than 1%

- Benzaldehyde, 10 %

- Benzyl alcohol, trace amount

- Benzoic acid, 20 %

- Naphthalene, 2 to 5%

The following common laboratory organic solvents can be poured into the gray 55 gallon drum located in the Main Lab room # 118, labeled HAZARDOUS WASTE, Non-Sulfur, Non-Halogenated Organic Solvents, meant for the following highly flammable, generally non-reactive hydrocarbons, commonly used in most academic research and teaching Labs:

acetone	methyl ethyl ketone	pump oil

benzaldehyde	mineral spirits	tetrahydrofuran

benzene	motor oil	toluene

cyclohexane	naphtha	xylenes

ethyl ether	paint thinner	ethyl alcohol, (and,

ethyl acetate	petroleum ether	low-molecular weight alcohols,

heptane	propanol (1 or 2-propanol)	cyclohexanol, methanol )

hexane	propyl acetate	ethylene glycol

The two common halogenated organic solvents (methylene chloride and chloroform, only) must be separated from other solvents and poured into a separate labeled, 5 gallon white polyethylene container kept next to the large 55 gallon Non-Halogenated waste drum.

All other organic solvents not on the list above must be poured into separate glass or metal containers, labeled, and placed on the metal table. This includes any potentially reactive or unstable liquid organic chemical.  Examples would be sulfur-containing compounds, complex heterocyclics, corrosives, organic acids, lachrymators, etc. - i.e., bromine, acetic anhydride, acetyl chloride, chlorosulfonic acid, pyridine, acetonitrile, alanine, 1,4-dioxane, tert-butyl chloride, etc.

Common mineral acids used in Academic laboratories (Hydrochloric, Nitric, Sulfuric acids, including Acetic and Phosphoric acids) can be completely neutralized with Sodium carbonate or bicarbonate and flushed down the drain with plenty of cold water, unless other harmful chemical components are mixed in with them, in which case they should be securely bottled, capped, labeled, and sent out with the waste company.

It is hereby stipulated that each research laboratory group designate one graduate student to oversee the collection and transportation of chemical waste from the group’s work area to the Accumulation area in or near the gray 55 gallon drum located in the Main Lab room # 118 or in the vented cabinets beneath your Lab hood or some other designated safe storage area in your lab stipulated by your research or teaching advisor..  In particular, this designated person has the responsibility of visually checking the contents of each waste container before it is taken by other students within the group to the waste holding area, to make certain incompatible chemicals have not been placed in the same container, and dating each waste container when it is taken to the Accumulation area.  This should be a permanent or rotating assignment, based on research priorities and faculty dictate.

This designated Graduate student will maintain a Microsoft Word document listing of typical waste generated in your labs, which will be emailed to the Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], phone # 4329, frazie@wfu.edu when the chemical waste is ready for removal with the waste company.

## D.  Protective Devices, Equipment, and Apparel

### 1.  Personal Protective Equipment:  Eyewear

1.	All laboratory workers working with chemicals are required to wear safety glasses or goggles at all times in research laboratories.  Safety side-shields may be worn over prescription lenses, but in research labs where more dangerous lab work is likely, safety glasses or goggles must be worn over ordinary prescription eyeglasses.  Alternatively, one can obtain prescription safety goggles.

Contact lenses are not acceptable in most laboratory situations, especially around chemicals which readily generate vapors of any sort, i.e. volatile organic liquids or solids, corrosive mineral acids, lachrymators, solids with dust-like consistencies.  These vapors easily become lodged underneath the contacts rendering removal difficult.  Also, one cannot flush the eyes with water until they are physically removed.  After accidentally splashing chemicals into the eyes, one cannot expect to remain panic-free while groping about for the eye-wash fountain and struggling with contact lenses.  If contact lenses must be worn for some reason, cover your face with tight-fitting safety goggles.

2.  	Standard safety glasses can be obtained from Fisher Scientific.  They are AO Safety or Aerosite Fisher Brand (Fisher Catalog #17-981-9B or 10B, large or small size).  These are safety spectacles, with permanently attached side shields, all in accordance with the relevant OSHA standard, 29 CFR 1910.133, which employs the same criteria for safety  glasses stipulated by the American National Standards Institute (ANSI), referred to as standard Z87.1-1989.  Typical goggles kept sold by the same company are UVEX Classic (Fisher Catalog #17-253 for one size) or UVEX Futura chemical splash goggles (Fisher catalog   #17-260-1 small, and catalog #17-982-587 large), all of which meet the Standard for Occupational and Educational Eye and Face Protection listed under 29 CFR 1910.133.

Specific information regarding eye protection while using Laser devices is listed elsewhere in this manual, in the SOP section.

### 2.  Personal Protective Equipment:  Lab Coats and Gloves

1.	The chemical laboratory is not the place for fashionable or impractical clothing.  Wear sturdy cotton trousers or long skirts and thick, well-worn shirts with long sleeves.  Some other resilient material may be just as good, but synthetic fabrics tend to melt when burned and adhere to skin.  It is generally easy to end up with chemical stains on clothes during any serious lab work.  Don your old blue jeans, wear lab coats when necessary, and keep your feet completely covered with leather or thick canvas shoes.

Cotton lab coats are preferable although other fabrics sold by Fisher Scientific Company are acceptable, as are disposable aprons.  Excellent all-cotton Lab coats are sold by the University Bookstore.

2.	Gloves: Wear disposable laboratory gloves when working with hazardous chemicals.  Which type you choose to wear should be dictated by the general class of chemical you will be exposed to in the lab.  Research lab gloves should be purchased by your research advisor. Typical gloves and prices sold by Fisher are described as follows:

a)  Lightweight Purple nitrile gloves (brand name Kimberly-Clark “Safeskin”, Fisher catalog # 19-149-863A through D, for sizes extra-small through extra-Large, $74.90 per case of 1000 as of 10-18-06) meant generally for organic solvents and solids and to a lesser extent, mineral acids.  These gloves are 4 "mils" thick (a "mil" is equal to 0.001 inch).  A good substitute for these would be VWR, Inc., Microgrip Ambi-nitrile gloves (purple), catalog # 40101-344 (small) through 40101-346 (large).  All of these are disposable gloves.

b)  Light-weight latex rubber off-white and green gloves (Kimberly-Clark “Safeskin”, Fisher catalog # 11-390-1A through D, for sizes extra-Small through extra-Large, $53.00 per case of 1000 as of 10-18-06) are best for mineral acids and inorganic salts.  They are 6 mils thick (again, 0.006 of an inch thick).  They do not stand up well to organic solvents.  A good substitute for these would be VWR, Inc., Microgrip Latex gloves (blue-green, or teal), catalog # 40101-414 (small) through 40101-418 (large).  Again, these are disposable.  We also have SAFESKIN latex gloves (off white), Fisher # 11-390-1A through 1E, which are 6 mils thick (again, 0.006 of an inch thick).

c)  Yellow, heavy-duty, universal, thick, cotton lined rubber gloves (ANSELL EDMONT Natural Rubber, Fisher catalog #11-394-7A through E, size 7-10).  These are good overall protection for both Organic chemicals and inorganic chemicals.  They are more cumbersome than the lighter gloves described above.  Do not use them if your skin is overly sensitive to cotton.  These are meant to be reusable gloves.  We also have slightly heavier duty orange ANSELL EDMONT Natural Rubber gloves, Fisher catalog # 11-391-145 [size 7], then 11-394-6B through 11-394-6D (for sizes small through large).

d)  Heavyweight, non-cotton lined, dark-green nitrile gloves (MAPA Professional Stansolv Nitrile gloves, Fisher catalog #11-391-1A through E, size 7-11) are for people who may be allergic to cotton-lined gloves.

e)  "Multi-flex" powder-lined heavyweight green vinyl gloves, VWR Scientific Products (Baxter) catalog # G7235-3 or 4, for large or extra large sizes.  Vinyl(or PVC) material stands up well to acids and alcohols, but not most organic solvents.

f)  "Zetex" brand temperature resistant gloves (non-asbestos material), Fisher catalog #11-392-15, one size only.

g) Neoprene Gloves for handling 0.2 % Hydrofluoric acid will be supplied by Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director].  His phone # is 4329 (or 4224)

The following useful information on gloves was obtained from Dartmouth College, Environmental Health and Safety, 6216 Clement West, Hanover, NH 03755, phone # 603-646-1762:

“Glove materials:

Viton( - Excellent resistance to chlorinated and aromatic solvents.  (Expensive)

Butyl - Good choice for aldehydes, ketones and esters.  (Expensive)

Neoprene - Wide range of resistance to solvents, acids, caustics and alcohols.

Nitrile - Wide range of applications along with puncture and abrasion resistance.

Natural rubber (latex) - resists acids and caustics.  Often combined with other polymers for a broader range of applications.

PVC - resists acids but not petroleum solvents.”

### 3.  VENTILATION AND PROPER USE OF HOODS

1.	Ventilation System

Laboratory hoods serve as very convenient “designated areas” for working with dangerous chemicals and you should take advantage of them whenever you feel it necessary.

The hoods in the NanoTechnology Center are designed to keep the concentration of all airborne chemicals below the Threshold Limit Values (TLVs) or Permissible Exposure Limits (PELs) as defined by OSHA and explained in the subchapter of this manual titled “A Guide to OSHA Air Concentration Acronyms”.  The active laboratory areas such as lab rooms 118 and 121 are constantly provided with 100% fresh air from the ventilation system.  The exhaust system for the building as a whole provides for complete separation of intake air from exhaust air.

2.	Supply air for all Laboratory Hoods

The hoods located in room 118 of the NanoTechnology Center are Fisher Hamilton “Safeaire” brand fume hoods.  [Note:  the 8 foot hood in room # 121 is presently being constructed].  One make-up air valve is located above the ceiling tile in that room for the “Phoenix Control” air valves which track the exhaust valves above each hood and automatically adjust the make-up supply air for the room as the exhaust valve air volume changes.

If you do not notice changes in the noise level of these valves when a majority of the sashes in the lab are closed or opened, the valve is functioning abnormally.  Another indication, of course, is whether the air flow in the room is normal and unchanging as one opens and closes the sashes or whether the air pressure in the room feels normal as one opens or closes the door to the room.  If the valves are obviously malfunctioning, call maintenance at Physical Facilities (phone # 4255).  Call this number if any problem with the ventilation arises.

TLVs and PELs are safe air concentration levels based on 8 hour average workdays, 5 days a week.  If one can just smell a chemical continually over a normal 5 day workweek, one has in most cases just reached the boundary line of concern and one should seek to make more efficient use of the nearest laboratory fume hood.  Take the chemical you are working with and place it closer to or further back into the hood.  Proper planning for lab experiments beforehand, however, will take into consideration the need for working in a hood.  You should not rely on smell as a safeguard against potential hazards.  Some chemicals with low PELs can be hazardous at levels below the odor threshold.

It cannot be overemphasized that the hoods in the NanoTechnology Center were designed to maintain all chemical exposures at levels below the permissible exposure limits (PELs) established by OSHA.  When used properly, only accidents and spills will result in overexposures to chemicals.

The research hoods have been physically placed in the room so as to minimize the effects of traffic, i.e., walking in front of the hoods.  Laboratory workers should nevertheless recognize that this causes a certain amount of turbulence in front of the hoods and disrupts the flow of air.  Fumes will momentarily stretch outward from the hood if such traffic is severe.  The air flow through the open sash is maintained at 100 feet per minute while the speed of walking is about 3 miles per hour (or 250 feet per minute).  There is no law stipulating a certain air flow rate in the hoods, but it required that we adhere to published standard recommendations, as follows (As advised by Dr. Haugen, we will adhere to NFPA 45 and ANSI/AIHA Z9.5 standard recommendations, for flow rates between 80 and 120 feet per minute – We keep the lab hoods set at 100 feet per minute):

PUBLISHED FACE VELOCITY RECOMMENDATIONS

Compiled by Dr. Bob Haugen, (Kewaunee Scientific Corporation, Laboratory Division, PO Box 5400, Statesville, NC 28687, phone # 704-871-3214):

| Organization | Citation | Face Velocity |
| --- | --- | --- |
| 1) ACGIH | Industrial Ventilation 19th edition p.5.24 | 60-100 FPM |
| 2) ASHRAE | 1999 ASHRAE Handbook, 13.5 | 20%-50% of exterior disturbance velocities. (60-175 FPM) if 300 FPM walkby used to calculate) |
| 3) ANSI/AIHA | ANSI/AIHA Z9.5, Sect 5.7 | 80-120 FPM |
| 4) CALOSHA | CCR Title VIII, Subchapter 7.5454.1 | Min 100 FPM |
| 5) Nat. Rsrch.Cnc. | Prudent Practices, p.178 | 80-100 FPM |
| 6) NFPA | NFPA 45: 6-4.5 & A6-4.5 | "Sufficient to prevent escape from hood; 80-120 FPM; 40 CFM/lin foot min |
| 7) NIOSH | Recommended Indust. Ventil. Gudelines p166 | 100-150 FPM |
| 8) NRC | NRC Guide, 6.3 | 100 FPM for hospital radioactives |
| 9) OSHA | 29 CFR 1910 Appendix A Sec. A.C.4.g | 60-100 FPM |
| 10) SEFA | SEFA 1.2: 5.2 | 75-100 FPM |

3.	Preliminary Considerations for Safe Operation of Hoods

All hoods in the NanoTechnology Center have air slots in the back (bottom, mid, and top) to allow passage of air from the “face” of the hood straight through to the back surface and out.  The hoods have airfoils, which prevent vertical displacement and guide the air horizontally.  Air flow is much smoother if the slots are not blocked by packing the hoods with everything imaginable.  Do not overcrowd these hoods.  Air flows will be much smoother if equipment is raised 2 or 3 inches with support racks, lab jacks, or makeshift raised platforms.  The degree of air flow (referred to as “face velocity”) is not in itself an adequate measure of hood efficiency.  High flow rates of 100 - 150 feet per minute through hoods which are packed with extraneous equipment, bottles, unnecessary chemicals, etc., only create high air turbulence and do not operate as hoods, but rather as “expensive fans.”

The cabinets upon which these hoods rest contain venting holes leading to the hood.  Therefore, THESE CABINETS ARE IDEAL FOR STORAGE OF TOXIC OR OTHERWISE ODORIFEROUS CHEMICALS.  They also are lined with fireproof material.  The hoods are in continual operation - they are never turned off, unless there is a building ventilation shutdown, in which case you should evacuate your lab if you are working with chemicals in the hoods or storing toxic chemicals below them in the storage cabinets.

OSHA recommends 2.5 linear feet of hood space per worker if they spend most of their time working with chemicals.  Our research hoods have 3.5 linear feet per research student.  All electrical outlets, light switches, water and gas valves are located just outside of the research hood chamber.  The vertical hood sashes SHOULD BE CLOSED when not in use, to save energy and cut down on the expense of air maintenance.  All hoods in the NanoTechnology Center will be inspected periodically and certified when possible.

4.	Hood Air Flow Monitors

The hoods contain Phoenix Control Corporation Fume Hood Monitors.  These monitors electronically monitor the flow rate through your hoods and sound alarms when the flow rate falls below 70 feet per minute.  This indicates that you should evacuate the lab, unless there is merely a temporary malfunction of the monitoring device itself.  Read and follow the operating procedure for these monitors which follows this section.

The monitor also regulates the air flow as the vertical sash doors are opened and closed during use.  They increase the air flow rate through the sash opening as the sash opening widens, to a maximum flow rate of 100 linear feet per minute.  As the door closes, the rate decreases to a minimum of 70 feet per minute.  During an emergency requiring a much higher air flow, such as a runaway reaction generating clouds of toxic vapors, an emergency button can be depressed on the monitor to activate a sudden increase to 120 feet per minute flow, simultaneously sounding an alarm.  The mute button can then be depressed to silence the alarm while maintaining the higher flow rate.  Press the red emergency button again to return the flow to its normal rate.

The green light on the monitor indicates normal air flow.  When the air flow falls to a lower level, a red alarm indicator light will flash and the alarm will sound.   A yellow light indicates that the hood sash has been left wide open and needs to be lowered when the hood is not being used.  Please see the following diagram and accompanying directions for use.  IF ANY PROBLEM IS ENCOUNTERED WITH HOOD MONITORING EQUIPMENT, WIRING, SASH SENSORS, OR HOOD AIR FLOW IN GENERAL, STOP WORKING AND CONTACT THE LAB MANAGER AND CALL PHYSICAL FACILITIES (PHONE #4255).

For repairs of Phoenix Control Monitors, call Mr. Dean Dray of Hahn-Mason Air Systems, Inc., Service Division, 410 Oberlin Road, Suite 350, P.O. Box 10465, Raleigh, NC  27605, phone # 1-919-834-9230.  Air-flows can be recalibrated by Mr. Tommy York, or other WFU Physical Facilities personnel.

5.	Fisher Hamilton Fume Hood Operating Instructions, posted by the company as labeled instructions on each research hood as follows:

Operating Instructions

Failure to follow these instructions could result in physical injury or illness.

Caution:  Do not use the hood for perchloric acid procedures.

- Do not use this fume hood unless you have received proper training from the owner’s industrial hygienist or safety representative.

- This fume hood is not intended to be used with all chemicals or all chemical processes.  Consult the owner’s industrial hygienist or safety representative to determine whether the hood is appropriate for the chemicals and processes to be used.

- Verify that the fume hood exhaust system and controls are operation properly and providing the necessary airflow.  If in doubt, the owner’s industrial hygienist or safety representative should be consulted.  It is recommended that the hood be equipped with an air flow monitoring device.  Before using the fume hood verify that the monitor is operating properly by testing the monitor.

- The hood should not be operated with the sash in the full open (set-up) position.  When the hood is in use the opening of the sash glass should be kept at a minimum.  On a vertical rising sash, the sash glass should be no higher than 18” from the work surface.  Horizontal sliding panels on combination sashes must be closed when sash is raised vertically.  The sash should remain closed when the hood is not in use.

- Place chemicals and other work materials atleast six (6) inches inside the sash.

- Do not restrict air flow inside the hood.  Do not put large items in front of the baffles.  Large apparatus should be elevated on blocks.  Remove all materials not needed for immediate work.  The hood must not be used for storage purposes.

- Never place your head inside the hood.

- External air movement can affect the performance of the hood.  Do not operate near open doors, open windows or fans.  Avoid rapid body movements.  Do not open the hood if there are crossdrafts or turbulence in front of the hood.  Do not open the sash rapidly.

- If this hood is equipped with adjustable baffles, do not adjust the baffle without consulting the owner’s industrial hygienist or safety representative.

- Wear gloves and other protective clothing if contact with the contaminants is a hazard.

- Clean spills immediately.

- If fumes or odors are present, stop operating the hood, close the sash and contact the owner’s industrial hygienist or safety representative immediately.

- It I recommended that this fume hood be tested and certified annually by the owner according to applicable industry and government standards.

OPERATING INFORMATION FOR FHM 610-ENG FUME HOOD MONITORS

LOCATED ON RESEARCH LAB HOODS

- Green lights indicate hood is safe to use.

- Red lights indicate danger -- hood is not safe to use.  Call maintenance at phone 				  #4255, ask for Donnie Adams, Building Zone Supervisor.

- Yellow lights mean you should lower sash door to save electrical power

- No lights indicate loss of power.  Call maintenance at phone #4255.

FHM 610-ENG Model

### 4.  Chemical Storage in Research Labs

Make an effort to use up bottles of a particular chemical you already have in your lab before buying a new one, or be prepared to deal with old chemicals which have a short shelf life or decompose slowly upon prolonged standing.  Some, such as deliquescent compounds, tend to absorb large amounts of water after prolonged storage.  Several organic liquids tend to polymerize, becoming useless as laboratory reagents.  See the “Standard Operating Procedure” section of this manual for dealing with ancient material which may have formed harmful peroxides.

*	Take the trouble to periodically examine old chemical containers for cracks or other signs of wear and tear.  The original manufacturers label should remain intact, with reinforcing tape applied if necessary.  Graduate students should make an attempt to print the receiving date for each chemical which arrives in NanoTechnology Center on the label of the chemical bottle.

*	See Prudent Practices, 2nd Edition, Table 4.1, Page 73, for guidance in storing chemicals in compatible groups based on their mutual reactivity.  Please make an attempt to shelve your laboratory chemicals according to this scheme.  Also, consult table 3.9, page 52 of Prudent Practices, 2nd Edition, and use this as your guide for keeping incompatible chemicals separated from each other on storage shelves.  Note also the excellent advice appearing beneath this table, i.e., that “separation of chemical groups can be by different shelves within the same cabinet” and “Do Not store chemicals alphabetically as a general group.  This may result in incompatibles appearing together on a shelf.  Rather, store alphabetically within compatible groups.”

Large amounts (over one liter) of flammable organic solvents should be kept in metal storage cabinets or in designated wooden cabinets lined with fireproof material in the research laboratory.  These cabinets should not be vented.  Remember that open containers of such liquids are very dangerous around sources of heat.  The vapors of these liquids tend to be heavier than air, gathering in concentrated levels on bench tops, corners, and recesses in the lab work area.  Operating electrical equipment, spark generating electrical switches, open flames, and warm heating mantels are potential sources of solvent fume generated fires.  Therefore, make every effort to keep such containers tightly capped.  Open them, in so far as is possible, in hoods.  Keep them away from any sources of ignition.

Instead of metallic cans for organic solvents, non-metallic polyethylene safety storage containers of one or two liter size, such as “Justrite” brand, can be obtained from Fisher Scientific Co. (Fisher Catalog #  17-177B).  See page 96 of Prudent Practices, 2nd edition, for more elaboration.  Such containers have the advantage of less breakage potential.

In addition to the guidance listed above, the following storage rules should be followed in all labs:

- Water reactive chemicals (i.e. Sodium metal, lithium aluminum hydride, etc.)  should not be stored near a source of water, such as faucets, sinks, fire sprinklers, safety showers, etc.

- Corrosive chemicals (i.e., mineral acids) should not be stored above shoulder level on lab benches.  It is not a good idea to store any chemical on high shelves, out of comfortable reach.

- Make certain that all bottles of chemicals are labeled

- Attempt to segregate chemicals into definite areas of storage as outlined above and return them there when finished with them.

- When tempted to store chemicals in hoods, remember that the cabinets beneath are vented and will serve just as well, leaving you with a safer work area in the hood.

- Do not store highly volatile, flammable chemicals in a refrigerator unless it contains a spark proof thermostat (i.e., unless it is an explosion proof refrigerator!)

- Periodically check the chemicals in your laboratory to make certain they are tightly capped!  Prolonged storage often results in caps gradually working loose.  Parafilm can be used in some cases to further air-lock the container.

- Store lecture bottles of compressed gases in the bottom vented cabinets of research lab hoods.

## E. Laboratory Operations which require prior approval from NanoTechnology Center Instructors

Certain laboratory operations or chemicals are so dangerous that it is unwise to allow inexperienced personnel access to them unless subjected to constant scrutiny and direct supervision.  Prior approval to proceed with a laboratory task shall be obtained by research and undergraduate students from their particular research directors or teachers under the following circumstances.  Please note that specific instructions by teachers to engage in these activities while under their guidance in teaching laboratories constitutes such approval.

Obtain approval before any use or synthesis whatsoever of perchlorate salts.  These compounds tend occasionally to spontaneously detonate.  Every effort must be made to obtain as much information regarding their stability as possible by the research director before work begins.

Obtain approval before ever using Hydrofluoric acid.  Laboratories using this material should have access to a supply of a commercial HF skin treatment, a 0.13% solution of ZEPHIRAN CHLORIDE, the systematic name of which is Benzalkonium chloride, and must have multiple tubes of 2.5% Calcium gluconate gel in the work area and approved Neoprene gloves for both lab workers and emergency personnel in well marked and easily noticed storage.  They must also have access to the Air Products publication Safetygram 29 titled “Treatment Protocol for Hydrofluoric Acid Burns.”  One is kept near the departmental copy of the Chemical Hygiene Plan in the NanoTechnology Center Kitchenette, along with ordering information for Calcium gluconate.

Obtain approval before use of:

1.	Peroxides of any kind

2.	Metallic mercury

3.	Picric acid

4.	Water reactive chemicals (see Prudent Practices, 2nd edition, page 51, and the table on the next page of this manual).

5.	Pyrophoric chemicals (see Prudent Practices, 2nd edition, page 51, and the table on the next page of this manual.  Also see the Standard Operating Procedures for working with Pyrophorics on page 98 of this manual)

6.	Any of the following gasses, during installation of regulators or actual use:  (listed in Prudent Practices, 2nd edition, page 105).

Boron halides	chlorine

Chlorine trifluoride	Bromine

Hydrogen selenide	Phosphine

Methyl chloride	Phosgene

Silane	Ammonia

Silyl halides	Hydrogen chloride

Fluorine

7.	Hydrogenation reaction apparatus, X-Ray crystallography defractometers, atomic absorption spectrometers, pressurized glove boxes.

8.	Fuming Nitric or Sulfuric acid			9.  Potassium cyanide

“This table lists some chemicals that react violently with water.  They should be handled and stored away from both water and water vapor.

Water Reactive Chemicals and Compounds

“Alkali metals, such as Sodium (Na), Potassium, (K), Lithium (Li)

Alkali metal hydrides and alkali metal amides, like Lithium aluminum hydride (LiAlH4) or sodium amide (NaNH2)

Metal alkyls, such as lithium alkyls, aluminum alkyls, and magnesium alkyls (Grignard reagents)

such as butyllithium, triethylaluminum, phenylmagnesium bromide in ethyl ether, etc.

Acid halides of nonmetals, such as Boron trichloride (BCl3), Boron trifluoride (BF3), Phosphorus trichloride (PCl3), Phosphorus pentachloride (PCl5), Sulfur chloride (S2Cl2), Tetrachlorosilane, or Silicon tetrachloride (SiCl4)

Inorganic acid halides, such as Phosphorus oxychloride (POCl3), Thionyl chloride (SOCl2), Sulfuryl chloride, or Sulfur oxychloride (SO2Cl2), and Phosphorus pentoxide, or Phosphoric anhydride (P2O5)

Calcium carbide (CaC2)

Organic acid halides and anhydrides of low molecular weight, like acetyl chloride and acetic anhydride

Anhydrous metal halides of Aluminum (Al), Arsenic (As), Iron (Fe), Phosphorus (P), Sulfur (S), Antimony (Sb), Silicon (Si), Tin (Sn), Titanium (Ti), Zirconium (Zr) such as Aluminum Chloride (AlCl3), Titanium trichloride (TiCl3) (very reactive), Titanium dichloride (TiCl2) (much less reactive), Zirconium tetrachloride (ZrCl4), Stannic chloride (SnCl4)

Metal hydrides of Aluminum (Al), Boron (B), Calcium (Ca), Potassium (K), Lithium (Li), Sodium (Na), like Sodium Hydride (NaH), Lithium Hydride (LiH), Aluminum Hydride (AlH3)”

“This table lists some chemicals that oxidize readily and ignite spontaneously in air.  These materials should be stored in tightly closed containers under an inert atmosphere or liquid.

Pyrophoric Chemicals

“Alkali metals, such as Sodium (Na), Potassium (K), Lithium (Li)

Grignard reagents (RMgX), R=alkyl, X=Halides, like phenylmagnesium bromide

Metal alkyls and aryls, such as alkyl Lithium (RLi), alkyl Sodium (RNa), alkyl Aluminum (R3Al), alkyl Zinc (R2Zn), (ie., tributylaluminum, butyllithium, etc.)

Metal powders, such as Aluminum (Al), Cobalt (Co), Iron (Fe), Magnesium (Mg), Manganese (Mn), Palladium (Pd), Platinum (Pt), Titanium (Ti), Tin (Sn), Zinc (Zn), Zirconium (Zr)

Metal hydrides, such as Sodium hydride (NaH), Lithium aluminum hydride (LiAlH4)

Non-metal hydrides, such as Diborane (B2H6) and other boranes, Phosphene (PH3), Arsine (AsH3)

Non-metal alkyls, such as alkyl Boron (R3B), alkyl Phophorus (R3P), alkyl Silver (R3Ag)

Phosphorus (white)”

(Both tables from Bowman Gray School of Medicine’s Chemical Waste Disposal:  Policies and Procedures, 1985, pages IV 3-4)

## F.  Provisions for Additional Protection When Working with Particularly Hazardous Chemicals

### 1.  Introduction

The OSHA Laboratory Standard, besides stipulating that a Chemical Hygiene Plan be written for each lab, requires you to be particularly careful in handling what are referred to as "particularly hazardous chemicals."  These include "select" carcinogens, reproductive toxins, and substances which have a high degree of acute toxicity.

"Select" carcinogens are defined in 29 CFR 1910.1450(b), as indicated on page 221 of Prudent Practices, 2nd edition.  See also page 203 of that monograph, section 9.C.4, for a more elaborate description of regulated reproductive toxins and highly toxic substances.  Please note that newly synthesized chemicals in research laboratories are considered highly toxic until proven otherwise.

Each particularly hazardous chemical will be identified as such for you within your Department’s MSDS sheet Inventory, on the sheet itself, written by the manufacturer of the chemical in question.

It is advisable to gather all "select" carcinogens which are present in your laboratory, label them with yellow tape marked "Danger: Chemical Carcinogen" (commercially available), and store them in a designated storage area for carcinogens in your lab, preferably a hood or a safe storage cabinet.

All reproductive toxins in your inventory should be labeled with commercially available orange tape marked "Danger: Mutagen or Teratogen.”  You would be well advised to store these in the same storage area for carcinogens, although it may not always be possible to identify all of your teratogens since published lists of these compounds are less specific than lists of carcinogens.

Highly Acute Toxic Chemicals have been listed for you in your inventory, via HMIS/NFPA toxicity ratings of 3 or 4, usually by the manufacturer.  Also, they can generally be identified by the manufacturer’s warning labels (danger! Highly toxic, poison, etc.)  While no specific secondary labeling will be attached to chemical containers for highly acute toxic chemicals, you will be expected to adhere to the special handling provisions listed below when working with them.  There is no need to store them in a designated storage area, although you should work with them only in a designated work area (in other words, a hood).

See the Training section of this manual for an explanation of the Hazard Communication Standard’s Hazard Material Identification System (HMIS) or National Fire Protection Association (NFPA) hazard rating system.  Under these systems, both hazard ratings are pretty much the same.

Most chemical manufacturers rate their chemicals.  The Hazard Communication Standard requires manufacturers to provide hazard evaluations in the form of MSDS sheets.  All supply MSDS sheets with hazard evaluations, but not all supply HMIS hazard ratings.

The present regulatory standard applicable to the Chemistry Department, which superseded the Haz-Comm Standard, is called the “Laboratory Standard” and requires only that “particularly hazardous chemicals” be worked with in designated areas.  It only requires carcinogens and mutagens/teratogens to be labeled.

Acute toxicity is rated from 0 to 4 in the HMIS/NFPA systems (0 less dangerous, 4 most dangerous).  One could regard those rated as 3 and 4 as chemicals with a “high degree of acute toxicity,” thus combining the regulatory requirements for hazard assessment present in the Haz-Com standard and the Laboratory standard, into one rating system, that is, the HMIS system.

Teratogens and mutagens are listed as chronically toxic chemicals, designated as the letter “T” for known teratogens and “t” for suspected teratogens.  Known mutagens are “M”, suspected mutagens are “m”.  Allergens are “A” and substances which cause silicosis are “S”.  Carcinogens are labeled as chronically toxic chemicals, with letter designation of “C” for known carcinogens and “c” for suspected carcinogens.  This system is in place so that you will be able to immediately recognize all carcinogens,  teratogens/mutagens, and extremely hazardous chemicals in your lab when you review  your MSDS inventory

The procedures for working with these three types of particularly hazardous chemicals are described below.

### 2.  INIMICAL CHEMICALS:  RULES OF ENGAGEMENT

*	Work only in a "designated area" when handling carcinogens, reproductive toxins, or extremely hazardous chemicals.  The "designated area" may be aa research lab hood, a glove box, or, at the very minimum, any well ventilated area judged to be appropriate to the severity of danger by your research director.  An alternative strategy would be to refer to the entire area or laboratory as the designated area, if such substances are constantly moved back and forth throughout the room.

*	Label the designated area.  Do not allow access to the area by anyone other than authorized personnel.  Storage areas should also be labeled specifically for storage of carcinogens and reproductive toxins.  When possible, store such chemicals in hood cabinets.  Extremely hazardous chemicals can be stored on lab shelves, but should be handled only in designated areas.

*	Use the smallest amount of the chemical necessary for completion of your work.  Do not leave bottles or other containers open.  Close them immediately after use.

*	Always wear safety glasses and always wear gloves when the slightest possibility exists that these chemicals may come into skin contact.  Heavier protection such as face-shields or safety shields should be available if needed.

*	Cease all activity with these chemicals when hoods malfunction entirely.  Make every effort to avoid breathing fumes from these chemicals

*	Wash hands before leaving laboratory.

*	Do not place bottles of chemicals in harm’s way in congested work areas without adequate room to maneuver.

*	Read pages 90-93 of Prudent Practices, 2nd edition for further elaboration.

*	Also, you must list procedures for safely removing highly toxic waste, such as EPA acute P-Listed waste (http://www.epa.gov/docs/epacfr40/chapt-I.info/subch-I/40P0261.pdf – go to Part 261.33)

or any other broad category of frequently encountered classes of very toxic waste generated in your work area or hood.  An example would be how to package spent mercury from an organometallic reaction or how to dispose of contaminated Silica-gel from a column chromatography experiment.  Use the entire chapter of the “Procedures for Handling Hazardous Chemical Waste” of this manual as your basic guide.

*	Lastly, you must also state how you would de-contaminate used equipment and bench top surfaces which have come in contact with very toxic waste spilled and/or used with the equipment, (See Dr. Fishbein’s following example procedure for decontamination of carcinogenic diazoate and nitrosamine residues).  You should indicate how you will remove traces of it from bench tops if spilled, how to place it in containers without endangering yourself or others, etc.

## G.  Specific Procedures for Safe Removal of Highly Toxic Waste

PROCEDURE FOR LAB ROOMS # 113, 113A, 113B, 114, 118, 119, 121

Consult with your research advisor concerning proper methods for packaging and storing extremely hazardous waste.  Research usually involves working with selective types or classes of chemicals.  Prepare brief summaries in this section for handling spent chemicals peculiar to your lab.

The halogenated organic solvents, including  Methylene chloride (or Dichloromethane), Chloroform, and Dichlorobenzene, and  will be collected in an amber glass or plastic waste bottle in the main Lab room 118 in the Flammables cabinets and given to the Chemical Waste Company.  Label them as follows:

Hazardous waste, Date______

) Halogenated Organic solvents, with:

- Acetonitrile

- Chlorobenzene

- Chloroform

- Dichloromethane

- Dichlorobenzene

Likewise, the following compatible non-halogenated common organic solvent waste will be poured into the gray 55 gallon drum located in the Main Lab room # 118, to await removal by the waste company, and labeled as HAZARDOUS WASTE, Non-Sulfur, Non-Halogenated Organic Solvents:

acetone	methyl ethyl ketone	pump oil

benzaldehyde	mineral spirits	tetrahydrofuran

benzene	motor oil	toluene

cyclohexane	naphtha	xylenes

ethyl ether	paint thinner	ethyl alcohol, (and,

ethyl acetate	petroleum ether	low-molecular weight alcohols,

heptane	propanol (1 or 2-propanol)	cyclohexanol, methanol )

hexane	propyl acetate	ethylene glycol

Consolidate compatible inorganic solids in a well-labeled waste container, organic solids in another. These will be stored in wide-mouth glass bottles and stored either in the hoods in the Main Lab or the yellow flammable solvent cabinet.  Non-compatible solids should naturally be packaged in separate bottles.

Collect Hydrochloric acid and other spent mineral acids in the original 2.5 liter clear glass bottle and store it as waste underneath the left hood in the metal cabinet until ready for neutralization or removal by the waste company.  Be sure to label it thus:

HAZARDOUS WASTE, Date______

)  Hydrochloric acid, concentrated

Or:

HAZARDOUS WASTE, Date______

)  Sulfuric acid, dilute

Or:

HAZARDOUS WASTE, Date______,   etc.

)  Nitric acid, concentrated

DO NOT MIX VARIOUS TYPES OF ACIDS IN THE SAME GLASS WASTE JAR!

If you don’t plan on sending the acid out to the waste company, spent mineral acids (Hydrochloric, Sulfuric, Nitric, Phosphoric, and also Acetic acid, and very dilute Hydrofluoric acid – say, 10%) should be neutralized according to the procedures outlined in the chapter on Procedures for Handling Hazardous Chemical Waste, as follows [Note that the 10% Hydrofluoric requires special care, and that you should neutralize it only in a hood sink with a solution of Calcium hydroxide (spare solutions of which will be kept in room 121), and only if wearing neoprene gloves and keeping containers of Calcium gluconate nearby in case of accidental exposure to the skin of Hydrofluoric acid]:

Wear suitable gloves, such as nitrile, or, preferably Latex or rubber gloves, a laboratory coat, and eye protection while slowly diluting the concentrated acid or further diluting less concentrated acids in a suitable container, such as a large beaker or a lab sink with a drain plug, or a large standard heavy-duty polyethlene pan.

Add baking soda (sodium bicarbonate), sodium carbonate, calcium carbonate, slowly, with continual stirring, into the diluted solution until neutralization is complete, i.e., until vapors of CO2 don’t rise from the mixture.  Pour the resulting solution down the drain with at least 50 times its volume in H20.  All of this should preferably be done in a fume hood, of course.

Reaction equations for Neutralizations of Acids:

2 HCl  +  Na2CO3  (  2NaCl  +  CO2  +  H2O

2HNO3  +  Na2CO3  (  2NaNO3  +  H2O + CO2

H2SO4  +  Na2CO3  (  Na2SO4  +  H2O  +  CO2

Bio-Hazardous waste procedures here

## H.  Specific Decontamination Procedures for Equipment and Bench top Surfaces which have come into contact with Highly Toxic Waste

PROCEDURE FOR LAB ROOM #

Include here methods of cleaning up work surfaces in hoods or bench tops so as to render traces of toxic chemicals benign.

Specific Decontamination Procedures for Equipment and Surfaces which have come into contact with Highly Toxic Waste [EXAMPLE ONLY, prepared by Dr. James Fishbein, former Occupant of Research Lab # 14, Chemistry Department, Salem Hall]

PROCEDURE FOR LAB ROOM #	14

Include here methods of cleaning up work surfaces in hoods or bench tops so as to render traces of toxic chemicals benign.

Lab Rules for Handling Decontamination of Personal Protective Equipment (PPE) and Lab Equipment Contaminated by Diazoate and Nitrosamine Residues

These rules must be followed by all members of the group in order to insure your own and others safety.  Failure to follow these rules endangers the health of you and your coworkers.  Please read and follow the rules below!!

General rules:	1) ALL unattended reactions in the hood, whether or not they involve nitrosamines or diazotes, must be labeled to indicate the reaction in progress and any harmful reagents employed.  Unlabeled-unattended reactions are subject to immediate disposal in the acid bath.

2) ALL reactions involving synthesis of diazotes, nitrosamines or nitrosamides must be carried out in the hoods.

3) ALL items enter any of the hoods are not to be removed from the hood until they have been decontaminated.  This rule applies whether or not the items have been used in the preparation of a diazote or nitrosamine or nitrosamide - whatever goes in is assumed to be contaminated even though likelihood is very low.

4) ALL reactions involving synthesis of diazotes or nitrosamines should becarried out on surfaces that are covered with absorbent bench paper.  This greatly aids in cleaning up any spills.

5) ALL reactions involving diazote or N-nitrosamine syntheses must be cleaned up completely as soon as the reaction has been completed, subsequent to isolation of products.  Dirty flasks, tubes, and implements must be decontaminated immediately as specified below.  Do not leave dirty bench paper or beakers or pipettes or spatulas etc.. in the hoods overnight, begin decontamination immediately.

6) ALL spills of any amount of diazote or N-nitrosamine should be cleaned up immediately when they occur.  Equipment such as stir plates, lab-jacks, ring-stands can be rinsed with acetone and the acetone allowed to collect onto the bench paper.  More bench paper can be used as necessary.  The bench paper, once air-dried, can be decontaminated by the procedures below.  Always use heavy latex "non-disposable" gloves when cleaning up spills with acetone as acetone will penetrate the disposable gloves.  After decontaminating the latex gloves, throw them away.

Specific Clean-up Procedures.  For N-nitrosamine and N-nitrosamides and urethanes, the decontamination solution should be 50% sulfuric acid to 50 % water with  two packs of No-chromix for each two gallon container.  This is considered fresh until it is discolored at which time it can be

regenerated with additional No-chromix.  The acid baths should be changed once per month.  Do not put disposable syringe needles in the acid baths!!  For diazotes (once past the stage involving nitrosourethanes in the case of syn. compounds) an acidic solution of ~ 10% sulfuric acid suffices to decompose these compounds.

All materials to be decontaminated should be submerged in the acid bath for 24hrs.  Frequent checks should be made to ensure that the items are submerged.  Large items may have to be turned or rotated after the first 24hrs and allowed to sit an additional 24hrs.  Greater than 0.5g amounts of nitrosamines should be decomposed in a separate acid bath, typically a beaker, which should additionally be agitated by a magnetic stirrer.

Contents of NMR tubes should be emptied into a small beaker immediately after use.  The tubes should then be filled with decontaminating acid solution by pipette and submerged for 24hrs.  The contents of the NMR tubes should be concentrated immediately in the beaker and the residue-containing beaker should be submerged in acid for 24hrs.  NMR tube caps should be treated in the acid solution for 24hrs and thrown out.

Any gloves that contact N-nitrosamine or diazotes should be treated by the decontaminating acid solution.  The same should be done with bench paper on which nitrosmaine containing solutions or solids have been spilled.  Gloves or papers that have been used for routine handling in the hood need not be treated but should be put in a plastic bag in the hood which is then tied off and transferred to a clean plastic bag outside the hood.  The outer bag should be tied off and removed.

Glass cuvettes should be submerged in acid solution for 24hrs.

Syringes that have been used to inject dilute solutions of N-nitroso compounds should be thoroughly washed, both interior and exterior, with an organic solvent such as acetone.  The organic rinsing can be concentrated and the residue-containing beaker transferred to the acid bathe.  The syringe can be then cleaned using decontaminating acid solution by repeated displacement of the plunger in and out of the syringe.  The tip of the plunger and barrel and tip of the syringe should be submerged for 1hr. in acid solution.

### 1.    All NanoTechnology Lab Rooms

PROCEDURE FOR LAB ROOMS # 113, 113A, 113B, 114, 118, 119, 121

Include here methods of cleaning up work surfaces in hoods or bench tops so as to render traces of toxic chemicals benign.

Hydrofluoric acid spills should be completely neutralized with 5 to 10% solutions of lime water (calcium hydroxide).  Four containers of this solution will be kept near the hood in the Growth lab, where all lab work and neutralization of HF should take place.  You could just as well use aqueous solutions of Calcium carbonate or baking soda (sodium bicarbonate).     DO NOT BREATHE FUMES OF HF!  Be extremely careful with Hydrofluoric acid.  Burns from this material are deeply penetrating and can be deadly, causing massive tissue damage.

Kitty-liter cannot be used as a spill absorbent for Hydrofluoric acid, since it will react to form Silicon tetrafluoride (SiF4), a toxic and corrosive gas.  Neither should you use sand, which will also react with it.  Use baking soda, a small opened case of which will be kept near the hood.  Take note that Calcium gluconate gel and HF burn first aid information in a notebook will also be kept in that room.  Once you are certain all the HF has reacted completely, sweep up the powder into a wide-mouth waste jar or a plastic bucket, attach a secure cap or lid, label the container as Calcium Fluoride plus the absorbent material (spelled out names, please), and give it to the Chemical Waste Company.

Links for treatment of Hydrofluoric acid burns:

http://membership.acs.org/F/FLUO/hfmedbook.pdf

http://www.airproducts.com/Responsibility/EHS/ProductSafety/ProductSafetyInformation/Safetygrams/safetygram29.htm

http://www.calgonate.com/

Spills of common mineral acids (Nitric, Hydrochloric, Sulfuric, and Phosphoric) and also the organic Acetic acid can be treated as follows:  Dike the spill with the spill control material of a 1:1:1 mixture of kitty liter, sand, and baking soda located in the Hazardous Chemical Waste holding area in the Main Lab room # 118.  Gradually cover the rest of the spill with this material and then scoop it all up into a pail, plastic tray, or large beaker and add an excess of water.  Add baking soda with stirring until the reaction is complete, pour the liquid down the drain, and throw the solid residue in the garbage.

Generally speaking, this spill material (1:1:1 mixture of kitty liter, sand, and baking soda) can be used for most liquid chemical spills (other than Hydrofluoric acid).  This material is especially good for cleaning up spilled organic solvents, which can then be swept up with a hand broom and deposited into a waste container, appropriately labeled (including the spill material) and sent out with the waste company.  Consult the chapter in this manual titled “Chemical Spills”.

Mercuric Chloride (in a sealed can in a cabinet next to the hood):

Mercuric Chloride is highly toxic and corrosive.  Inhalation may cause corrosive bronchitis, interstitial pneumonitis, and death.  Ingestion may cause severe gastrointestinal irritation, renal failure, and death.  Dermal contact with mercuric chloride may cause dermatitis and neurological effects.  Work under the fume hood and wear a mask, gloves, lab coat, and pants at all times.  Rinse exposed equipment thoroughly with ethanol over a glass container.  Dispose of waste and rinse ethanol in the well-labeled 4L glass bottle stored in the fume hood.

Spills should be handled with extreme caution.  For spills larger than about a dime, Call 911 and ask for a hazardous materials safety response team.  Wipe smaller powder spills with a wet paper towel and dispose of the paper towels in a sealed plastic bag.  Surround liquid mercury spills with baking soda to prevent spreading.  Suck mercury up with a syringe and dispose in a sealed plastic bag.

## I.  Laboratory and Fume Hood Inspections

Laboratory hoods in the NanoTechnology Center should be inspected on a regular basis by three methods.

1.  Annual inspections of hood efficacy will be conducted by a certified Industrial Hygienist, at the request of the WFU Physical Facilities Safety Director.  Records of these inspections will be maintained by Mr. Scott Frazier, WFU Department of Environmental Health and Safety.  The air-flow in research labs should be 100 feet per minute face velocity (fpm).

2.  The hoods should be checked on an informal basis by Graduate students working in Lab room 118 and 121, periodically.

3.  If you have reason to suspect that the air-flow for your hood is low, contact Mr. Scott Frazier, WFU Department of Environmental Health and Safety.  In the meantime, get a large beaker or tray of warm water and place it just inside the hood.  Drop some dry ice (CO2) pellets into the water and observe the vapor flow.  The vapors are harmless and relatively dense.  If most of the vapors are drawn through the back slots, hood flow is generally appropriate.  If most escape into the air in front of the hood or drop through the air-foil opening toward the floor, your air-flow is too low.  Call Scott Frazier at phone # 4329 or 4255 for service.

Alternately, you can use smoke generators to qualitatively test the air flow.  Order them from Flinn Scientific, Inc., phone #1-800-452-1261 (catalog # S.E. 5010, 30 second time limit, or catalog #S.E. 5011, 3 minute time limit).

## J. Laboratory Emergencies

### 1. Emergency Procedure Overview

When a fire, explosion, serious injury, or any other emergency occurs in your laboratory, you should first of all ask yourself whether it is safe to stay in the lab and whether anyone is in need of immediate medical attention.  If you need any help at all, telephone for it.  The Emergency Phone Number Information sheet should be posted next to the hallway phone 727-1804.

All NanoTechnology Lab workers and students have access to the hallway telephone 727-1804 and are expected to call university emergency personnel if coworkers are occupied with accident victims.  Additional phones are located in all the Labs, as follows:

- Lab Rooms 113 and 114 - phone number 727-1806

- Lab rooms 118, 121, and Hallway adjoining all Labs – phone 727-1804

Tell emergency personnel what happened in as concise a manner as possible.  Your goal should be to contact help quickly and then proceed to do what you can yourself.  Remember to give the room number and location of the accident.

Do whatever is necessary to give minimal assistance to injured persons.  Use whatever medical or first aid knowledge you have and then stand aside to allow more knowledgeable individuals access.  Be ready to move injured persons away from sources of further injury.

As you read this manual, you will become aware of the many safety procedures and equipment available to the NanoTechnology Center and in your lab.  The more you know, the more help you can give.  The more your co-workers know, the more assistance they can give you.

Be especially cognizant of the Poison Control Center phone # 1-800-848-6946.  This is a 24 hour hotline information service which can give you emergency first aid and medical information for chemical injuries to specific tissues, organs, and areas of the body.  You must tell them exactly what chemical the victim was injured with if you expect them to help you.  This is a very good service. If necessary, they will fax specific information directly to the Physics Department fax machine located in the Olin Hall main office room # 100, fax # (758-6142) with the physician’s permission only.

The first aid kit is located in room # 115.

There are two chemical first aid books in the Chemistry Department stockroom, #110, Salem Hall, Reynolda campus.  IF YOU WORK WITH EXTREMELY HAZARDOUS CHEMICALS,

PLEASE REVIEW THESE BOOKS SO THAT YOU WILL BE PREPARED TO MAKE USE OF THEM SHOULD THE NEED ARISE.  You can do this in August of each year, when you receive Safety training gas cylinder safety training in the Chemistry Department.

a)	Effects of Exposure to Toxic Gases:  First Aid and Medical Treatment, 3rd Edition, Matheson Gas Products, Inc., 1988.

b)	Lefevre, Marc J., and Conibear, Shirley A. First Aid Manual for Chemical Accidents, 2nd Edition. New York: Van Nostrand Reinhold, 1989.

### 2.  Chemical Fire and Large Building Fire Emergency Procedures:

Basically, we do not expect the fire department to encounter any special hazard in putting out fires in the labs in NanoTechnology Center because we try to keep any sizable quantities of flammable organic solvents in the yellow flammable material cabinet in the Main Lab room # 118.  The only real fire hazard involving chemicals would involve that cabinet and the large 55 gallon gray steel drum storing the same flammable organic solvents as spent waste, located near the yellow cabinet in the same room.  Also, the largest collection of gas cylinders will always be just inside the Dockyard area, as noted in the beginning section in this manual on “Emergency Telephone Numbers of Lab Supervisors and Lab Workers”.

Small chemical fires in a particular laboratory can generally be extinguished using the following method:

a)  The firefighter should wear self-contained breathing apparatus (SCBA) if toxic fumes from collections of small bottles of solid chemicals are emitted at all while they are burning.

b)  Use the yellow, portable 30 lb. “Class D” fire extinguisher for smothering water-sensitive or water-reactive chemical fires.  They extinguish burning metallic chemical fires involving magnesium, lithium, sodium, and potassium; and in general, metal hydrides (like Lithium Aluminum Hydride and sodium hydride, popular chemicals used in the organic labs in room #’s 13, 14, 17, 18 of Salem Hall) and organometallic chemicals used in room #13 primarily.  This “Class D” extinguisher could also be used to put out other solid chemical fires in conjunction with dry power extinguishers located in the hallways (which are better for non-metallic solid chemical fires).  Small fires involving organic solvents can be smothered with Carbon dioxide fire extinguishers located inside all the Labs.

c)  If the fire has grown too large to extinguish by this method, then it is time to use water hoses and saturate the entire room corner or the entire room with water.  With an entire room in flames, the destruction of any small containers of water-sensitive chemicals via water from water hoses is a small price to pay - they will be neutralized or otherwise rendered benign with huge volumes of water and should not then present a problem to firefighters, especially if they are wearing the aforementioned self-contained Breathing Apparatus (SCBA).

The only major fire hazard present in research labs are compressed gas cylinder bottles.  The smaller “lecture” one pound size gas cylinders could be worse, potentially, since they are smaller and more difficult to see and could explode if the temperature is high enough during a fire, but the NanoTechnology presently does not have any.  Please note that exact locations of all compressed gases will be listed in the SARA Title III, Tier II report at the end of this manual.

### 3.  Chemical Spills

Chemical spills in all laboratories should be promptly dealt with and properly reported.  Small spills can in most cases be cleaned up by the lab worker without much trouble.  Spills of particularly hazardous chemicals must be reported to the lab supervisor and appropriate precautions taken during your cleanup. Large-scale chemical spills may require room evacuation, or, in unusual circumstances, a building evacuation.  Consult also with more knowledgeable colleagues and your research advisor or teacher.

Large spills which cannot be contained by you or those helping you in the NanoTechnology Center will be taken care of by the university's Safety Response Team, supervised by Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director].  Call him and inform him what was spilled and the location of the spill.  His phone # is 4329 (or 4224).  Do not expect anyone to clean up the spill without your assistance.

You should follow these rules when a spill occurs:

1)	Inform people in the immediate vicinity of the spill right away.

2)	Administer or receive first aid or attempt to rapidly remove the chemical if exposed to it by skin contact.  This generally means washing with a great deal of water.  If other procedures should be followed, you will know what they are, since you should know the harmful affects of the chemical and first aid procedures before you begin work.

3)	Minimize the spread of the spill if you can do it without injuring yourself by contact with corrosive or otherwise toxic fumes or liquids.

4)	Clean up the spill.

How you will clean up the spill will, of course, depend on what you are working with in your lab.  Again, do not expect the university's Safety Response Team to automatically do it for you.  They are not chemists.  Spill cleanup procedures for specific chemicals are clearly described in their MSDS sheets if no where else.  It will usually be more useful to refer to the shortened lab-scale step-by-stop spill procedures listed in Armour, M. A. Hazardous Laboratory Chemicals Disposal Guide, CRC Press, kept in room 115.  These procedures are listed in the "Spillage Disposal" section for each chemical in that book.  You are requested to skim through this book and thereby be more fully aware of the extremely useful and pertinent information therein.

The usual method of cleaning up a spill involves diluting it with water if it is aqueous, neutralizing it if it is corrosive, and finally adsorbing the liquid with an inert adsorbent material so that it can be swept up and placed in an appropriate labeled container and taken to the Hazardous Chemical Waste holding area in the Main Lab room # 118 for removal via a waste disposal company.  Label this container as containing spillage material and list the specific chemical name of the spilled chemical or chemicals.  Mineral acids are diluted with water and neutralized by sprinkling with baking soda or sodium carbonate or diluting it with solutions of sodium hydroxide.  Generally alkaline or basic solutions can be neutralized with dilute solutions of hydrochloric acid, although this of course depends on the chemical.  But the simplest procedure by far, for nearly all spills (except Hydrofluoric acid), is to cover the spill with 1:1:1 mixture of kitty liter, sand, and baking soda kept in the Hazardous Chemical Waste holding area in the Main Lab room # 118.  This material is kept in a large 5 gallon-size container.  It is labeled as follows, and there will a large scoop just under the lid waiting for you:

Chemical Spill Adsorbent

1:1:1 Sodium Bicarbonate,

Kitty litter, and Sand

Sweep the neutralized and absorbed material into a dust bin with a hand broom while wearing gloves and safety glasses.

You may use Sodium carbonate instead of baking soda (Sodium bicarbonate).  The University Safety Response Team will also have large amounts of this material on hand.  It will not always be appropriate to use this material.  Again, it depends on what was spilled.  Consult the literature and plan ahead.  Again, consult with your research director, teacher or appropriate references before proceeding.

Research hoods are great places to have spills, and are much better than open lab benches or floors.  These hoods have working bench surfaces which are fringed with slightly raised beveled edges, serving as convenient wide-area containment trays.

There are as many ways to clean up spills as there are chemicals.  Consult the literature for your particular problem substances.  Remember that many chemicals react strongly and dangerously with water, and that paper towels soaked with certain chemicals can be very flammable and too hazardous to deposit in the trash cans.

SPECIFIC EMERGENCY CHEMICAL SPILL INFORMATION

FOR THE SPILL RESPONSE TEAM (SRT) AND GRADUATE STUDENTS

Call 4329 or 4255 for immediate response from the University Safety Response Team for large spills.  If the spill can be easily contained by you or your instructor or co-lab workers, obtain the CHEMICAL SPILL ABSORBENT MATERIAL of the 1:1:1 mixture of kitty liter, sand, and baking soda kept in the Hazardous Chemical Waste holding area in the Main Lab room # 118.

GO TO THIS ROOM BEFOREHAND AND NOTE THE LOCATION OF THIS MATERIAL FOR FUTURE REFERENCE.

[Hydrofluoric acid spills should be completely neutralized with 5 to 10% solutions of lime water (calcium hydroxide) along with covering the spill area with solid calcium hydroxide or Calcium carbonate.  DO NOT BREATHE FUMES OF HF!  Be extremely careful with Hydrofluoric acid.  Burns from this material are deeply penetrating and can be deadly, causing massive tissue damage.  Kitty-liter cannot be used as a spill absorbent for Hydrofluoric acid, since it will react to form Silicon tetrafluoride (SiF4), a toxic and corrosive gas.  Neither should you use sand, which will also react with it.  Currently, Hydrofluoric acid is only used in the NanoTechnology Center on Deacon Blvd. and in the Chemistry Department, Research Lab room # 117]

Safety Response Team

When the Safety Response Team (SRT) answers your call, among their questions will be the following: a)	Is your spill large enough to justify a special trip?  Are you in a position to clean up the spill yourself?  (Overreacting is not a good idea!)

b)	What is the location of the Research Director or teacher for your group?

c)	Can you communicate to us the means of chemically neutralizing your particular spill?  If not, are you willing to help anyway?  If you are willing to work with lab chemicals, you had better be willing to help clean up your own spills.  The SRT people have the right to leave if you are not willing to help.

In general, spills of over 5 gallons of non-corrosive organic solvents or over one gallon of corrosive organic solvents justify a response from the SRT.

Ruptures or leaks of the fifty-five gallon drum of common organic solvent waste in the Hazardous Chemical Waste holding area in the Main Lab room # 118 warrants a visit from the SRT.  The solvent can be absorbed with a 1:1:1 mixture of sand, kitty litter, and sodium bicarbonate.

Spills of aqueous inorganic salts don’t ordinarily require an SRT response, since they do not normally exhibit corrosive properties or fumes.  Mineral acids must be neutralized, however, and the more acidic they are, the more corrosive they are going to be.  They should first be diluted with water.  Then use the 1:1:1 mixture of sand, kitty litter, and sodium bicarbonate.

When the SRT arrives, they will be wearing respirators, thick gloves and boots, or possibly self-contained breathing apparatus (SCBA).  They will probably “dike” the spill, i.e., surround it with a small mound or dike of absorbent material.  Organic solvents will in general be absorbed with a 1:1:1 mixture of sand, kitty-litter, and sodium bicarbonate, as will aqueous mineral acids and corrosive organic acids.

If you cannot answer their questions about the particular chemical spilled, you should at least try to find someone who does, and you must participate in helping with spill containment.

The first thing the SRT will do is attempt to locate spill absorbing information for the particular chemical involved. If they cannot locate it in their copy of the CRC, Hazardous Laboratory Chemicals Disposal Guide, they may need your advice.  In the event that they can find it in the book, the relevant section in CRC for that particular chemical under its alphabetical chemical name listing is “spillage disposal”.

If spill response team members cannot readily identify a spilled chemical, they will employ the following method:

(a)	Dike the spill with 1:1:1 mixture of sand, kitty-litter, and sodium bicarbonate

(b)	Cautiously reach toward the spill and sprinkle above mixture onto surface of liquid.  If vigorous fuming and reaction occurs, back-off and reconsider the situation (you at least know that the solution is acidic).  Then sprinkle a little water on the spill.  Does water dissolve in the solvent?  If so, dilute it with more water and then dump enough 1:1:1 absorbent material on the spill to fully absorb it.  Let it dry awhile, then sweep it into a container for storage.  It is preferable to store it in a hood.  If water reacts violently with the solvent, carefully dump the absorbent material only (without diluting with water), over the pool solvent while attempting to keep as much distance between yourself and any fumes generated.  Use the 1:1:1 mixture of sand, kitty-litter, and sodium bicarbonate as a nearly universal absorbent.  If it does not work as well as it should, at least it will absorb the material until you can find the right way to neutralize the liquid.  Spread the mixture on the spill and carefully scoop it into one of your white polyethylene trays. Then put it in a nearby hood and keep it there until you find someone who can tell you how to neutralize it.

(c)	If you can’t find the name of the chemical in the CRC Waste Disposal Book, ask a nearby graduate student or professor to point out chemicals listed in the book which most closely resemble the chemical properties of the spilled chemicals.

## K. Provisions for medical exams, consultation & exposure assessments

Written by Julianne Braun, Chem. Dept. grad student, and M. Thompson, Lab Manager, Chem. Dept.

### 1.  A Guide to OSHA Air Concentration Acronyms

OSHA regulations require workers to be guarded against excessive exposure to chemical vapors when working in a lab.  If you are routinely exposed over the Permissible Exposure Level, you must request that the chemical vapor be monitored by the University appointed Industrial Hygienist.  Before you decide whether or not a particular exposure situation in your laboratory requires air-monitoring, you must have a clear conception of what OSHA means by a permissible exposure level.  They were derived from threshold limit values.

Threshold limit values (TLVs) are definite numerical chemical air-concentration safety limits determined by the American Council of Governmental and Industrial Hygienists (ACGIH, an advisory data review agency) and are expressed in 3 different ways.  They are quantitative limits to which lab workers may be exposed without adverse effects.  The TLVs may take the form of Time Weighted Averages (TWAs), Short-term Exposure Limits (STELs), or Ceiling Limits (CLs).  You may sometimes see these limits described in an incidental 4th way in MSDS sheets as NOEALs (No Observable Adverse Effect Levels).  TWAs are usually based on 8-hour time periods.  TWAs are not necessarily concentrations to which a person's exposure should not be exceeded at any point in time, but are really time weighted averages.  For example, if a TWA is given as 100 parts per million, it may be OK to be exposed to 200 ppm for 4 hours and to 0 ppm for the next four hours (time weighted exposure would then be 200 ppm x 4 hours + 0 ppm x 4 hours = 800 ppm divided by a total of 8 hours = 100 ppm).  STELs are similar to TWAs, but are based on exposure for only 15 minutes.  Ceiling Limits are levels which cannot be exceeded for any length of time, period.  They are assigned for chemicals which are reported to be acutely toxic.

"TWAs permit excursions above the TLV provided they are compensated by equivalent excursions below the TLV during the workday".

"For the vast majority of substances with a TWA, there is not enough toxicological data available to warrant a STEL.  Nevertheless, excursions above the TWA should be controlled even where the 8- hour TWA is within recommended limits".

"Excursions in worker exposure levels may exceed 3 times the TLV for no more than a total of 30 minutes during a workday, and under no circumstances should they exceed 5 times the TLV, provided that the TWA is not exceeded." (Threshold Limit Values for Chemical Substances and Physical Agents in the workroom environments, ACGIH, 1995).

When OSHA adopted the ACGIH threshold limit values (TLVs), confirming their validity by incorporating them into employee safety laws, they were subsequently referred to as permissible exposure levels (PELs).  These are the legal concentrations of hazardous chemicals the government permits employees to be exposed to for the associated length of time.  PELs include TWAs, STELs, and CLs.  In addition, OSHA defined "action levels" as TWAs.  There are many references in the relevant law in the code of Federal Regulations (29 CFR 1910. 1450 or "Laboratory Standard") to certain provisions for air-monitoring which go into effect when these values are exceeded in the lab.  One encounters descriptions of employee exposure over the "action level (or in the absence of an action level, the PEL)".  This essentially means that if a particular chemical hasn't been assigned a TWA, it is covered by one or the other type of PEL, namely a STEL or a CL.

“Many of the newer legal limits established by OSHA include an action level concept, typically 50% of the OSHA PEL, at which an employer is to take action to reduce the level or to ensure that the 8-hour time-weighted PEL is not exceeded.”  Furr, Keith A. CRC Handbook of Laboratory Safety, 4th Ed. Boca Raton, Fl:  CRC Press, 1995, p. 414

The PELs are listed in OSHA's so called "Subpart Z list", referenced as 29 CFR 1910.1000, Subpart Z, Toxic and Hazardous Substances.  Tables Z-1 through Z-3 are best seen at .  TWAs, or "action levels", are listed for each particular chemical.  In the absence of TWAs, CLs are listed.  Chemicals which have STELs are referenced as Substance Specific Standard chemicals, located in 29 CFR 1910. 1001-1050.

Units

Caution should be used in determining whether or not the various regulatory limits for air contaminants have been exceeded.  The majority of regulatory limits (as presented in the “Z” tables) are listed in two different sets of units:  ppm-volume and mg/m3.  The units are different, but the concentrations are the same!  From the ideal gas law, PV=nRT, it can be seen that at atmospheric pressure and room temperature the volume of a gas, V, will be proportional only to the number of moles of the gas, n.  Therefore when concentrations of an air contaminant are expressed as ppm(volume), what is being expressed is the volume of contaminant per million volumes of air which has nothing to do with the weight of the contaminant or the air.  When contaminant concentrations are expressed as mg/m3, the molecular weight of the contaminant is important.  To convert ppm(volume) to mg/m3, the following equation can be used.  Note that this equation is valid at 1 atmosphere pressure and 25 degrees Centigrade.  If you are measuring concentrations at high altitudes where pressure is lower or in rooms where the temperature is much warmer or cooler than 25 degrees, the number of liters of volume occupied by one mole of a gas may be recalculated from the ideal gas law.

Note that the million from the ppm(volume) cancels the 1000 L/m3 x 1000 mg/g so the equation can be simplified to

### 2.  Air Monitoring

OSHA requires two types of air monitoring when substances for which PELs have been adopted are in use.  The first type is "initial monitoring".  As indicated in 29CFR1910.1450(d)(1), the employer must "measure the employee's exposure to any substance regulated by a standard which requires monitoring if there is reason to believe that exposure levels for that substance routinely exceed the action level (or in the absence of an action level, the PEL)".  The key to this is whether or not a standard exists for that substance and whether or not there is reason to believe that exposure levels routinely exceed the standard.  Because of the way OSHA defines action level, it is appropriate to interpret TWA as "action level".  For instance, if you use something in a lab only once, there's no point in taking air samples to determine an exposure level because by the time you've analyzed the samples the exposure will have ended.  On the other hand, if you routinely perform a particular procedure involving a substance for which a PEL has been established, the concentration to which you are exposed during that procedure should be measured.

The second type of air monitoring is "periodic monitoring".  As indicated in 29CFR1910.1450(d),  the employer must "comply with exposure monitoring provisions of the relevant standard" if the initial monitoring discloses employee exposure over the action level (or in the absence of an action level, the PEL).  This essentially means that if initial monitoring shows that any of the concentration limits are exceeded, then the air concentration of that particular chemical should be measured periodically on a regular schedule.  The frequency of monitoring varies according to the specific substance being monitored and how often the procedure that results in exposure is used in the lab.

If and when air-monitoring in your laboratory becomes necessary according to the above criteria, inform Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director] or Michelle Adkins (WFU Director of Environmental Health and Safety) so that an Industrial Hygienist may be contracted to install air pumps and air sampling tubes.

Alternately, the NanoTechnology Center can purchase constant flow air sampler pumps (from SKC Company, model # 224-PCXR4) and Drager air sampling tubes from SKC or Fisher Scientific Company.  Please contact Mr. Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director], for specific details on training for air-monitoring devices.

Air-monitoring is critical if you cannot readily reduce the exposure.  You must take steps to ensure that you are working below the PEL, as soon as possible.  For starters, it is suggested that you either do all of your work in a hood or devise engineering controls mentioned elsewhere in this manual to reduce exposure.

### 3.  Medical Monitoring

There are 3 circumstances under which the employer must provide the opportunity for medical monitoring due to chemical exposure.  These are:

1.	When an employee develops signs or symptoms associated with a hazardous chemical to which the employee may have been exposed in the laboratory.

2.	When air monitoring reveals an exposure level routinely above the action level (or in the absence of an action level, the PEL) for a regulated substance and

3.	When an event takes place such as a spill, leak, explosion or other occurrence resulting in the likelihood of a hazardous exposure.

When there is an obvious need for treatment, medical monitoring is not applicable.  First aid emergency information is covered in the next section of this manual and in specific sections dealing with standard procedures for particular labs.  The medical monitoring requirement of the OSHA Lab Standard is designed to protect employees from long term exposure.

When and if lab personnel experience any of the above 3 types of chemical exposure, an exposure assessment must be conducted.  Fill out the appropriate section on the Accident Report Form, entitled "Exposure Assessment", which contains the following questions:

*  Which chemical, or chemicals, used by the lab worker resulted in the exposure?  If unknown, which chemicals in the immediate vicinity of the exposure might have been responsible?

*  Describe the lab work situation which led to the exposure.  How did physical contact with the chemical occur?

*  What safety devices, from hoods to safety glasses or gloves, etc., were or were not used during the exposure?

*  What signs or symptoms associated with chemical exposure were exhibited by the employee, such as skin rashes, unusually excessive allergies, breathing difficulties, corrosive injuries, etc.

The medical monitoring begins with a "consultation".  This entails filling out a 5 to 6 page long medical questionnaire (the questions are all included in the federal regulations as an appendix, and will be provided by the WFU Safety Director) which gets reviewed by a licensed physician who determines whether or not there is a need for a medical examination.  The physician must prepare a written opinion and the employee must be notified and allowed to obtain a copy of the opinion.  The opinion may call for examination and any appropriate medical tests which the employer must provide.  The written opinion (based on consultation and/or any follow-up examinations and tests) shall not reveal specific findings of diagnoses unrelated to occupational exposure.

### 4.  Information Regarding Student First Aid and Medical Insurance

Please note that the First Aid kit is located in room 115.  For minor emergencies (cuts, burns, minor eye and skin injuries, etc.) please call Student Health Services 24 hours a day during the regular semester at phone # 5218, but not at night during the summer sessions or during regular semester holiday periods.  During these periods, call Concentra Medical Center at 4410 Providence Lane, Suite I (off North Point Boulevard), phone # 896-9999.  Save 911 for more serious emergencies (breathing difficulties, deep lacerations, broken bones, injuries from fires, etc.) or medical emergencies that fall outside the range of operational hours with either Student Health Services or the Concentra Medical Center on North Point Boulevard.  Again, a phone for emergency use is located in each NanoTech Lab.

DO NOT WEAR CONTACT LENSES in laboratories with constant exposure to chemical vapors, especially organic solvent fumes.  In addition to trapping chemical vapors and concentrating them between the lenses and the eye and causing irritation, washing out your eyes is impossible.  It is better to wear prescription lenses for chemical lab work and cover them with Departmental “Wraparound’ Safety Glasses or full size goggles.

Coworkers band Professors who witness minor student accidents should assist insofar as they are able and then transport or otherwise accompany the individual to Student Health Services on the ground floor of the Reynolds Gymnasium.  More serious accidents may require transportation of the victim to Concentra Medical Center at 4410 Providence Lane, Suite I (off North Point Blvd., phone # 896-9999).    A NanoTechnology Center accident report form must be completed for all NanoTechnology Center accidents.  Forms are located in this manual.

All undergraduate students should have health insurance before enrolling for classes. The following information regarding student health insurance is provided by the University at: http://www.wfu.edu/administration/fas/ar/student_health_insurance.html

“Wake Forest University is concerned that all students have adequate health insurance coverage. For students not covered under a parent's health plan, we strongly suggest obtaining insurance coverage. A Student Injury and Sickness Plan is available through Student Resources. A summary of the coverage and benefits of this plan is available on their website at www.student-resources.net. Wake Forest does not offer or sponsor any plan of insurance, and this link is provided so that you might make an informed choice. Each student is urged to investigate available options and determine which health insurance company has a policy best suited to their particular needs.”  Contact Student Health Services (at phone # 5218) for any further questions you may have regarding student health insurance options.

All graduate students are required to have health insurance before enrolling in classes.  Information and enrollment forms are located at the Graduate School website: http://www2.wfubmc.edu/graduate/RChealth.html. Research students, either graduate or undergraduate, who are officially paid by the university and have accidents should take a copy of the completed Chemistry Department Accident Report form with them to the Human Resources Department in Reynolda Hall, room # 21, phone # 4945, where they will fill out yet another form, the “First Report of Incident” form, with Ms. Mimi Komos for insurance purposes.

Any research workers in the Department not formally enrolled and not being paid by the University (i.e., visiting Post-Doctorates, students from other schools, etc.) are not automatically covered by University insurance and are not eligible for worker’s compensation claims.  They are responsible for obtaining their own medical insurance.

### 5.  Worker’s Compensation Procedures and Reporting Information

(From Mimi Komos at komosmd@wfu.edu  or phone number 4945)

Evaluations of on-the-job injuries and occupational illnesses are to be referred to Concentra Medical Center, located at 4410 Providence Lane, off North Point Boulevard.  Concentra's hours of operation are Monday-Friday, 8:00 a.m. - 5:00 p.m.

For non-life threatening situations that require medical evaluation immediately, report the illness or injury to the supervisor, Workers' Compensation Coordinator (x4945) and the Safety and Environmental Affairs Office (x4224 or x4329) before seeking appropriate medical attention.  The Workers' Compensation Coordinator or the Safety and Environmental Affairs Office can be contacted for a referral appointment to Concentra Medical Center.

In the event of a serious, life threatening situation, dial 911 and the appropriate medical professionals will direct and/or transport patients to the Baptist Hospital Emergency Care Facility.  The Safety Response Team can be dispatched to the scene for immediate assistance, Monday-Friday, 8:00 a.m. - 4:30 p.m. by calling Facilities Management Customer Service at x4255.  In addition, when school is in session, the Student Response Team, under the direction of Dr. Cecil Price of Student Health Service, is available "after hours" and weekends by calling Campus Police at x5591.

If a non-life threatening incident occurs after normal work hours, PrimeCare Medical Center, located at 7811 North Point Boulevard, may be used as a back-up to Concentra.  PrimeCare is open:

8:00 a.m. - 8:00 p.m.  	Monday - Friday

8:00 a.m. - 6:00 p.m.   	Saturday

12:00 p.m. - 6:00 p.m.  	Sunday

A confidential First Report of Incident Report must be completed for all injuries or

illnesses as soon as possible and submitted to the Workers’ Compensation Coordinator (x4945).  Copies of this and other Human Resources forms are available http://www.wfu.edu/hr/forms/index.html

Claims inquiries are to be directed to Risk Management, Wake Forest University Baptist

Medical Center by calling the Claims Manager, at 716-5575.  If you have other questions or

concerns regarding Workers' Compensation, please contact Mimi Komos at komosmd@wfu.edu

or x4945.

Additional information on this and other policies can be found through the World Wide Web at: http://www.wfu.edu/hr/policies/index.html

### 6.  Accident and Chemical Exposure Assessment Report

NanoTechnology Center,

Wake Forest University

Name of person(s) involved in accident or injury ___________________________________________

undergraduate student___  graduate student___      Date and time of accident/injury_______________

Was the individual(s) a university paid research student?	yes____ no___

Was the individual(s) a faculty or university staff member?  	Yes___  no___

Where in Salem Hall did the accident occur? _____________________________________________

Was first aid administered?   Yes_____ no____       If yes, by whom? __________________________

How was first aid administered? ________________________________________________________

Describe the accident and what caused it __________________________________________________

___________________________________________________________________________________ ___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

____________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

List witnesses to the accident, if any ______________________________________________________

What can be done to prevent this type of accident from happening again? ________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

Chemical Exposure Assessment (if applicable)

*  Which chemical or chemicals used by the lab worker resulted in the exposure?  If unknown, which chemicals in the immediate vicinity of the exposure might have been responsible?

*  Describe the lab work situation which led to the exposure.  How did physical contact with the chemical occur?

*  What safety devices, from hood to safety glasses or gloves, etc., were or were not used during the exposure?

*  What signs or symptoms associated with chemical exposure were exhibited by the employee, such as skin rashes, unusually excessive allergies, breathing difficulties, corrosive injuries, etc.

WRITE ON BACK IF MORE SPACE NEEDED

Signature of  person injured or involved in accident ___________________________________________

Form completed by ________________________________________________

## L. Standard Operating Procedures (SOPs) for Working with Hazardous Chemicals

### 1.  Sources of Chemical Risk Assessment Information for SOPs

Several governmental entities regulate workplace chemical use.  Many list various categories and classes of dangerous chemicals which do not necessarily coincide with those of other agencies.  For example, the EPA’s list of “extremely hazardous chemicals” contains fewer chemicals than OSHA’s general description of extremely hazardous chemicals (“acutely toxic” hazardous chemicals), for which no official list exists.  Nevertheless, all institutions must have safeguards in place for working with both EPA and OSHA regulated extremely hazardous chemicals.  Carcinogens are regulated by several different agencies, none of whom agree entirely on a definitive all-inclusive listing.  What follows is a summary description of all regulations which apply to the NanoTechnology Center’s use of any chemical whatsoever.	All research and undergraduate teaching laboratories in NanoTechnology Center must provide students with standard operating procedures (SOPs) to be followed when laboratory work involves the use of hazardous chemicals.

"The Chemical Hygiene Plan (CHP) must include the necessary work practices, procedures and policies to ensure that employees are protected from all potentially hazardous chemicals in use in their work area.  Hazardous chemicals as defined by the final standard include not only chemicals regulated in 29 CFR part 1910, subpart Z, but also any chemical meeting the definition of hazardous chemical with respect to health hazards as defined in OSHA's Hazard Communication Standard, 29 CFR 1910.1200" [from Federal Register, Vol. 55, No. 21, page 3300].

"Hazardous Chemical means any chemical which is a physical hazard or a health hazard".

"Physical hazard means a chemical for which there is scientifically valid evidence that is a combustible liquid, a compressed gas, explosive, flammable, an organic peroxide, an oxidizer, pyrophoric, unstable (reactive) or water reactive".

"Health hazard means a chemical for which there is statistically significant evidence based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees." (29, CFR 1910. 1200, Hazard Communication Standard).

The OSHA Laboratory Standard, the final standard, (29 CFR 1910.1450), defines a hazardous substance as

". . .a chemical for which there is statistically significant evidence based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees.  The term health hazard includes chemicals which are carcinogens, toxic or highly toxic agents, reproductive toxins, irritants, corrosives, sensitizers, hepatotoxins nephrotoxins, neurotoxins, agents which act on the hematopoietic systems and agents which damage the lungs, skin, eyes, or mucous membranes."

As you can see, the law is rather insistent that you consider any and all aspects of a chemical’s hazardous properties in preparing a Standard Operating Procedure for working with it.  You should also notice that many of these laws overlap or use previous laws as the basis of newer ones.

In addition to consulting those chemicals listed as hazardous laboratory air contaminants in OSHA's subpart Z – list:

(again, see http://www.osha-slc.gov/OshStd_toc/OSHA_Std_toc_1910_SUBPART_Z.html), hazardous chemicals can generally be identified by reading the MSDS sheet for the particular chemical.  These MSDS sheets are located in the NanoTechnology Center Kitchenette.  This room is accessible 24 hours a day.  Health evaluation studies, epidemiological data, and toxicity assessments listed on these sheets clearly state whether or not a particular chemical is hazardous, based on the above definitions.

Two other special categories of hazardous chemicals are addressed in NanoTechnology Center's Chemical Hygiene Plan.  These are particularly hazardous chemicals and a list of about 30 chemicals for which OSHA has "Substance Specific Standards" (29 CFR 1910. 1001-1050).  They require more involved handling procedures and more elaborate means of containment, such as using "designated areas", i.e., special fume hoods and glove boxes, all of which are described specifically in a web link referenced in this manual.  “Substance Specific Standard” chemicals are usually carcinogens and can generally be handled the same way as one would handle carcinogens regarded as “particularly hazardous chemicals.”

Consult other sources of toxicity information kept in the Chemistry Department library, room 207, such as Lenga, Robert E. Sigma-Aldrich Library of Chemical Safety Data, 2nd edition.  Milwaukee, WI:  Sigma-Aldrich Corporation, 1988.  Read Chapter 3 of Prudent Practices, 2nd edition, pages 29-60.  In particular, follow the "Quick Guide to Risk Assessment for Hazardous Chemicals" information found on page 47.

A very good reference for toxic hazards for particular chemicals is kept in the Chemistry Department Library, room #207, for your reference:

Patnaik, Pradyot.  A Comprehensive Guide to the Hazardous Properties of Chemical 	Substances.  New York:  Van Nostrand Reinhold, 1992.

Consult the following book for hazards due to reactivity for particular chemicals, which is kept in the Chemistry Department Library for your reference:

Urben, P.G., ed.  Bretherick’s Handbook of Reactive Chemical Hazards, 4th edition.  	Oxford:  Butterworth-Heinemann Ltd., 1995.

Another good hazardous chemical reference is:

Lewis, Richard J., Sr.  Hazardous Chemicals Desk Reference, 3rd edition.  New York:  	Van Nostrand Reinhold, 1993.

See the Bowman Gray School of Medicine “Health Hazards of Some Common Chemicals” handout listed in the training section of this manual for a good summary of toxicity of broad classes of chemicals.

### 2.  Summary of Regulated Chemicals Covered By This CHP

1.	OSHA regulated air-contaminants list, as elaborated in the ventilation section of this manual.  This essentially regulates any and all chemicals which require air-monitoring when continually released over and above their threshold limit value (TLV) in your lab or work area as a result of poor work habits or improper ventilation.  The specific list of chemicals, referred to as OSHA Z-list substances, is found in:

http://www.osha-slc.gov/OshStd_toc/OSHA_Std_toc_1910_SUBPART_Z.html

2.	OSHA Particularly Hazardous Chemicals, described in this manual:

carcinogens

teratogens/mutagens

acutely toxic hazardous chemicals

Carcinogens and mutagens/teratogens will be listed in the web site of your chemical MSDS inventory (http://www.wfu.edu/physics/doc/DocsPolicies.html),

which includes chemicals used in all laboratories.  Acutely toxic hazardous chemicals are not defined clearly by OSHA and will here be meant to apply generally to all chemicals in the Departmental inventory with HMIS/NFPA toxicity ratings of  3 or 4 (See the HMIS/NFPA hazard rating descriptions in the Training Section of this manual).

- OSHA “Substance Specific Standard Chemicals”, most of which are carcinogens.  Again, if you have any of them in your lab, they will be identified in your laboratory MSDS inventory sheets as carcinogens.

http://www.osha-slc.gov/OshStd_toc/OSHA_Std_toc_1910_SUBPART_Z.html

- Chemicals which require prior approval before use by students within each lab in NanoTechnology Center.  The Lab Standard requires such a list to be generated by the NanoTechnology Center.  It is located in the chapter titled “Laboratory Operations which Require Prior Approval from NanoTechnology Center Instructors” in this manual.

- The list of OSHA P-listed extremely hazardous waste, which should be consulted to determine whether your lab generates chemical waste which is heavily regulated and should only be produced by you in limited quantities.  Also consult your research Professor for further determination of what constitutes extremely hazardous waste generated in your lab (access this list at http://www.epa.gov/docs/epacfr40/chapt-I.info/subch-I/40P0261.pdf, and go to Part 261.33)

- EPA’s list of “Extremely Hazardous Chemicals” which can be obtained by Scott Frazier [WFU Assistant Environmental Health and Safety (EHS) Director] or Michelle Adkins (WFU Director of Environmental Health and Safety).  You will not ordinarily need this list since it is primarily meant as a “Community Right-to-Know law” source of information.  This is a listing of what EPA regards as extremely hazardous and is reported only when amounts over and above a certain “reportable amount” are spilled by the institution.  Since we have only very small amounts, this should not be a problem.

http://www.epa.gov/docs/epacfr40/chapt-I.info/subch-J/40P0302.pdf

(go to Table 302.4)

### 3.  An Introduction to Standard Operating Procedure (SOPs)

A Standard Operating Procedure is a written statement clearly establishing the means by which you will maintain air concentrations of hazardous chemicals below the OSHA Permissible Exposure Level (PEL) for regulated chemicals in subpart Z, Substance Specific Standard chemicals, and particularly hazardous chemicals.  It must also include the means by which you will protect yourself against all other nonspecific hazardous chemicals, whether they are health hazards or physical hazards, as defined previously in this section.

Examples of SOPs would include procedures for using laboratory instruments or mechanical processes involving preparation of chemicals such as distillation of common laboratory solvents, repetitional separatory solvent extractions, unusually complicated chemical reactions, high-temperature oil bath heating techniques, use and handling of various classes of dangerous chemicals, use of rotary-evaporators, hazardous purification methods, etc., etc.  Be sure to include any relevant information concerning types of gloves, personal protection equipment, the use of hoods, etc.  Please note:  You may also compose SOPs for safe operations of any other Laboratory operation, whether it involves operation with chemicals or not (for example:  Laser safety, protections against electrical hazards, or Machine Shop mechanical safety around cutting tools, etc.)

The following Standard Operating Procedures (SOPs) are composed of generally applicable procedures for all labs in the NanoTechnology Center and also specific procedures meant for particular research labs only.  One hardcopy collection of this safety manual, which includes all departmental SOPs, whether in online and non-online form, will be kept in the NanoTechnology Center in a notebook near the MSDS sheets.  Research students or faculty members are encouraged to add new SOPs as needed to this section of your particular manual, either in the hardcopy in that room, or , preferably, in the online manual (see the NanoTechnology Center’s Lab Manager for details).

They can be written in any manner you wish, as long as the relevant safety information is effectively communicated to everyone.  You can prepare monolithic literary harangues, short terse summaries, specific references to monographs kept in your lab (such as the copy of Prudent Practices, which is located on the shelves with the MSDS sheets in ROOM 115), chemical or instrumental company MSDS sheets, or operating manuals, or simple concise statements.

### 4.  SOPs for all laboratories of the NanoTechnology Center

LASER SAFETY RULES

- INTRODUCTION

Purpose

To establish the policies and practices of the Wake Forest University, Department of Physics relating to the safe operation of laser equipment. The best authority for laser safety is the ANSI Z136.1 standard. This document is intended to be a more readable policy manual for the department. If you have questions or if you discover discrepancies with the ANSI Z136.1 standard, please contact Burak Ucer, Department of Physics, ucerkb@wfu.edu.

  - General

Laser radiation or light is coherent electromagnetic radiation characterized by one or more specific wavelength(s), the values of which are determined by the composition of the lasing medium. Laser radiation may be emitted in the visible portion of the electromagnetic spectrum, wavelengths of 0.4 µ m and 0.7 µ m, or in the invisible infrared and ultraviolet regions.

Laser radiation transmits energy which, when a laser beam strike matter, can be transmitted, absorbed, or reflected. If a material transmits a laser beam it is said to be transparent. If the beam is not transmitted the material is said to be opaque and the incident radiation is absorbed or reflected.

Absorbed laser energy appears in the target material as heat. (At certain, usually short, wavelengths photochemical reactions may also occur.) Absorption and transmission are functions of the chemical and physical characteristics of the target material and the wavelength of the incident radiation. At visible wavelengths laser radiation impinging on the eye is focused on the retina and , if sufficient energy is absorbed, can cause cell destruction. At longer and shorter wavelengths, such as the far infrared and the ultraviolet, radiation striking the eye is absorbed in the cornea and the lens rather than being focused on the retina. Although these structures are less easily damaged than the retina, excessive energy absorption can cause cell damage and impairment of vision.

Reflection is primarily a function of the physical character of the surface of the target material. A smooth polished surface is generally a good or specular reflector; a rough uneven surface usually is a poor reflector producing a diffuse reflection. A reflector such as a flat mirror changes the direction of an incident beam with little or no absorption. A curved mirror or surface will change the divergence angle of the impinging laser beam as well as its direction.

For a diffuse reflection, the reflected energy is scattered in all directions thereby reducing the energy or power density. Generally, diffusely reflecting surfaces are favored when designing a laser experiment since their use reduces the likelihood of a specular reflection and hence enhances the safety of the experiment.

A glossary of laser related terms are given in Appendix C.

- LASER CLASSIFICATIONS

To provide a basis for laser safety requirements, all lasers and laser systems in the United States are classified according to the ANSI Z136.1 standard and the Federal Laser Products Performance Standard. This laser classification is most often supplied by the manufacturer. The ANSI Z136.1 standard is enforced by the Occupational Safety and Health Administration (OSHA). The Laser Products Performance Standard is enforced by the Centers for Devices and Radiological Health (CDRH), a part of the Food and Drug Administration (FDA). The following section describes the classification for continuous-wave lasers. The same hazard levels also apply to pulsed lasers with pulse duration of less than 0.25 seconds but classification is more complex. See ANSI Z136.1 for details of the classification.

CLASS I LASERS: Class I lasers are low-powered and do not emit hazardous radiation under normal operating conditions because they are completely enclosed. Class I lasers are exempt from any control measures. Equipment, such as laser printers and laser disc players, are examples of this class.

CLASS II LASERS: Class II lasers emit accessible visible laser light with power levels less than 1 mW radiant power and are capable of creating eye damage through chronic exposure. The human eye blink reflex, which occurs within 0.25 seconds of exposure to the Class II laser beam, provides adequate protection. It is possible to overcome the blink response and stare into the Class II laser long enough to damage the eye. Class II lasers are exempt from any control measures. Equipment, such as some visible continuous wave Helium-Neon lasers and some laser pointers, are examples of Class II lasers.

CLASS IIa LASERS: Class IIa lasers are special purpose lasers that emit accessible visible laser light with power levels less than 1 mW radiant power and are not intended for viewing. This class of lasers causes injury when viewed directly for more than 1,000 seconds. Class IIa lasers are exempt from any control measures. Equipment, such as some bar code readers, are examples of Class IIa lasers.

CLASS IIIa LASERS: Class IIIa lasers are systems with power levels of 1 to 5 mW that normally would not produce a hazard if viewed for only momentary periods with the unaided eye. They pose severe eye hazards when viewed through optical instruments (e.g., microscopes, binoculars, or other collecting optics). Class IIIa lasers must be labeled. A warning label shall be placed on or near the laser in a conspicuous location and caution users to avoid staring into the beam or directing the beam toward the eye of individuals. Equipment, such as some visible continuous wave Helium-Neon lasers and some solid state laser pointers, are examples of Class IIIa lasers.

CLASS IIIb LASERS: Class IIIb lasers are systems with power levels of 5 mW to 500 mW for continuous wave lasers or less than 10 J/cm² for a 0.25 s pulsed laser. These lasers will produce an eye hazard if viewed directly. This includes intrabeam viewing or specular reflections. Higher power lasers in this class will also produce hazardous diffuse reflections. Specific control measures covered in Class IIIb lasers shall be used in areas where entry by unauthorized personnel can be controlled. Entry into the area by personnel untrained in laser safety may be permitted by the laser operator if instructed in applicable safety requirements prior to entry and provided with required protective eye wear.

CLASS IV LASERS: Class IV lasers are systems with power levels greater than 500 mW for continuous wave lasers or greater than 10 J/cm² for a 0.25 s pulsed laser. These lasers will produce eye, skin and fire hazards. This includes intrabeam viewing, specular reflections or diffuse reflections.

EMBEDDED LASERS: Embedded lasers are found in laser products with lower class ratings. Laser printers, CD players, and laser welders may have Class III or Class IV lasers in their protective and interlocked housings. When such a laser system is used as intended, the lower laser class applies. When such a system is opened (e.g., for service or alignment) and the embedded laser beam is accessible, the requirements for the higher class of the embedded laser must be implemented.

- HAZARDS

  - Beam Hazards

The nature of laser beam damage and the threshold levels at which each type of injury may occur depends on the laser beam parameters. These include wavelength of light, energy of the beam, divergence and exposure duration. For pulsed lasers, parameters also include the pulse length, pulse repetition frequency and pulse train characteristics. The ANSI Z136.1 standard establishes Maximum Permissible Exposure (MPE) limits for laser radiation. Damage can occur to the skin, retina, lens, cornea, and conjunctive tissue surrounding the eye. For lasers over 0.5 W, the beam can ignite flammable materials and initiate a fire. Thermal burn, acoustic damage, and photochemical damage to the retina may occur from laser light in the near ultraviolet (UV), visible and near infrared (IR) regions (below 400 nm - 1400 nm). Damage occurs as the laser light enters the eye and is focused on the retina (see Fig. 1). Normal focusing of the eye amplifies the irradiance by approximately 100,000; thus, a beam of 1 mW/cm² results in an exposure of 100 W/cm² to the retina. Energy from the laser beam is absorbed by tissue in the form of heat, which can cause localized intense heating of sensitive tissues. The most likely effect of excess exposure to the retina is thermal burn that destroys retinal tissue. Since retinal tissue does not regenerate, the damage is permanent, which may result in the loss of sight in the damaged area.

Figure 1: Damage to retina due to laser exposure

Intrabeam viewing of the direct beam and the specularly reflected beam are most hazardous when the secondary reflector is a flat and polished surface. Secondary reflections from rough uneven surfaces are usually less hazardous. Extended source viewing of normally diffuse reflections are not normally hazardous except for very high power lasers (Class IV lasers). Extra care should be taken with IR lasers since diffuse reflectors in the visible spectrum may reflect IR radiation differently and produce greater exposures than anticipated.

  - Electrical Hazards

Most laser power supplies use high voltage and/or current. Precautions should be designed to prevent electrocution.

  - Fire Hazards

Electrical components, gases, fumes and dyes can constitute a fire hazard; use of flammables should be avoided, and flame resistant enclosures can be used.

  - Chemical Hazards

- Compressed gases - care should be taken with tanks of compressed gas.

- Fumes from lasing of target material - industrial hygiene considerations should be addressed to determine adequate ventilation.

- Laser dyes or solvents may be toxic or carcinogenic and should be handled appropriately and stored in chemically safe enclosures.

- SAFETY REQUIREMENTS

The following are requirements ANSI recommended practices for safe laser use. Some additional measures may be required for specific laser classes and lasers that emit invisible radiation. See ANSI Z136.1 for more details.

  - Engineering Controls

- A laser should be isolated from areas where the uninformed and curious would be attracted by its operation. This is especially required for Class IIIb and Class IV lasers.

- Doors should be closed or locked to keep out unqualified personnel.

- The illumination in the area should be as bright as practicable in order to constrict the eye pupils of users.

- The laser should be set up so that the beam path is above or below normal eye level (below 4.5 ft or above 6.5 ft.).

- Where practical, the laser system or beam should be enclosed to prevent accidental exposure to the beam.

- The potential for specular reflections should be minimized by shields and by removal of all unnecessary shiny surfaces.

- Windows to hallways or other outside areas should be provided with adequate shades or covers.

- The main beams and reflected beams should be terminated or dumped. This is required for any accessible laser for which the MPE limit could be exceeded.

- Electrical installation must meet electrical safety standards. The active laser never should be left unattended unless it is a part of the controlled environment.

- Good housekeeping should be practiced to ensure that no specular reflector is left near the beam.

- Warning devices should be installed for lasers with invisible beams to warn of operation.

- All Class IIIb and Class IV lasers must be equipped with the Center for Devices and Radiological Health (CDRH) mandated engineered safety features that follow. These include:

  - Protective housing interlock systems that prevent emission of laser radiation when the housing is open.

  - Viewing portals in the protective housing must be equipped with filters and attenuators that keep escaping light below the MPE limit.

  - Optical instruments for viewing the laser system must be equipped with filters and attenuators and interlocks to keep exposure below the MPE limit for all conditions of operation and maintenance.

  - Class IV lasers must also be equipped with a removable master key switch. The laser must not be operable when the key is removed. The lasers must be equipped with electrical connections that allow the laser to be controlled by an area interlock system and remote shut-off devices. When the terminals are open-circuited, the laser must not emit any radiation in excess of the MPE. Class IV laser systems must be equipped with an integral and permanently attached beam stop or attenuator capable of preventing the emission of laser light in excess of the MPE limit when the beam is not required.

  - Administrative Controls

- Each Class IIIb and Class IV laser should be registered with the appropriate university safety office or department officer.

- Each Class IIIb and Class IV laser must be assigned to a Principal Investigator who is responsible for safe storage and use of that laser.

- All laser operators must complete training requirements for the laser they operate. See section 5 for details.

- Class IIIa, Class IIIb, and Class IV shall carry a warning label containing the laser classification, type, and other warnings required by ANSI Z136.1 or assigned an equivalent level by the builder. These requirements also apply to homemade lasers. See Appendix A for details.

- Optical instruments for viewing the laser system must be equipped with filters and attenuators and interlocks to keep exposure below the MPE limit for all conditions of operation and maintenance.

- All lasers must operate according to the applicable ANSI Z136.1 safety standards and in a manner consistent with safe laser practices. These practices should be in written Laser Safety Standard Operating Procedures (SOPs) for Class IIIb and Class IV lasers.

- Proper eye and skin protection must be provided when working with Class IIIb or Class IV lasers. See Appendix B for details.

  - Safety Practices for Operators

- Use proper eye protection when working with a Class IIIb or Class IV laser. Remember, safety glasses provide no protection unless they are worn. Safety glass lenses may shatter or melt when the lens specifications are exceeded. Scratched or pitted lenses may afford no protection. Eye protection is specific for the type of laser and may not protect at different frequencies or powers.

- Avoid looking into the primary beam at all times.

- Do not aim the laser with the eye; direct reflections could cause retinal damage.

- Avoid looking at the pump source.

- Clear all personnel from the anticipated path of the beam.

- Before operating the laser, warn all personnel and visitors of the potential hazard, and ensure all safety measures are satisfied.

- Be very cautious around lasers that operate at frequencies not visible to the human eye.

- Do not wear bright, reflective jewelry or other objects.

- EDUCATION AND TRAINING

In addition to the regular safety training for faculty and staff, all new students (graduate and undergraduate) and new faculty and staff that will have direct contact with lasers should undergo a laser safety training session. This training session should include a review of this manual and information on emergency situations. In addition, all operators should undergo training for the specific types of lasers that they will use that will include specific precautions and a thorough review of that laser's operating manual.

APPENDIX

- Warning Signs and Labels

The signal word "Caution" should be used with all signs and labels associated with Class II and all Class IIIa lasers that do not exceed the appropriate MPE for irradiance (see Fig. 2).

The signal word "Danger" should be used with all signs and labels associated with all other Class IIIa, all Class IIIb, and all Class IV lasers (see Fig. 3).

At position 1, above the tail of the sunburst, special precautionary instructions or protective actions required by the reader such as:

For Class II and Class IIIa lasers and laser systems where the accessible irradiance does not exceed the appropriate MPE limit based upon 0.25 second exposure: "Laser Radiation - Do Not Stare into Beam or View with Optical Instruments."

For all other Class IIIa lasers and laser systems: "Laser Radiation - Avoid Direct Eye Exposure."

For all Class IIIb lasers and laser systems: "Laser Radiation - Avoid Direct Eye Exposure."

For Class IV lasers or laser systems: "Laser Radiation - Avoid Eye or Skin Exposure to Direct or Scattered Radiation."

At position 1, above the tail of the sunburst, special precautionary instructions or protective action such as: Invisible Laser Radiation; Knock Before Entering; Do Not Enter when Light is On; Restricted Area; etc.

At position 2, below the tail of the sunburst, type of laser (Ruby, Helium-Neon, etc.) or the emitted wavelength, pulse duration (if appropriate), and maximum output.

At position 3, the class of the laser or laser system.

Figure 2: Sample warning sign for Class II and certain Class III lasers

Figure 3: Sample warning sign for certain Class IIIa and for Class IIIb and Class IV lasers

- Personal Protection

  - Eye Protection

When all practicable engineering and administrative controls have been applied there are sometimes still occasions when it is necessary to work close to a Class IIIb or Class IV laser. On these occasions it is necessary to use personal protective equipment (PPE) for eye and skin protection.

Eye protection suitable to the laser must be provided and worn within the laser control area if there is a potential for exceeding the MPE limit if the beam is viewed. Protective eye wear may include goggles, face shields, spectacles or prescription eye wear using special filter materials or reflective coatings. Exceptions may be approved in the written SOPs if the eye wear produces a greater hazard than when eye protection is not worn.

No single type of eye wear will provide protection against all wavelengths of laser radiation; therefore, eye protection should:

  - Provide enough visibility to move about safely.

  - Be able to withstand the maximum power of laser radiation likely to be encountered.

  - Be able to absorb the specific wavelength of radiation that is being used.

  - Be clearly labeled with wavelength they are designed for, the optical density at that wavelength, together with the maximum power rating.

  - Be inspected periodically by the laser operator to ensure that pitting, cracking and other damage will not endanger the wearer.

  - Lasers which can be tuned through a range of wavelengths present special problems. Broad band laser goggles may provide the level of protection required but they must be chosen with great care.

Because the various wavelengths of laser radiation require different eye wear, more than one type of laser should not be run simultaneously in the same laboratory unless they are under the control of the same person. The only eye protection present in the laboratory will be that suitable for the laser in use. All other types will be removed.

  - Skin Protection

Clothing such as gloves and covers for the forearms may be required to protect the skin if laser intensity and wavelength warrant such protection. This is most important if the laser is running in the ultra-violet. Very large peak powers with pulsed ultra-violet laser may be particularly dangerous. This equipment must be addressed in the written SOP.

- Definitions

Absorption: The process by which radiation imparts some or all of its energy to any material through which it passes. Attenuation: The decrease in the radiant flux as it passes through an absorbing or scattering medium. Beam: A collection of rays which may be parallel, divergent, or convergent. Beam Diameter: The distance between diametrically opposed points in that cross section of a beam where the power per unit area is frac1e times that of the peak power per unit area. Beam Divergence: The full angle of the beam spread between diametrically opposed 1/e-irradience points; usually measured in milliradians (one milliradian = 3.4 minutes of arc). Controlled Area: An area where the occupancy and activity of those within is subject to control and supervision for the purpose of protection from radiation hazards. Cornea: The transparent outer coat of the human eye which covers the iris and the crystalline lens. It is the main refracting element of the eye. Diffuse Reflection: Change of the spatial distribution of a beam of radiation when it is reflected in many directions by a surface or by a medium. Extended Source: An extended source of radiation can be resolved by the eye into a geometrical image, in contrast to a point source of radiation, which cannot be resolved into a geometrical image. Infrared Radiation: Electromagnetic radiation with wavelengths which lie within the range 0.7 µ m to 1 mm. Intrabeam Viewing: The viewing condition whereby the eye is exposed to all or part of a laser beam. Laser: A device which produces an intense, coherent, directional beam of light by simulating electronic or molecular transitions to lower energy levels. An acronym for Light Amplification by Simulated Emission of Radiation. Pulsed Laser: A laser which delivers its energy in the form of a single pulse or train of pulses. The duration of a pulse is considered to be 0.25s. Pupil: The variable aperture in the iris through which light travels toward the interior regions of the eye. Q-switched Laser: A laser which emits short (about 30ns), high-power pulses by utilizing a Q-switch (i.e., optically detuning the laser cavity). Retina: That sensory membrane which receives the incident image formed by the cornea and lens of the human eye. The retina lines the inside portion of the eye. Specular Reflection: A mirror like reflection. Ultraviolet Radiation: Electromagnetic radiation with wavelengths shorter than those for visible radiation. For the purpose of this standard, 0.2-0.4 µ m. Visible Radiation (light): Electromagnetic radiation which can be detected by the human eye. It is commonly used to describe wavelengths which lie in the range between 0.4 µ m and 0.7 µ m.

REFERENCES

Laser safety standards:

American National Standards Institute, Inc., American National Standard for the Safe Use of Lasers, Z136.l.

Web Sites

Some web sites offer detailed information on laser safety issues.

- University of Illinois at Urbana-Champaign laser safety web site:

http://www.ehs.uiuc.edu/~rad/laser/tutorial.html

- Iowa State University laser safety web site:

http://www.ehs.iastate.edu/publications/manuals/lasers.htm

- Laser Institute of America laser safety bulletin:

http://www.laserinstitute.org/safety_bulletin/lsib/index.htm

Compressed Gas Cylinders

Gas cylinders in the NanoTechnology Center are generally received and stored in the Dockyard area.  Empty cylinders are also kept here.  Please be certain that full cylinders are well distinguished from empty cylinders to be removed each time a new shipment arrives (no cylinder should be completely emptied - see rules below).

LEAKING COMPRESSED GAS CYLINDERS OR NATURAL GAS JETS IN LABORATORIES.  If a large compressed gas cylinder or lecture bottle in your lab begins to leak, decide first of all whether it is a harmful gas or an inert one.  Unless it is too dangerous to breathe, attempt to stop the leak before taking it to the loading dock area and calling security.  If the leak occurs around the stem of a large cylinder, carefully load it onto a cylinder cart and take it to the loading dock.  Call National Welders, Inc., Winston-Salem (744-0100) for immediate advice and cylinder removal.  It might be wise to leave the cylinder on the cart outside the Dockyard doors.  The Winston-Salem office of National Welders will call their Charlotte Safety Division (headed by Randy Miller, 704-644-7513, or Ken Boyte, 704-644-3266) for especially difficult compressed gas cylinder leaks.  If natural gas odor permeates your lab room from a gas jet leak which you cannot stop, try to open windows before calling security and leaving the room.  Such leaks are an especially hazardous source of fire.

Follow these rules when using compressed gas cylinders:

*  Identifying labels should be kept in place on cylinders.  Missing labels on old lecture bottles spell trouble - get with your research advisor or the lab manager, find out definitely what the gas is by one means or another and label it!  Keep lecture bottles in ventilated lower hood cabinets when not in use.

*  Store flammable gases like hydrogen away from oxidizers and corrosives, like oxygen and hydrogen chloride gas or ammonia.

*  Do not use inappropriate hose material as dispensing tubes from gas cylinder regulators.  Corrosive gases may destroy rubber or latex tubing.  Tygon tubing should perhaps be used instead, or copper or stainless steel, or some other non-corroding material.

*  When cylinders are no longer in use, take off their regulators, cap them with valve caps, and take them back to the Dockyard holding area.  It is your responsibility to make certain empty cylinders are clearly distinguished from full cylinders.  Do not allow unused cylinders to accumulate in your laboratory.

Corroded cylinder valve stems, gas line fittings, or regulators are a source of danger and should be exchanged for better quality equipment.

*  Handle gas cylinders with extreme care.  They are, of course, under a great deal of pressure and would transform themselves into fairly powerful missiles if the valve stem on top were to be sheared off.  This could conceivably happen if they were dropped, especially if the valve-stem falls against something on the way down.  This will only be prevented if you endeavor to keep the valve cap on when moving the cylinder.

* Take the regulator off the cylinder before you even consider taking the cylinder somewhere else.  Move the cylinder on one of the two-wheeled chain cylinder dollies located in the Dockyard area.  Chain the cylinder and push the cart slowly.  Never, never move a cylinder without a threaded valve cap cover attached.

*  Never leave cylinders unstrapped in the lab.  Secure them against a wall or a lab bench.

*  Keep track of where you store cylinder caps for cylinders being presently used.

*  Do not grease or oil the regulator thread of a cylinder valve.  Oil on a gas cylinder thread will soon be under very high pressure.  If the gas reacts at all with organic material, this could lead to an explosion.  This is especially true for Oxygen gas cylinders.  Teflon tape can be used on the outlet side of the regulator, but not on the primary fitting connection between the regulator and the cylinder.

*  Never use a cylinder without an attached regulator.

*  Add flashback arresters to oxygen and hydrogen cylinders when used for torches for glassblowing or glass working.  Flashback occurs when flames actually traverse through the gas line back to the cylinder outlet.

*   Do not completely empty a cylinder before returning it to the Dockyard area.  Slight positive pressure (between say 5 and 15 psi) will keep atmospheric oxygen from contaminating the cylinder contents, so that the cylinder can be safely refilled by the gas cylinder supplier.

*  Do not over-tighten a hand-valve on a gas cylinder.  If hand tightening will not completely close the valve, call the gas cylinder company for removal after taking it at once to the loading dock.

*  Do not over-tighten the hand-valve on the liquid nitrogen tanks in the Main Lab room 118 when you are through dispensing liquid nitrogen.  The pipe wrench nearby is for opening frozen valves, not for closing the valve.  The slightest extra pressure on the valve when closing may damage it.  Over-tightening the valve will crush the Teflon seals inside the valve and when this happens, the valve has to be rebuilt.

We have placed a pipe wrench near the liquid nitrogen tanks (in the toolbox) for use in loosening frozen valves, when opening them.  Some people are using the wrench for closing the valve afterward, which naturally makes it harder for the next person to open it again.  PLEASE DON’T OVER-TIGHTEN THE VALVE WHEN CLOSING IT, or we will remove the wrench.  There is no need for anything other than hand-tightening to shut off the valve.  Occasionally, this hand valve may freeze in the open position, while you are dispensing liquid nitrogen.  This happens especially when you turn it wide open and take a great deal of liquid from the tank.  Water vapor in the air, especially on a rainy day, will actually freeze in the valve and make it hard to close.  In this case, it may be justifiable to use the pipe wrench to just “crack” or “break” the frozen hand valve, without tightening it shut, and then closing it the rest of the way with your hand (in an absolute emergency, you could even pour hot water over the hand valve to thaw it).

The simplest thing to do, while wearing thick insulation gloves, is to gently turn the valve back and forth when you open it up all the way on - that way, it can’t freeze.

Sometimes, the safety valve (connected to the pressure gauge, on the opposite side of the tank from the dispensing hand-valve) begins releasing high-pressure vapor, with a hissing sound. The safety valve opens when too much pressure builds up above the layer of liquid gas inside the tank.  This happens usually just after the tank has been delivered since the temperature outside is a lot higher than inside the building and movement of the tank during transportation has caused buildup of pressure from rapid evaporation.  When the pressure in the tank goes above 22 pounds per square inch (psi), the safety valve automatically opens.

Sometimes this valve will frost over and freeze, again because of water moisture in the air freezing upon contact with liquid nitrogen.  When this happens, open the vent valve (the hand valve connected to the safety valve with the pressure gauge attached) and bleed off a little pressure until the gauge reads about 18 psi, at which point the emergency venting from the safety valve will stop.  Alternately, you could actually pour hot water over the safety valve and thaw it.  National Welders personnel occasionally do this.

Summary of Liquid N2 Instructions

1.  Wear thick gloves (kept near to the Liquid nitrogen tank) or mittens to hold metallic Delivery Hose and open dispensing Hand Valve.  Alternatively, get a couple of thick cotton towels.

2.  The pipe wrench is for opening a frozen liquid-nitrogen cylinder hand valve, not closing it.  When closing the valve, hand-tighten it only!

3.  If the valve freezes open while you are dispensing liquid nitrogen, use the pipe wrench to just “crack” or loosen the hand valve and then close it by hand only. Alternately, find a bucket and pour  a little hot water on the valve to thaw the frozen seal.

4.  If there is too much pressure in a full tank just after the trucks deliver it to the loading dock, excess nitrogen gas will automatically escape through the safety valve.  If too much goes through, that valve may freeze.  Open the adjacent vent valve and vent until the pressure gauge reads 18 psi.  If both valves freeze shut while open, pour hot water over them.

Safe Installation and Use of Gas Cylinder Regulators

Specific gases require specific regulators.  Otherwise, gases incompatible with the metal of a particular regulator may corrode it or even rupture the seals and diaphragms within the regulator.  Industrial standards are in place which generally prevent improper connections between cylinders containing particular gases and a multitude of regulators commercially available (e.g. different thread sizes, clockwise or counterclockwise thread, or other special connector fitting requirements).  However, you should still be diligent in choosing the proper regulator.  Consult the gas cylinder company catalog and your research director for advice.

Follow these steps for setting up a regulator attachment (from “Operating Instructions for General Purpose and High Purity Regulators”, Form #0056-0901, 2/83, Victor Equipment Company).

"Important Safety and Operating Instructions

For General Purpose and High Purity Regulators

“Do not use this regulator with gases other than those for which it is intended.

“Do not attempt to operate this regulator unless you have been trained in its proper use or are under competent supervision.  Do not use this apparatus unless you are familiar with the hazards associated with the gas you are using.

“Oxygen is not flammable; however, the presence of pure oxygen will drastically increase the speed and force with which burning takes place.  Oxygen must never be allowed to contact oil, grease or other petroleum-based substances; therefore, use no oil or grease on regulator, cylinder, valves or equipment.  Do not use or store near excessive heat (over 125 degrees F or 51.5 degrees C) or open flame.

Setting Up Equipment

- “Secure cylinder to wall, stand or cart so it will not tip over or fall.

- Remove the protective dust seal from the cylinder valve.

- Inspect the cylinder valve for traces of dirt, dust, oil or grease.  Remove dirt and dust with a clean cloth.  NOTE:  If oil or grease is detected, DO NOT use cylinder.  (See warning note above.)  Inform your gas supplier of this condition immediately.

- Inspect the regulator for damaged threads, dirt, dust, oil or grease.  Remove dirt or dust with a clean cloth.  NOTE:  If oil or grease is detected or if threads are damaged, DO NOT use the regulator.  Have your distributor or an authorized repair station clean the regulator and/or repair the damage before using.

Installing the Regulator

- Make sure the regulator has the proper CGA inlet fitting to fit the cylinder valve.  If the connection is so equipped, make sure the flat sealing washer is in place between the regulator and the cylinder valve outlet.  Attach the regulator to the cylinder valve outlet.  The treads may be either right hand or left hand depending on the cylinder and regulator connections.  Regulator inlet connections with left hand threads have a “V” notch machined into the hexagonal nut fitting to signify a left hand thread.

- Tighten the regulator inlet nut securely.

- Make proper connection to outlet of regulator valve or fitting.

- Before opening the cylinder valve, release the tension on the regulator adjusting spring by turning the adjusting knob in a counterclockwise (decreasing gas flow) direction.

Turning on the Cylinder

- Be sure that tension on regulator adjusting spring is released.  After all pressure has been drained, release all tension on the pressure adjusting knob by turning it counterclockwise (decreasing) until the knob turns freely.  Stand so the cylinder valve is between you and the regulator.  NOTE:  Never stand in front or in back of a regulator when opening the cylinder valve.  Slowly turn the valve handle in a counterclockwise direction until you hear the gas begin to flow into the regulator.  Wait about 10 seconds, then turn the cylinder valve fully open.

- To check for leaks, close the cylinder valve and observe the high pressure gauge for five minutes.  If the high pressure gauge reading drops, there is a leak in the cylinder valve, inlet fitting, high pressure gauge, or regulator seat.  If the high pressure gauge does drop, retighten the regulator-to-cylinder connection and

repeat Step 1.  Should the high pressure gauge continue to drop after retightening the regulator-to-cylinder connection, the regulator must be removed and returned for service.

“Never attempt to tighten a cylinder valve or any parts of the valve.  If the cylinder valve is leaking, place the cylinder outdoors and notify the cylinder supplier immediately.

- Keep the cylinder valve closed at all times, except when the regulator is in use.

Adjusting Regulator

Delivery Pressure and Flow

- After the regulator has been securely attached to the cylinder and no leaks exist (see previous sections), adjust the delivery pressure to the desired pressure setting by turning the adjusting knob in a clockwise (increasing) direction until the desired pressure is reached.

- If the regulator is equipped with an outlet valve (or needle valve), flow can be regulated by proper adjustment of the valve.

Turning Off Cylinder Valve

“When you have finished using the regulator, close the cylinder by turning the handle in a clockwise direction and allow all pressure to drain from the regulator.  Gas will cease to flow and the pointers on both pressure gauges will indicate “0” when all pressure has been drained from the regulator.  After all pressure has been drained, release all tension on the pressure adjusting knob by turning it counterclockwise (decreasing) until the knob turns freely.  Turn the outlet valve, if so equipped, in a clockwise direction to turn off valve.

Removing Regulator

- “It is not necessary to remove the regulator unless the cylinder is being moved or an empty cylinder is being exchanged for a full one.

- NEVER attempt to remove the regulator if any pressure is showing on either pressure gauge.  Turn the cylinder valve handle clockwise and allow all pressure to drain from regulator.  Gas will cease to flow and the pointers on both pressure gauges will indicate “0” when all pressure has been drained from the regulator.  After all pressure has been drained, release the tension on the pressure adjusting knob by turning it counterclockwise (decreasing) until the knob turns freely.

- Remove the regulator from the cylinder and replace the protective cap on the cylinder.”

Information on Aldrich regulators can be obtained at:

https://www.sigma-aldrich.com/aldrich/bulletin/al_techbull_al151.pdf

Again, remember that specific regulators are made for each gas used in the lab, and that some regulator inlet CGA fittings employ left-handed thread rather than right-handed thread.  You will see a "V" notch on the outlet nut fitting for left-handed thread.

If the thread is right-handed, the hexagonal outlet nut fitting will not be so notched, and you can remove the regulator using a wrench by loosening the fitting in a normal counterclockwise direction (meaning toward the left as one faces the outlet), or as one anonymous graduate student put it, "Rightie tightie, lefty, loosie".

DO NOT OVERTIGHTEN regulator fittings while installing them onto the tanks.  This may damage the thread.  Slightly more than a good hand-tightening is really all they need.  The “ball and socket” fitting is constructed so as to compress and automatically seal when the tank valve is opened so that the gas pressure actually tightens the seal, since the metal surfaces at the point of contact are made of malleable brass or chrome-plated brass.  Even if you did not tighten it enough, nothing worse than a loud hiss of escaping gas would occur - after all, you would not expect the regulator to dislodge itself, like an unwinding propeller, would you?  Most people overtighten regulators, making removal difficult and dangerous.  Pounding on a wrench handle to remove regulators is unwise.

Again, in reference to the “ball and socket” joint connection between the regulator inlet shaft and the cylinder outlet stem - After the male-threaded regulator and female-threaded cylinder fittings are connected, this is the airtight seal between the two pieces of equipment.  This is the area which requires the most cleaning.  Sometimes microscratches develop in the “ball and socket” area, resulting in slow gas leaks.  Test for leaks anywhere by squirting soapy water (such as “Snoop” brand name solution) onto the fitting.  If a steady stream of bubbles appears, loosen the fitting, tilt the angle of the regulator slightly, and retighten.  The leak would not happen unless scratches from both surfaces coincide – changing the angle of metal-to-metal contact lessens the probability of matching microscratches.

Teflon tape used on the attachment fitting between regulator and cylinder does nothing to improve the seal between the surfaces of the “ball and socket” joint.  Hence, tape should be avoided, except for gas line fittings which employ thread only, such as regulator outlets, or needle valves on the outlet side of the regulator, or gas line connectors further down the gas line, away from the regulator and cylinder.  Likewise, teflon tape can be used to tighten pipe (NPT) thread fittings in gas lines, since these tapered thread fittings are constructed so as to seal at the threaded metal surfaces.  Swagelok fittings seal when the front and back ferrules within the fitting press against each other – which cannot happen if they are separated by teflon tape.  DO NOT use teflon tape on Swagelok fittings.

The Lab Manager of the Chemistry department hhas a useful book entitled “Swagelok Tube Fitter’s Manual” which you are welcome to consult whenever you wish.  The following web site list very good directions for working with swagelok fittings:  http://www.swagelok.com/ and click on “Products”, “Catalogs”, “Fittings-Tube”, “Connects tubing to tubing”, and, finally, any one of the remaining options, such as “Reducing Union Tees”, and on to “Assembly/Installation” PDF files, such as those for adapters/ reducers “for one-and-a-quarter inch & 25 mm and larger”sizes.

See also the following helpful procedures if your lab has need of them:

"Lightup and shut down procedure for oxygen fuel torch," National Welders Supply Company, Inc., PO Box 31007, Charlotte, NC 28231, phone # 1-800-866-4422.  [located in the stockroom hardcopy of the CHP, room # 110]

"Atomic Absorption Acetylene:  Recommendation for Use," National Welders Supply Company, Inc., PO Box 31007, Charlotte, NC 28231, phone # 1-800-866-4422, Company memo from Gary Stiles to district managers. [located in the stockroom hardcopy of the CHP, room # 110]

"Technical Information Bulletin #AL-167, Instructions for Using the Calibration-Gas Cylinder," Aldrich Chemical Company, 1001 West Saint Paul Ave., Milwaukee, Wisconsin 53233, phone # 1-800-558-9160. [located in the stockroom hardcopy of the CHP, room # 110]

Detection and Removal of Organic Peroxides

When working with a great variety of organic chemicals in research laboratories, you may encounter bottles of older organic ethers or other organic liquids which are capable of autooxidation and subsequent formation of explosive peroxides, especially those which have undergone extensive exposure to air.  These are one of the worst dangers you may face in such laboratories.

You should be aware of which chemicals can conceivably form peroxides, how to chemically test for the presence of peroxides, and how to destroy the peroxides within the organic liquid (if the content of peroxides is not too high) so that you may still make use of the liquid compound.

Please read sections concerning peroxides, pages 54-56, pages 99-101, and 162-163 of Prudent Practices, 2nd Edition for specific information concerning the above points.

In particular, it shall be standard procedure for graduate students working in research laboratories to search through their labs once a year for all chemicals in table 3.13 on page 56 of Prudent Practices, 2nd Edition, and consult with their research advisors as to the condition and age of containers of such chemicals and decide whether they should be tested for peroxide content via the methods listed on page 100 of Prudent Practices, 2nd Edition.  The first test mentioned will only indicate peroxides of chemical structure ROOH (R=alkyl).  Dialkyl peroxides (ROOR) can be detected with the 2nd method, which employs a 10% aqueous solution of potassium iodide with a starch indicator solution.

Generally, the best method is the last listed, i.e., peroxide test strip paper (EM Quant Test Strips, catalog #TM-1162, for 0.5 to 25 ppm peroxide content detection, and catalog #TM-27173, for 0 to 100 ppm peroxide content detection, Lab Safety Supply, Inc., phone #1-800-356-0783).

“Instructions for Use”

[from Peroxide Test instruction booklet, Merckoquant 10011, E. Merck Co.,

64271 Darmstadt, Germany, phone # (06151)720.]

“Aqueous Solutions:

1.	Remove 1 test strip and immediately reclose the tube.

2.	Dip the test strip into the solution to be tested for 1 sec, such that the reaction zone is completely wetted (a small square area on the end of the strip, clearly visible).

3.	Remove the test strip, shake off excess liquid and compare the reaction zone with the color scale after 15 sec.

“Organic Solvents (volatile ethers)

1.	Remove 1 test strip and immediately reclose the tube.

2.	Dip the test strip into the solvent to be tested for 1 sec, such that the reaction zone is completely wetted.

3.	Move the test strip slightly to and fro for 3-30 sec until the solvent has evaporated from the reaction zone, then

a)	dip into distilled water for 1 sec, shake off excess water

or,

b)	breathe on it 4 times each for 3-5 sec.

4.	After 15 sec, compare the reaction zone with the color scale.”

At the present time, test strips for general use are kept in one of the small portable refrigerators kept in lab room #109 of the Chemistry Department in Salem Hall.  Newly purchased tubes of these test strip papers should be stored in a refrigerator, but see the enclosed instruction sheet for storage of opened containers.

Methods for destruction of peroxides can be found in the following references:

Gordon A. J. and Ford, R. A.  The Chemist’s Companion.  New York:  John Wiley and Sons,  1972, page 437

Perrin, D.D. and Armarego, W.L.F. Purification of Laboratory Chemicals, 3rd Edition.  Oxford:  Butterworth-Heinemann Ltd., 1994.

Jackson, H.L. et al., J. Chem. Educ., 47 (1970), page A175.

When opening containers of Ethyl ether, tetrahydrofuran, or 1,4-dioxane in the solvent room #20, which are usually purchased in large 5 gallon (or 20 liter) metal containers, please label them with the date upon which they are first opened.

You should make an attempt to label all chemicals in your laboratory which could conceivably form peroxides with the opening date.  Please see the above mentioned table 3.13 for the list of such chemicals.

When bottles are found to actually contain levels of peroxides above the 25 ppm concentration range, you should not, of course, use it.  You may remove the peroxides via one of the above referenced purification methods (with your research advisor’s guidance) or carefully destroy them (again, following specific instructions) or take them, properly labeled, to the waste holding area in room #20 for removal by the Chemical Waste Company.  Even containers with less than 25 ppm peroxide content should not be handled or used without direct supervision from your research advisor.  Obtain his/her judgment as to whether it is best to remove the peroxides or simply have them taken out by the waste company.

GENERAL METHOD FOR DESTRUCTION OF PEROXIDES WITHIN AN ORGANIC LIQUID

Gently open the cap of the bottle and pour the organic liquid into a larger container, such as a beaker (preferably a large 4 liter polyethylene beaker, found in the general chemistry prep room) or a larger polyethylene pan.  If the organic liquid is soluble or miscible in water, dilute it with roughly the same volume of water.  Slowly, with stirring, add a dilute solution of sodium bisulfite and stir for about 20 minutes.  Then test again for destruction of peroxides with test strips.

If the liquid is not soluble in water (such as ethyl ether) simply add a smaller volume of aqueous sodium bisulfite to the organic liquid in a beaker and stir longer.  Use a magnetic stirrer.  Again, test the organic layer for peroxides.  Separate the layers in a separatory funnel and reuse the organic liquid or bottle it up for disposal.

Washing with dilute sodium bisulfite is generally the best way to remove peroxides.  You will find sodium bisulfite in the organic chem. prep room (room #103) if you need it (see reference Jackson, H.L. et al., J. Chem. Educ., 47 (1970), page A175).

### 5.  Laboratory Specific SOPs

A Standard Operating Procedure for Lab Room # 121 (Growth Lab):

Cleaning Carbon deposits from the interior surface of the Nanotube growth apparatus with 0.2 % Hydrofluoric acid

A five foot long hollow quartz glass tube, about 3 inches in diameter, is used in this Lab to generate formation of microscopic nanotubes inside the tube, by means of heating a mixture of Fe catalyst (Ferrocene) and carbon source deposits on the tube’s inner surface.  The heat is obtained by simply placing the tube in an oven.  Hydrofluoric acid (0.2 % solution in water) is used merely to clean the inside surface after this process is finished and the nanotubes have been harvested, that is, after the nanotubes have been taken out, leaving a residual deposit of carbon which must be cleaned before reusing the quartz tube.  Hydrofluoric acid is necessary for this type of thorough cleaning

Wear safety goggles and neoprene gloves.  Check for tears in the gloves before you begin.  After cooling the quartz tube, one end of it is sealed and the tube is leveled and placed inside the hood, with the sealed end slightly lowered into the sink inside the hood.  The Hydrofluoric acid solution is then poured very carefully onto the inner surface of the tube, where the carbon deposits coat the quartz surface inside.  The tube is then carefully twirled, in order to soak the residual carbon completely, and allowed to rest on the hood surface, horizontally, for maybe ten minutes, with more occasional twirling.  The tube is then very carefully rinsed into the sink with lots of gently flowing water from the faucet until all of the remaining weak acid has been drained from the tube.

Obtain approval before ever using Hydrofluoric acid.  Laboratories using this material should have access to a supply of a commercial HF skin treatment, a 0.13% solution of ZEPHIRAN CHLORIDE, the systematic name of which is Benzalkonium chloride.

There are multiple tubes of 2.5% Calcium gluconate gel and a large supply of neoprene gloves in this and room 115 near the MSDS sheets and the first aid kit.   The Air Products publication Safetygram 29 titled “Treatment Protocol for Hydrofluoric Acid Burns” is also kept in room 115, near the departmental copy of the Chemical Hygiene Plan, along with ordering information for more Calcium gluconate.

In case of accidental exposures to Hydrofluoric acid on the skin the two single most important points to emphasize are these:

- DO NOT PERFORM THIS OPERATION WHEN THERE IS NO ONE ELSE IN THE BUILDING.  INFORM OTHER LABWORKERS WHEN YOU BEGIN THIS OPERATION, AND HAVE THEM STANDBY WITH EASY ACCESS TO CALCIUM GLUCONATE TUBES IN PREPARATION TO YOUR ACCEDENTAL EXPOSURE.

- Douse the exposed area at once with very large amounts of water, for a duration not exceeding one minute

- Begin latering on lots of the Calcium gluconate gel

- Have someone call 5911 and have your coworker drive you immediately to the hospital.  Take extra Calcium Gluconate tubes with you

# IV. Training

## A.  Introduction to Training for Graduate Students in the NanoTechnology Center

Graduate students and post-doctorates in the NanoTechnology Center will have been expected to receive the minimal training for chemical safety from Chemistry classes they have previously taken elsewhere as undergraduates.  They will receive information regarding specific chemical hazards within their own research Labs in the NanoTechnology Center from the Standard Operating Procedures established for such labs, as well as publications referenced in such procedures or kept by Laboratory supervisors.

In addition, this manual will provide the following minimal Chemical Hazard training:

- An explanation of National Fire Protection Agency (NFPA) and Hazardous Material Indexing System (HMIS) symbols, color codes, and hazard ratings, which appear in many manufacturers’ labels on chemical containers, serving as a numerically rated system of expressing chemical hazards.  All of the Center’s Material Safety Data Sheets (MSDS) are kept in a central area within the building, available 24 hours a day to all Lab workers within NanoTechnology Center.

- A very useful, brief but all-inclusive guide to toxicity of typical chemicals used in academic research laboratories guide, from the Bowman Gray School of Medicine titled “Health Hazards of Some Common Chemicals”

- A safety lecture on the Safe Use of Compressed Gas Cylinders, Regulators, Pipe and Swagelok Tube Fittings in Research Laboratories, Presented by National Welders and Dr. Robert Swofford, given every year In January, a day or so before classes start in the Spring semester, Room 10 Salem Hall

- A safety film will be shown to each entering Lab Worker in the NanoTechnology Center, covering the following topics, which will be viewed by the Lab Workers either at the Center itself, or concurrently with the Chemistry students in Salem Hall, Reynolda Campus, who sign up for Organic Chemistry lab (CHM 122L).

*	Audio-Visual Program from the American Chemical Society entitled “Introduction to Laboratory Safety,” covering the following topics;

a)	Chemical toxicity, Threshold Limit Values, and Permissible Exposure Levels of Vapors of hazardous chemicals

b)	Corrosivity, Flammability, and Reactivity definitions, examples, and hazards of pyrophoric and water-reactive chemicals

c)	Summary of the Center’s requirements for MSDS sheets and sources of information in departmental books and literature sources in the Chemistry Department of Salem Hall

d)	Information about the Chemical Hygiene Plan requirement, Hazardous Waste Policy, chemical spills, and the OSHA Laboratory Standard requirement for description of carcinogens, mutagens/teratogens, and extremely hazardous chemicals and the requirement for designated areas in research labs

e)	Segregation of chemicals, storage areas for larger volume organic solvents in the yellow flammable solvent metal cabinet and cabinets under hoods

f)	Gray Fifty-five gallon waste-solvent drum grounding wires in the Main Lab (room #118) for preventing anti-static electricity buildup

h)	Organic Peroxide buildup in certain bottles of old ether containers, and how to test for peroxides with test strip paper available from the Chemistry Department in Salem Hall.

## B.  Safety Training for Graduate Students

### 1.  HMIS / NFPA Chemical Hazard Ratings on Departmental MSDS Sheets

Although the OSHA Laboratory Standard is the particular law applicable to an academic laboratory setting, it should also include the requirements for hazardous chemical assessment contained in the previous standard, the Hazard Communication Standard.

“....Chemical manufacturers and importers shall evaluate chemicals produced in their workplace or imported by them to determine if they are hazardous.  Employers are not required to evaluate chemicals unless they choose not to rely on the evaluation performed by the chemical manufacturer or importer for the chemical to satisfy this requirement.”

“Chemical manufacturers, importers, or employers evaluating chemicals shall describe in writing the procedures they use to determine the hazards of the chemical they evaluate.  The written procedures are to be made available, upon request, to employees, their designated representatives, the Assistant Secretary and the Director.  The written description may be incorporated into the written hazard communication program....”

“The hazard determination requirement of this standard is performance-oriented.  Chemical manufacturers, importers, and employers evaluating chemicals are not required to follow any specific methods for determining hazards, but they must be able to demonstrate that they have adequately ascertained the hazards of the chemicals produced or imported in accordance with the criteria set forth....”

“The standard’s design is simple.  Chemical manufacturers and importers must evaluate the hazards of the chemicals they produce or import.  Using that information, they must then prepare labels for containers, and more detailed technical bulletins called material safety data sheets (MSDS).

Chemical manufacturers, importers, and distributors of hazardous chemicals are all required to provide the appropriated labels and [MSDS] to the employers to which they ship the chemicals.  The information is to be provided automatically.  Every container of hazardous chemicals you receive must be labeled, tagged, or marked with the required information.  Your suppliers must also send you a properly completed....MSDS....at the time of the first shipment of the chemical, and with the next shipment after the MSDS is updated with new and significant information about the hazards.

You can rely on the information received from your suppliers.  You have no independent duty to analyze the chemical or evaluate the hazards of it.”

(29 CFR Chpt. XVII (7-1-95 Edition), 1910.1200 and Appendices C and E).

OSHA generally endorses a universal method of hazard assessment originated by the National Paint and Coatings Association, and most chemical manufacturing companies now rate chemicals with the National Paint and Coatings Association’s Hazardous Materials Identification System (HMIS).  The HMIS system is similar in most respects to the National Fire Protection Association system (NFPA).  The NFPA system lists all hazards which are included in the HMIS numerical classification already, so the two are virtually the same, differing only in that the NFPA system has an additional warning designation concerning water-reactive chemicals.  See page 49 of Prudent Practices, 2nd edition.  Both systems serve as a nationally recognized method of rating hazards.  All lab chemical suppliers and manufacturers publish Material Safety Data Sheets (MSDS) for chemicals they sell and nearly all now supply HMIS / NFPA ratings either on the MSDS or the chemical bottle label.

This Department maintains a set of complete MSDS sheets in the NanoTechnology Center Kitchenette.

[If additional information about MSDS sheets is needed, summaries of the HMIS / NFPA systems and MSDS sheets in wall chart form are kept in the undergraduate laboratory hallway bulletin boards, located near the stockroom, room # 110, of the Chemistry Department of Salem Hall.]

### 2.  HMIS and MSDS Clarifications

Clarification of the Chemistry Dept. Laboratory Manager’s reasons for continuing to maintain paper copies of MSDS, updating inventory of all chemicals within the department, and use of HMIS ratings system.  (written by Julianne Braun, graduate student):

Legal requirements - types of hazards, MSDS

29CFR 1910.1450(h)(1)(ii) “Employers shall maintain any material safety data sheets that are received with incoming shipments of hazardous chemicals, and ensure that they are readily accessible to laboratory employees.”

29CFR 1910.1450(e)(3)(viii) [The chemical hygiene plan shall include…] “Provisions for additional employee protection for work with particularly hazardous substances.  These include “select carcinogens”, reproductive toxins and substances which have a high degree of acute toxicity.  …”

Why use inventory & ratings to comply ?

The law requires that special treatment be given to certain classes of substances.  The only way to be able to comply with the law is to identify which substances we have which require special treatment.  The best means of doing this appears to be through an inventory of all chemicals in the department.  The inventory can then be cross-referenced with lists of those substances requiring special handling.

The OSHA Laboratory Standard (29 CFR 1910.1450) specifically lists those substances which must be treated as “select carcinogens”, but for reproductive toxins and for “substances which have a high degree of acute toxicity” criteria are given, but not specific lists.  The law places the responsibility for determining which chemicals meet the criteria (and thus require special handling, storage, waste removal and decontamination procedures) on the employer.  Because all of the MSDS which have been filed in the MSDS library in the stockroom have been rated according to the HMIS system, it was determined that the HMIS system of ratings would be the most efficient means for determining which chemicals meet the OSHA criteria for “reproductive toxins” and “substances which have a high degree of acute toxicity” without having to use some new rating system and rate all our existing MSDS with the new system.

MSDS - paper vs. CD-ROM or network access

Because OSHA requires that MSDS from each source of supply be maintained, it is not feasible to attain legal compliance by use of a pre-packaged CD-ROM of MSDS.  The time and resources required to scan all of our existing MSDS into a custom CD-ROM would probably far exceed their usefulness.  Legal compliance matters aside, I think it would be great to get some health and safety information available to faculty and students via a networked CD-ROM.  When considering how much of our resources should be spent on this, please keep in mind that MSDS for all chemicals sold by Fisher are available via WWW at URL http://www.fisher1.com., and from Sigma-Aldrich at:

http://www.sigma-aldrich.com/saws.nsf/msdshelp?OpenForm

### 3.  INTERPRETING CHEMICAL HAZARD HMIS RATINGS:

The HMIS (Hazardous Material Information System) rating consists of a set of three numbers representing Acute (or immediate) Toxicity, Fire, and Reactivity, in that order, followed by a letter code for Personal Protection Equipment and ending with a letter(s) for Chronic (or long-term) Toxicity, if necessary. The numerical hazard ratings are as follows:

4 - severe hazard		Chemical Inventory Safety Data Column Key

3 - serious hazard		ct = Chronic toxicity hazard, if indicated by an asterisk

2 - moderate hazard		at = Acute Toxicity		fl = Flammability

1 - slight hazard		re = Reactivity        pe = personal protective equipment

0 - minimal hazard		ct2 = actual description of Chronic toxicity hazard

The Personal Protection Equipment code (PPE) begins with letter A for least equipment needed (safety glasses), through H (the most common – standing for use of safety glasses, lab coat, gloves, and a hood) and ends with K for something extremely dangerous and requiring elaborate protection, such as self-contained breathing apparatus.  Note that a good fume hood may normally be used in place of respirators.

An asterisk next to the Acute Toxicity rating in the first column on the left indicates that a special “Chronic”, or long-term, hazard exists for the chemical, and will be identified by an additional letter(s) immediately following the capitol letter designation for PPE in the last column on the right.  In some cases, a chemical could have more than one chronic health hazard letter designation.  These special hazards are:

M –mutagen  			Example:  for Benzene, *330Hcm

m - suspected mutagen		Acute toxicity is 3, with an associated Chronic hazard

T – teratogen			Flammability rating is 3

t - suspected teratogen		Reactivity rating is 0

C – carcinogen			PPE rating is H

c - suspected carcinogen		Chronic toxicity rating is cm

A – allergen			(for suspected carcinogen and

S - can cause silicosis		 	suspected mutagen)

Note that chronic health hazards may also be indicated in plain English on the container label and/or the MSDS sheet.  Chemicals bought from a company and sent without MSDS sheets must be assumed to have ratings in each category of 4 until proven otherwise.  Missing hazard data in any category of an MSDS sheet will likewise result in a rating of 4. unless the faculty members  judge the chemical deserving of a lower rating based on knowledge of chemical properties.

### 4.  SOME HMIS RATINGS FOR COMMON CHEMICALS

Concentrated H2SO4	302H	Chalk	000A

(Sulfuric acid)	toxicity rating is 3

flammability rating is 0

Reactivity /Corrosivity rating is 2

PPE is H (Splash Goggles, gloves,

synthetic apron, vapor respirator)

NaOH	302H	Ether	340H

Chlorox	201B	Acetone	131H

(Sodium hypochlorite)

Antifreeze	2*10Am	Methanol	240C

(Ethylene glycol)	*Suspected mutagen

CdSO4	300C	MgSO4	200C

PbCrO4	4*00HC	FeSO4	200A

*Carcinogen

PbO2	3*00FT	Acetic Acid	322H

*Teratogen

toxicity rating is 3

flammability rating is 0

Reactivity /Corrosivity rating is 0

PPE is F (Splash glasses, gloves

synthetic apron, dust respirator)

### 5.  Summary of HMIS Ratings

(from National Paint and Coatings Association's "HMIS Hazardous Materials Identification System Implementation Manual", 1981, page 109, reprinted by American Labelmark Co., Labelmaster Division, Chicago, Illinois.)

I.  "Health Hazard Rating

0 Minimal Hazard	No significant risk to health.

1 Slight Hazard	Irritation or minor reversible injury possible.

2 Moderate Hazard	Temporary or minor injury may occur.

3 Serious Hazard	Major injury likely unless prompt action is taken and medical treatment given

4 Severe Hazard	Life-threatening, major of permanent damage may result from single or repeated exposures.

II.  Flammability Hazard Rating

0 Minimal Hazard	Materials that are normally stable and will not burn unless heated.

1 Slight Hazard	Materials that must be preheated before ignition will occur.  Flammable liquids in this category will have flash points (the lowest temperature at which ignition will occur) at or above 200(F (NFPA Class IIB).

2 Moderate Hazard	Material that must be moderately heated before ignition will occur, including flammable liquids with flash points at or above 100(F and below 200(F (NFPA Class II & Class IIIA).

3 Serious Hazard	Materials capable of ignition under almost all normal temperature conditions, including flammable liquids with flash points below 73(F and boiling points above 100(F as well as liquids with flash points between 73(F and 100(F (NFPA Class 1B and 1C).

4 Severe Hazard	Very flammable gases or very volatile flammable liquids with flash points below 73(F and boiling points below 100(F (NFPA Class 1A).

III.  Reactivity Hazard Rating

0 Minimal Hazard	Materials that are normally stable, even under fire conditions, and will not react with water.

1 Slight Hazard	Materials that are normally stable but can become unstable at high temperatures and pressures.  These materials may react with water but they will not release energy violently.

2 Moderate Hazard	Materials that, in themselves, are normally unstable and will readily undergo violent chemical change but will not detonate.  These materials may also react violently with water.

3 Serious Hazard	Materials that are capable of detonation or explosive reaction but require a strong initiating source of must be heated under confinement before initiation; or materials that react explosively with water.

4 Severe Hazard	Materials that are readily capable of detonation or explosive decomposition at normal temperatures and pressures.”

IV.  Personal Protective Equipment

Appropriate protective equipment to be worn or used will be indicated by a letter immediately following the actual numbered HMIS rating (see the HMIS class identification sheet on the next page for letter designations).

V.  Chronic Health Hazards

If present, will be so indicated by means of an asterisk (*) associated with the HMIS Health Hazard rating, and specified with a letter listed after the PPE letter rating.  The letter designations are:

| M, mutagen | C, carcinogen |
| --- | --- |
| m, suspected mutagen | c, suspected carcinogen |
| T, teratogen | A, allergen |
| t, suspected teratogen | S, can cause silicosis |

| LETTER DESIGNATIONS OF |  |  |  |  |
| --- | --- | --- | --- | --- |
| PERSONAL PROTECTIVE |  |  |  |  |
| EQUIPMENT FOR THE HMIS |  |  |  |  |
| CLASS | EYE | HAND | BODY | RESPIRATOR | FOOT |
| A | SAFETY GLASSES |  |  |  |  |
| B | SAFETY GLASSES | GLOVES |  |  |  |
| C | SAFETY GLASSES | GLOVES | SYNTHETIC APRON |  |  |
| D | FACE SHIELD | GLOVES | SYNTHETIC APRON |  |  |
| E | SAFETY GLASSES | GLOVES |  | DUST |  |
| F | SAFETY GLASSES | GLOVES | SYNTHETIC APRON | DUST |  |
| G | SAFETY GLASSES | GLOVES |  | VAPOR |  |
| H | SAFETY GOGGLES | GLOVES | SYNTHETIC APRON | VAPOR |  |
| I | SAFETY GLASSES | GLOVES |  | DUST / VAPOR |  |
| J | SAFETY GOGGLES | GLOVES | SYNTHETIC APRON | DUST / VAPOR |  |
| K | AIRLINE HOOD/MASK | GLOVES | FULL PROTECTIVE SUIT |  | BOOTS |
| X | SITUATIONS REQUIRING SPECIAL HANDLING |  |  |

### 6.  Yearly Announcement of Gas Cylinder Safety (in January of each year)

New Graduate Student Safety Review

And

Safe Use of Compressed Gas Cylinders and Regulators

Presented by National Welders

And

Pipe and Swagelok Tube Fittings in Research Laboratories

Presented by Dr. Robert Swofford

Thursday, January 15, 2008

9:00 AM – 1:00 PM

Lecture Room # 10, Ground Floor, Salem Hall

Required Attendance of all Research Graduate Students in the Physics and NanoTechnology Departments

“Be There or Be Hexagonal”

Demos and Audience Participation!!

Agenda

9:00 AM – 10:00 AM (coffee and donuts served):

- Safety Review, required of all 1st-year Graduate Students

10:00 – 11:00 AM (coffee and donuts served):

- Gas Cylinders, National Welders, required of all Graduate Students

11:00 AM – Noon

- Regulators, National Welders, required of all Graduate Students

Noon – 1:00 PM  - FREE LUNCH and Follow-Up Discussion with Dr. Swofford, open to all Graduate Students

- Thread sizes (CGA numbers;  Gas, Tube, and Pipe Fittings)

- Swagelok fittings and connections

- Sources for Various Fittings

### 7.  Summer School Safety Training Announcement for Research Undergrads:

For Undergraduate Research Students, and Safety Review for Graduate Students

DEPARTMENTAL SAFETY TRAINING SESSION

Thursday, May 31

2:00-3:00 pm

Salem 10

Mike Thompson

Bruce King

This session will be held as an orientation for new summer researchers in the department as well as first/second year graduate students.  All are welcome to attend, light refreshments provided.

### 8. Hazard Communication Training Log Form

Wake Forest University

Hazard Communication Training Log

Safe Use of Compressed Gas Cylinders and Regulators

DATE OF TRAINING:	INSTRUCTOR:

TIME OF TRAINING:	DEPARTMENT:

LOCATION OF TRAINING:

| Student Name (Print) | Signature | Student Name (Print) | Signature |
| --- | --- | --- | --- |
| 1. |  | 41. |  |
| 2. |  | 42. |  |
| 3. |  | 43. |  |
| 4. |  | 44. |  |
| 5. |  | 45. |  |
| 6. |  | 46. |  |
| 7. |  | 47. |  |
| 8. |  | 48. |  |
| 9. |  | 49. |  |
| 10. |  | 50. |  |
| 11. |  | 51. |  |
| 12. |  | 52. |  |
| 13. |  | 53. |  |
| 14. |  | 54. |  |
| 15. |  | 55. |  |
| 16. |  | 56. |  |
| 17. |  | 57. |  |
| 18. |  | 58. |  |
| 19. |  | 59. |  |
| 20. |  | 60. |  |
| 21. |  | 61. |  |
| 22. |  | 62. |  |
| 23. |  | 63. |  |
| 24. |  | 64. |  |
| 25. |  | 65. |  |
| 26. |  | 66. |  |
| 27. |  | 67. |  |
| 28. |  | 68. |  |
| 29. |  | 69. |  |
| 30. |  | 70. |  |
| 31. |  | 71. |  |
| 32. |  | 72. |  |
| 33. |  | 73. |  |
| 34. |  | 74. |  |
| 35. |  | 75. |  |
| 36. |  | 76. |  |
| 37. |  | 77. |  |
| 38. |  | 78. |  |
| 39. |  | 79. |  |
| 40. |  | 80. |  |

### 9.  Literature Sources of Information regarding Hazards of Chemicals

Listed below are sources of risk assessment information (i.e., how to determine whether a certain chemical is toxic or otherwise dangerous to work with) which can be found in the Chemistry Department library, Salem #207, and the departmental Stockroom, Salem # 110.  Their description follows:

A very good reference for toxic hazards of general categories and classes of chemicals is : 		Patnaik, Pradyot.  A Comprehensive Guide to the Hazardous Properties of Chemical 	Substances.  New York:  Van Nostrand Reinhold, 1992.

Consult the following book for hazards due to reactivity of particular chemicals:

Urben, P.G., ed.  Bretherick's Handbook of Reactive Chemical Hazards, 4th edition.  	Oxford:  Butterworth-Heinemann Ltd., 1995.

Another good hazardous chemical reference for particular chemicals is:

Lewis, Richard J., Sr.,  Hazardous Chemicals Desk Reference, 3rd edition.  New York:  	Van Nostrand Reinhold, 1993.

The two volume set of Lenga, Robert E. Sigma-Aldrich Library of Chemical Safety Data, 2nd edition.  Milwaukee, WI:  Sigma-Aldrich Corporation, 1988, is a huge collection of safety information for specific Organic chemicals.  The American Conference of Governmental Industrial Hygienist’s Threshold Limit Values (TLVs) booklet is kept there as well.  TLVs are the maximum allowable inhalation levels of chemicals present in the laboratory air, measured in milligrams per cubic meter (mg/m3) or parts per million (ppm) in the air you breathe in the immediate vicinity of your work.  OSHA has adopted the TLVs and refers to them in the law as Permissible Exposure Levels (PELs).  The hoods in the NanoTechnology Center are designed to keep exposure levels below the PELs of chemicals you use.  Find this booklet with the other books listed above in the Chemistry Department Library, upstairs in Salem # 207, or the Chemistry Department Stockroom, # 110.

### 10.  Health Hazards of Some Common Chemicals

(From Bowman Gray School of Medicine’s Chemical Waste Disposal:  Policies and Procedures, 1985, pages III 2-6, reprinted with permission)

Some of the more obviously dangerous properties of common classes of chemicals are listed here as a preliminary source of toxicity information.  Physical and health hazards are described, along with “signs and symptoms associated with exposures to hazardous chemicals used in the laboratory”  (OSHA, in 29 CFR 1910.1450).

1. “ Acids

Acetic acid is considerably more corrosive to the skin than is generally believed, readily penetrating the skin producing blisters, dermatitis, and ulcers.  Even at room temperature the vapor is highly irritating to the eyes and to the nose and throat on inhalation.

Chromic Acid is a strong oxidizing agent but not a strong acid.  It is both poisonous and irritating to the skin.  Precautions should be taken against skin contact with the solid or its solutions and against inhalation of dust from the solid or of mist from the solutions.  Reaction with chlorides yields chromyl chloride.  Chromic acid and chromyl chloride are suspected carcinogens.

Hydrochloric acid fumes are corrosive to tissues on contact.

Hydrofluoric acid is extremely irritating and corrosive to the skin and mucous membranes.  It  produces severe skin burns which are slow in healing.  Burns must be treated immediately as tissue necrosis can develop.  It is highly toxic by ingestion or inhalation.

Nitric acid is a powerful oxidizing agent.  In the oxidation of most organic materials, concentrated nitric acid will produce dense clouds of highly toxic red or brown oxides of nitrogen.  Since inhalation of these oxides in dangerous quantities produces only a mild irritation of the respiratory organs, it is possible to inhale a dangerous concentration without much discomfort or apparent injury.

Picric acid is rapidly absorbed through the unbroken skin and even more rapidly through wounds, leading to headache, fever, and insomnia.  Exposure to the dust of picric acid may cause irritation to the nose and throat and especially of the eyes, leading to ulceration of the cornea.  It is also hazardous due to its explosive properties.

Sulfuric acid (concentrated) chars and destroys plant or animal tissue because of its avidity for water, which it removes from organic material with which it comes in contact.  The fumes are extremely irritating both to the skin and to the mucous membranes.

Phosphorus halides and oxy-halides are fuming liquids or solids which decompose rapidly in the  presence of water or moist air to form hydrochloric, phosphorous, or phosphoric acids.  The vapors are strongly irritating to the skin, mucous membranes, and respiratory system.

Phenol (carbolic acid) is readily absorbed through the intact skin.  Liquid phenol in contact with skin produces a tingling sensation followed by a loss of feeling.  The skin becomes white and wrinkled and later turns dark brown and sloughs off.  This is not a true corrosive action, but is a local gangrene caused by destruction of the blood supply to the affected area.

2.  Alcohols

The alcohols show a regular dependence of narcotic action on their physical constants.  Anesthetic power increases with increasing molecular weight.  Butyl and amyl alcohol have in addition a slight irritant action and some degree of poisonous action on the protoplasm.  Secondary alcohols are stronger narcotics than the primary alcohols.  With the exception

of methyl alcohol, the toxicity of the alcohols is comparatively small.  Methyl alcohol is a poisonous substance and contact, as well as inhalation, should be avoided. This compound exerts a particular effect on the optic nerve and ingestion or inhalation may cause blindness.

3.  Glycols and alcohol-ethers

These are principally blood and kidney poisons.  The glycols are not considered exceedingly toxic; ethylene glycol and ethyl ether are of comparable toxicity.  Cellosolve, methyl cellosolve, and carbitol are common alcohol-ethers which are considered hazardous in high concentrations.

4.  Aldehydes and ketones

The aldehydes are primarily irritants but they also have some narcotic action.  Formaldehyde is poisonous and a concentration of 5 parts per million is considered the threshold of a safe working atmosphere.  Acrolein is a lachrymator and was used in a war gas mixture.

The ketones are narcotic and are markedly stimulating to the respiratory center.  In comparison with some of the other solvents, they are relatively harmless although the inhalation or ingestion of large quantities can be toxic.

5.  Alkalies

Sodium and potassium hydroxide are white solids which are extremely soluble in water.  The most common injuries suffered are burns of the skin or eyes on contact.  They are especially destructive to eye tissue.

Ammonia is a strong irritant and can produce sudden death from bronchial spasm, but causes no lasting harm in concentrations small enough to be severely irritating.  It is absorbed readily through 	the respiratory tract and is rapidly metabolized so that it ceases to act as ammonia.  It is particularly dangerous if splashed in the eyes.

6.  Aniline

Aniline can be absorbed through the skin and is dangerous to inhale or ingest.  Aniline dye compounds produce cyanoses and affect the central nervous system and bladder.

7.  Carbon monoxide

Carbon monoxide is a chemical asphyxiant since it combines with the hemoglobin of the blood to form a stable compound.  The affinity of carbon monoxide for hemoglobin is about 300 times that of oxygen and a preferential absorption always takes place.

8.  Cyanides and nitriles

Hydrocyanic acid is a highly toxic colorless gas with the odor of bitter almonds.  It is readily absorbed through the skin at high concentrations.  It blocks cellular respiration by poisoning the oxidation catalysts.  It is not a respiratory irritant.

Hydrogen cyanide and its simple soluble salts are among the most rapid acting of all poisons.  The halogenated materials are also highly toxic and possess some of the same properties as HCN.  However, at low concentrations, these materials behave more like the vesicant gases.

Nitriles can cause the same general symptoms as HCN, but the onset is apt to be slower and they are more likely to be active as primary irritants on the skin or eye.  They are also frequently absorbed rapidly and completely through the intact skin in the same manner as the cyanides.  The halogenated compounds are also highly toxic and possess some of the same properties as HCN. However, at low concentrations, these materials behave more like the highly irritating vesicant gases such as phosgene and cause severe lachrymatory effect and both acute and delayed pulmonary edema and irritation.

9.  Esters

The action of the esters varies widely from the mildly anesthetic and irritant properties of ethyl acetate to the very poisonous, irritant and vesicant action of methyl sulfate and the esters of formic acid.  The formic acid esters are powerful irritants, especially the chlorinated ones.  They have been used as war gases.  With increase in molecular weight, the relative toxicity of the esters increases, but because of decrease in volatility, the actual danger decreases.

10.  Ethers

The ethers are powerful narcotics acting rapidly on the central nervous system.  They are also slightly irritant and can be dangerous if inhaled in large quantities.

11.  Halogens

Chlorine is a dangerous and strong lung irritant and a concentration of one part per million for an 8 hour exposure is the maximum allowed.  This is also the lowest concentration offering a detectable odor.

Bromine fumes are highly irritating to the eyes and both the upper and lower sections of the respiratory tract.  The maximum allowable concentration is one part per million and the least detectable odor is in the order of 3.5 parts per million.

12.  Hydrocarbons

Saturated aliphatic hydrocarbons are relatively harmless from the toxicological point of view.  Methane and ethane are simple asphysiants; propane and butane have, in addition, anesthetic properties, while hydrocarbons from pentane and up are narcotic, convulsive and irritant.  Hexane and heptane are the most dangerous.

Unsaturated aliphatic hydrocarbons from ethylene to heptylene have simple asphysiant and  anesthetic properties.  Acetylene may also be included in this group.

Cyclic hydrogenated hydrocarbons are more potent than the open chain hydrocarbons but are less toxic than the aromatic hydrocarbons.  Cyclohexane has about the same toxicity as hexane but has a stronger narcotic action.  They have their principal effect on the central nervous

system.

Aromatic hydrocarbons are much more poisonous than the aliphatic group.  Benzene has a destructive influence on blood cells and blood-forming organs following chronic exposure.  It also has an acute narcotic effect and may cause intoxication, unconsciousness or death in a short time if present in high concentration.  It may be carcinogenic.

Halogenated hydrocarbons as a class have the general physiological effect of anesthesia and narcosis.  Permanent damage may result to the liver and kidneys.  The halogenated hydrocarbons of the benzene group may be blood poisons.

13.  Metals

Lead, mercury, arsenic, chromium, beryllium, antimony, selenium, and manganese are common hazardous metals.  As a general rule, metals are more hazardous within compounds rather than the elemental state, and the more soluble the compound is, the more poisonous it is likely to be.  The damage produced from inhalation of the metallic dust is greater than by swallowing.

14.  Compounds of sulfur, phosphorus, and nitrogen

The principal mineral acids (hydrochloric, nitric, sulfuric and phosphoric) and their gases are hazardous to inhale.  The fumes are very irritating to the respiratory tract.

Phosphorous halides are very irritating to the respiratory tract.  Formation of strong acids on contact with water can cause severe tissue burns when inhaled.

Hydrogen sulfide is nearly as toxic as hydrogen cyanide but is not absorbed through the skin.  Its characteristic odor is not reliable as a warning signal because higher concentrations, which have a sweetish odor, also have a paralyzing effect on the olfactory nerves.  The gas paralyzes the respiratory center of the brain at toxic levels.

Dimethyl sulfate is an odorless, powerful lung irritant as well as a lachrymator and vesicant.  It can be absorbed through the skin and affects all the mucous membranes and the respiratory system.  It is a suspected carcinogen.

Nitrogen oxides are extremely dangerous because of their delayed action.  Harmful and even fatal quantities can be inhaled without immediate noticeable effects.  Pulmonary edema usually results from extended inhalation.  Nitration operations and welding can evolve these oxides.

Dimethyl sulfoxide (DMSO) penetrates the unbroken skin and enters the circulatory system extremely rapidly.  It can carry with it dissolved materials which would ordinarily not penetrate the skin.”

# V.  Chemical Inventories

## A.  Inventory of All Chemicals and MSDS Sheets in the NanoTechnology Center

All incoming MSDS sheets for each and every chemical purchased for the NanoTechnology Center are kept in room 115 in a set of red binder notebooks.  They are mailed from the manufacturer of the chemical to the Olin Hall. These MSDS sheets are accessible 24 hours a day by students working in any Lab of the NanoTechnology Center.

Each lab is responsible for entering their chemicals and their MSDS sheets into the on-line chemical inventory.  The MSDS sheets are alphabetically arranged in the online inventory system.  The inventory web site is:

http://www.wfu.edu/chem/cheminventory/index.html

Presently, designated storage areas are assigned in each laboratory for storage of carcinogens and teratogens/mutagens.  Chemicals with a high degree of acute toxicity will be given an HMIS/NFPA acute toxicity rating of 3 or 4 on the MSDS sheet by the chemical’s manufacturer.  Also “Select carcinogens” are identified from manufacturer’s MSDS data.  There is at present only one universally acknowledged list of known human teratogens.  It is contained on page XXV of Shepard, Thomas H.,Catalog of Teratogenic Agents, 8th edition, The Johns Hopkins University Press, Baltimore, MD:  1995.  See http://depts.washington.edu/~terisweb/teris/

They are listed below.  Most of them are hormones or drugs:

| CHEMICAL NAME | CAS # | CHEMICAL NAME | CAS # |
| --- | --- | --- | --- |
| Aminopterin | 54-62-6 | Methimazole | 60-56-0 |
| Androgenic hormones |  | Methylaminopterin |  |
| Busulfan | 55-98-1 | Methylene blue |  |
| Captopril | 62571-86-2 | Organic mercury | 7439-97-6 |
| Carbamazepine | 298-46-4 | Penicillamine | 52-67-5 |
| Chlorobiphenyls |  | Primidone | 125-33-7 |
| Cocaine | 50-36-2 | Quinine | 130-95-0 |
| Colchicine | 64-86-8 | 1,3-cis-retinoic acid | 4759-48-2 |
| Coumarin anticoagulants |  | Streptomycin | 57-92-1 |
| Cyclophosphamide | 50-18-0 | Tetracycline | 60-54-8 |
| Diethylstilbestrol | 56-53-1 | Tetracycline-7-H3 | 36051-40-8 |
| Diphenylhydantoin |  | Tetracycline Hydrochloride | 64-75-5 |
| Disulfiram | 97-77-8 | Tetracycline Phosphate | 13930-32-0 |
| Enalapril | 75847-73-3 | Thalidomide | 50-35-1 |
| Ergotamine | 113-15-5 | Toluene abuse | 108-88-3 |
| Etretinate |  | Trimethadione |  |
| Iodides |  | Valproic acid | 99-66-1 |
| Lead | 7439-92-1 | High Vitamin A | 68-26-8 |
| Lithium | 7439-93-2 |

Additional sources of possible teratogens or mutagens are listed on page 46 of Prudent Practices.  Until a definite, all-inclusive list of teratogens or mutagens is published, it shall be the practice of the NanoTechnology Center to designate such substances in the MSDS inventory based on information contained in the MSDS sheet and so rated in HMIS/NFPA format as defined previously.

## B.  Instructions for the Use of the Online Inventory System

(prepared by Amanda Price and Mike Thompson)

1.           Go to:  http://www.wfu.edu/chem/cheminventory/index.html

- Enter the inventory system by clicking on “Online Chemical Inventory Database”.

3.	The Home Page format allows the user to choose from several inventory options.

These include:

- Entering new chemicals into the inventory of a specific

Faculty Group or Undergraduate Lab Class [“Add Inventory” button]

- Viewing a specific Faculty Group’s entire current inventory, or

Searching for a particular chemical in all departmental inventories (including your own) by chemical name (partially or fully named), CAS number, or the date it was entered [“Search/Update Inventory” button].

- Searching for safety information from MSDS sheets, listed by chemical name or CAS number [“Search MSDS” button]

- Adding MSDS sheets to the MSDS Inventory [“Add MSDS” button]

It is best to search for an individual chemical by CAS number (Chemical Abstract Service  number), which is completely specific for a particular chemical, since searching by name will result in multiple listings of any chemical name which contains your chemical as part of its name.

- Once an option has been chosen, the required information must be entered (username and which inventory) and then submitted [Click the “Submit” button].  This allows the user to view the requested inventory, specific chemical listing, or new chemical entry form.

- Adding a chemical to the inventory:

- Again, the user must enter a username and choose which Faculty Group one wishes to work with (For NanoTechnology, this would be: carroldl

- Once this is done and has been submitted, a new screen will appear with an entry form indicating several empty information fields.  These include:

- Chemical name (don’t list “HPLC Grade”, or 98%, etc., unless you really need to)

- CAS number (DO NOT USE HYPHENS between numbers)

- Catalog number

- Supplier

- Quantity (how many bottles, containers, etc.,?)

- Size (numerical amount, 25, 500, 1, etc.) and Unit (grams, mL, Kg, etc.)

- Location (shelf number, cabinet label, which hood, etc.?)

- The user must completely fill all fields before submitting

new information into the inventory.

- After submitting a new entry, the user can continue to add chemicals to the same inventory or go back to the Main Menu and select another option.  Your new chemicals will be automatically alphabetized when you have finished entering them into your inventory and exit the inventory.

- A hard copy of an individual inventory can be obtained by listing an individual Faculty Group inventory and printing directly from the File menu.

- Hard copies of the MSDS inventory can be obtained by selecting “Search MSDS” (of a particular Department) on the main page of the inventory website and, then, selecting “Physics” from the drop-down menu on the Search MSDS page.  Once the computer has finished searching for all chemicals in that inventory, it will indicate “Total matches found: xxxx (or a certain number over 1000, at least) -  Too many to display here.  Click here to download the file so you can open it in Excel.”  Click there to download the file into Excel.  Click on this link and save the file in the Excel folder under Userdata.  Replace old/existing files with the same name when asked to do so while downloading the updated inventory file.  Now the full MSDS inventory can be viewed in Excel format, and printed if necessary.  The database system apparently cannot list overly large inventories, and they must be downloaded into an Excel file.

## C.  General Information for Users

(Written by Yue-Ling Wong, Academic Computing Specialist, March 5, 2001)

URL of the Online Chemical Inventory Database

http://www.wfu.edu/chem/cheminventory

/db/

Use of the Databases

- Any WFU user who has a valid username and password can search both the inventory and MSDS databases.  Therefore, when you access the web pages of the database, it will first prompt you for username and password.  Enter YOUR valid WFU username and password.
If it does not prompt you, or the username on the form shows another person's username, then exit all Netscape application (close all Netscape browser windows, Netscape e-mail, calendar, etc.) and start Netscape again and go to the database's URL again.

- Only designated users can add and update the databases.  Mike Thompson is the one who can assign user permission to add or update the databases.  The user permission categories are by departments, by databases (inventory and MSDS sheets), by privileges (adding and updating).  For example, a user can be allowed to add chemical to an inventory in the chemistry department only, but cannot update the inventory.

- Searching for a particular chemical is limited to 1000 matches.  It will not display the search result on the web page if it is over 1000 matches.  If this happens, it will save the results in an Excel spreadsheet and you can download it.  You can also try to limit the search.
Note: The Excel spreadsheet will list the username of the person doing the search, the date and time of the search, and the criteria of the search.  Therefore, if you are going to keep the Excel spreadsheet, this should provide you enough information about “who, when and what”.  If someone is doing a search of over 1000 matches at about the same time you are or before you download the Excel spreadsheet, you may encounter problems getting the correct Excel spreadsheet.  But, always check the information of “who, when, what” at the top of the spreadsheet to make sure you are getting the matches you are expecting.  If it is not your search result, try re-submitting the search again and download the Excel spreadsheet ASAP.

- You can Update your inventories but there is no direct "Delete" on the web.  It's because it is too easy to delete items unintentionally on the web.  If you want to delete an item, try use Update, and add the word "delete" (all small cases) in front of the item's chemical name.  We will remove those items that are labeled "delete" from the databases on a regular basis.  But, you can at least change your mind and "undelete" the items (by removing the “delete” word in the chemical name) as long as we have not removed those items yet.

## D.  Individual Chemical Inventories of the Physics Department (Olin Hall) and the NanoTechnology Center

listed in the Order they appear in the scroll-down list in the Oracle-based online Chemical Inventory:

Faculty Inventories:

Dr. Keith Bonin (listed as bonin in online inventory), room # 200, NanoTechnology Center

Dr. David L. Carroll (carroldl), NanoTechnology Center

Dr. Martin Guthold (gutholdm), room # 202

Dr. Jed Macosko (macoskjc), room # 213

Dr. Rick Matthews (matthews), room # 216

Dr. Daniel Kim-Shapiro (Shapiro), room # 205

Dr. Richard Taylor Williams (williams), room # 209

# VI. SARA Title III (EPCRA), Tier II Hazardous Chemical Inventory Report for the NanoTechnology Center, with EPA “Right-To-Know” Extremely Hazardous Chemicals (EHS) for Fire Marshall, Local Emergency Planning Committee, and Public:

As of February, 2007;

Compressed Gas Cylinder Inventory

| Record of Gas Cylinders kept in the NanoTech Center, from: National Welders (Nat Weld), Linde Gas (Linde), and Piedmont Welders (Piedmont) |  |
| --- | --- |
| Room # | Gas cylinder # and description | # of compressed gas cylinders | # Liquid Gas Containers | Lab Description |
| Dockyard Receiving Area | Two Argon cylinders (Linde), one Nitrogen (Linde), one Helium (Piedmont), one Methane (Nat Weld), one 4% Hydrogen in balance of Nitrogen (Nat Weld), and one LS550 Liquid Nitrogen | 6 | 1 |  |
| 113B | One Argon cylinder (Linde) | 1 |  | Microscopy Lab |
| 114 | Two Nitrogen cylinders (Nat Weld) |  |  | Laser Lab |
| 118 | Two LS580 Liquid Nitrogen tanks (Nat Weld), Two Nitrogen cylinders (Nat Weld) | 2 | 2 | Organic Device Lab (or Main Lab) |
| 121 | One Hydrogen cylinder (Nat Weld), one Nitrogen (Nat Weld), one UHP Argon (Linde), one Methane (Linde), one Argon (Linde), and one 100 lb Anhydrous Ammonia | 6 |  | Growth Lab |
|  |  | 15 Total | 3 Total |  |

Extremely Hazardous Substances from Table 302.4 in 40 CFR 302.4.

See:  http://www.epa.gov/swercepp/ehs/ehsalpha.html  and:

http://www.epa.gov/swercepp/ehs/ehslist.html for list of chemicals covered.

Those in Reportable Quantities at Wake Forest University, NanoTechnology Center

| Chemical Name | Threshold Planning Quantity (lb) | Amount at WFU (lb) | Building | Room # |
| --- | --- | --- | --- | --- |
| Ammonia, Anhydrous | 500 | 100 lbs total | NanoTechnology Center | 121 |

Small One-Pound Lecture Bottle Compressed Gas Cylinders

| NanoTech Room # | # of Gas cylinders and description | total # of cylinders | Lab Description |
| --- | --- | --- | --- |
|  | none |  |  |
|  | TOTAL |  |  |

NanoTechnology Center Inventory of 55 gallon or 5 gallon or One gallon containers of

Flammable Organic Solvents in Main Lab room 118

| MSDS-NAME | QUANTITY (gal). | LOCATION | HMIS or NFPA HAZARD RATING |
| --- | --- | --- | --- |
|  |  |  | Health | Flame | React. | Special Considerations |
| acetone | 1x 5 gallons | Metal Flammable cabinets | 1 | 3 | 0 |  |
| acetonitrile | 1 x 1 | Metal Flammable cabinets | 3 | 3 | 0 | Relatively toxic |
| Benzene | 1 x 1 | Metal Flammable cabinets | 2 | 3 | 0 |  |
| Butanol | 2 x 1 | Metal Flammable cabinets | 1 | 3 | 0 |  |
| chloroform | 6 x 1 | Metal Flammable cabinets | 2 | 0 | 0 |  |
| o-Dichlorobenzene | 1 x 1 | Metal Flammable cabinets | 3 | 2 | 1 |  |
| Dichloromethane | 1 x 1 | Metal Flammable cabinets | 3 | 2 | 0 |  |
| Ethanol | 2 x 1 and 1 x 5 gallons | Metal Flammable cabinets | 1 | 3 | 0 |  |
| ethyl acetate | 1 x 1 | Metal Flammable cabinets | 1 | 3 | 0 |  |
| ethylene glycol | 1 x 1 | Metal Flammable cabinets | 1 | 1 | 0 |  |
| hexane | 1 x 1 | Metal Flammable cabinets | 1 | 3 | 0 |  |
| Isopropanol | 2 x 5 | Metal Flammable cabinets | 1 | 3 | 0 |  |
| methanol | 2 x 5 gallons and 8 x 1 gallon glass jars | Metal Flammable cabinets | 1 | 3 | 0 |  |
| 2-Methoxyethanol | 1 x 1 | Metal Flammable cabinets | 3 | 2 | 0 |  |
| Propylene carbonate | 1 x 1 | Metal Flammable cabinets | 2 | 1 | 1 |  |
| Silica gel (solid, in metal cans) | 4 x 1 Kg | Metal Flammable cabinets, bottom shelf | 2 | 0 | 0 |  |
| tetrahydrofuran | 5 x 5 | Metal Flammable cabinets | 2 | 3 | 1 |  |
| 1,2,4-Trichlorobenzene | 1 x 1 | Metal Flammable cabinets | 3 | 2 | 0 |  |
| Trichloroethylene | 1 x 1 | Metal Flammable cabinets | 3 | 1 | 0 |  |
| toluene | 1 x 1 | Metal Flammable cabinets | 2 | 3 | 0 |  |
| waste organic solvents | 55 | Gray 55 gallon drum near Flam-mable cabinets | 2 | 4 | 1 |  |
| xylene | 3 x 1 | Metal Flammable cabinets | 2 | 3 | 0 |  |
| Acids and Bases | In and Under hoods |  |  |  |  |  |
| sulfuric acid, conc. | 2 gallons | hoods | 3 | 0 | 2 |  |
| nitric acid, conc. | 2 gallons | hoods | 3 | 0 | 0 | oxidizer |
| ammonium hydroxide | 2 gallons | hoods | 3 | 1 | 2 |  |
| hydrochloric acid | 2 gallons | hoods | 3 | 0 | 1 |  |
| 0.2 % Hydrofluoric acid | 6 x one liter | hoods | 4 | 2 | 2 |  |

# Text boxes

MUTE SWITCH (GRAY)

Audible alarms are energized on any of the following conditions:

- CAUTION - FLOW ALARM or

- EMERGENCY EXHAUST

Push the button to silence alarm.  Alarm status lights will remain lit.  The mute mode is reset automatically after alarm conditions clear.

CAUTION FLOW ALARM LIGHT (RED)

Indicates unsafe airflow condition.  An alarm will sound.  Immediately close sash and call maintenance at phone #4255.  DO NOT USE THE HOOD.

NORMAL LIGHTS (GREEN)

Indicates normal operation of fume hood.  One of these lights must be on for the hood to be safe to use.

Standard Operation:  system operating at standard face velocity

Standby Operation:  system operating at a lower face velocity (active only with Zone Presence Sensor, which are not presently installed).

EMERGENCY EXHAUST LIGHT (RED)

Indicates the emergency exhaust mode is activated.  See Emergency Button below for an explanation of the Emergency Exhaust Mode.

EMERGENCY BUTTON (RED)

USE WHEN A HAZARDOUS MATERIAL SPILL OCCURS IN HOOD OR NEARBY LAB AREA.

Push this button to activate the emergency exhaust mode.  An alarm will sound.  In this mode exhaust air is at its maximum flow to rapidly evacuate the hood.  (The red light in the switch indicates the switch is turned on).  Push the button again to turn off the emergency exhaust mode.